## All Utilities
SAG Fuel Conversion Working Group
Fuel Conversion Measure Spreadsheet for Presentation during Meeting #2 - April 26, 2021
Updated 4/28/2021
[5 empty] | Calendar Year 2019 |  |  |  | Calendar Year 2020 |  |  |  | Calendar Year 2021
Electric Utility | Electric Fuel Conversion TRM Measure | Program | Commercial or Residential Measure? | Brief Description of Electric Measure | Number of Measures Incentivized | Number of Fuel Switching Measures Incentivized | Total Measure Final Gross Electric Savings (kWh) | Total Measure Final Gross Gas Savings (Therms) | Number of Measures Incentivized | Number of Fuel Switching Measures Incentivized | Total Measure Draft Gross Electric Savings (kWh) | Total Measure Draft Gross Gas Savings (Therms) | Is this measure offered in 2021? | Comments
ComEd | 5.3.1 Air Source Heat Pump with gas furnace or boiler baseline | Single-Family Retrofits - IHWAP | Income Eligible | Installation of air source heat pump (TOS, ER) | 5 | 0 | 15492.8653 | 0 | 1 | 0 | 4441.4714 | 0 | Yes | The measure in TRM V7 and 8, which was in effect when these measures were installed, stated that the baseline was electric. Only in V9 did it change to allow for a gas baseline. So the calculation followed the TRM in effect at the time. There were no fuel switching savings for ASHP in CY2019 and CY2020. Measure had electric baseline
| 5.3.1 Air Source Heat Pump with gas furnace or boiler baseline | HVAC | Residential | Installation of air source heat pump (TOS, ER) | 205 | 0 | 284245.4017 | 0 | 106 | 0 | 189301 | 0 | Yes | There were no fuel switching savings for ASHP in CY2019 and CY2020. Measure had electric baseline. However measure will have fuel switching savings in CY2021.
| 5.3.8 Ground Source Heat Pump with gas furnace or boiler baseline | HVAC | Residential | Installation of ground source heat pump (TOS, ER) | 36 | 11 | 237507.6584 | 1566.663 | 49 | 20 | 275895 | 5057 | Yes | See columns G and K that break down the number of fuel switching measures incentivized. In CY2020, 20 projects or measures were classified as fuel-switching and 4,762 Therms were associated with these measures. There were 4 non-fuel switching projects with a gas existing water heating system fuel that produced 295 therms for the DHW savings.
| 5.3.12 Ductless Heat Pumps with gas furnace or boiler baseline | HVAC | Residential | Installation of ductless mini-split heat pump (TOS, ER) | 359 | 161 | 860606.9718 | 178840.8994 | 442 | 213 | 1014996 | 233853 | Yes | See columns G and K that break down the number of fuel switching measures incentivized. For the DMSHP measure in CY2020, 213 out of the 442 projects or measures were classified as fuel-switching and all of the 233,853 therm savings were associated with these fuel-switching measures.
| 4.4.32 Combined Heat and Power with baseline of grid generated electricity and other gas heat | Incentives-Custom | Commercial | Installation of Combined Heat & Power system. Custom project. |  |  |  |  | 4 |  | 9635924.453 | 40000 | Yes | Followed the TRM to estimate the savings
| 4.4.44 Commercial Ground Source and Ground Water Source Heat Pump with gas furnace or boiler baseline | Incentives-Standard | Commercial | Installation of ground source heat pump | 60 | 0 | 75833.5526 | 0 | 144 |  | 39171.8558 | 0 | Yes | Note the baseline is a ground source heat pump. The Standard Program limits the application of this measure to electric heating baselines only.
[5 empty] | Calendar Year 2019 |  | Calendar Year 2020 |  | Calendar Year 2021
Electric Utility | Sector | Electric Fuel Conversion TRM Measure | Baseline | Brief Description of Electric Measure | Number of Measures Incentivized | Total Measure Savings (kWh) | Number of Measures Incentivized | Total Measure Savings (kWh) | Is this measure offered in 2021?
Ameren Illinois | Residential | 5.3.1 Air Source Heat Pump | Gas heat |  | 0 | 0 | 0 | 0 | Yes
|  |  | Electric heat | Some are TOS so what they had existing was not applicable | 390 | 663227 | 477 | 814477 | Yes
|  | 5.3.8 Ground Source Heat Pump | Gas heat |  | 0 | 0 | 0 | 0 | No
|  |  | Electric heat |  | 0 | 0 | 0 | 0 | No
|  | 5.3.12 Ductless Heat Pump | Gas heat |  | 0 | 0 | 0 | 0 | Yes
|  |  | Electric heat | Some are TOS so what they had existing was not applicable | 64 | 382880 | 154 | 736087 | Yes
|  | 5.4.3 Heat Pump Water Heater | Gas water heat |  | 0 | 0 | 0 | 0 | Yes
|  |  | Electric water heat | Some are TOS so what they had existing was not applicable | 2 | 4215 | 35 | 86753 | Yes
| Commercial | 4.4.32 Combined Heat and Power | Grid electricity and gas heat |  | 0 | 0 | 0 | 0 | Yes
|  |  | Other (e.g., waste heat to power; oil heat) |  | 0 | 0 | 0 | 0 | Yes
|  | 4.4.9 Air and Water Source Heat Pump | Gas heat |  | 0 | 0 | 0 | 0 | Yes
|  |  | Electric heat | Claimed as A/C only in 2019 & 2020 | 0 | 0 | 0 | 0 | Yes
|  | 4.4.13 Package Terminal Heat Pump | Gas heat |  | 0 | 0 | 0 | 0 | Yes
|  |  | Electric heat | Some are TOS so what they had existing was not applicable | 53 | 21603 | 5 | 6098 | Yes
|  | 4.4.44 Commercial Ground Source and Ground Water Source Heat Pump | Gas heat |  | 0 | 0 | 0 | 0 | Yes
|  |  | Electric heat | Building may have gas heat but conversion savings were not claimed | 2 | 378778 | 2 | 373515 | Yes
[5 empty] | Calendar Year 2019 |  | Calendar Year 2020 |  | Calendar Year 2021
Gas Utility | Sector | Gas Fuel Conversion TRM Measure | Baseline | Brief Description of Gas Measure | Number of Measures Incentivized | Total Measure Savings | Number of Measures Incentivized | Total Measure Savings | Is this measure offered in 2021?
Ameren Illinois | Commercial | 4.4.32 Combined Heat and Power | Grid electricity and gas heat |  | 0 | 0 | 0 | 0 | Yes
Nicor Gas | Commercial | 4.4.32 Combined Heat and Power | Grid electricity and gas heat |  | 0 | 0 | 0 | 0
|  |  | Gas-generated electricity (via CHP system) and gas heat | Thermal Heat Recovery from CHP system | 0 | 0 | 1 | 6,000 to 7,000 Therms | Yes
Peoples Gas | Commercial | 4.4.32 Combined Heat and Power | Grid electricity and gas heat |  | 0 | 0 | 0 | 0
|  |  | Gas-generated electricity (via CHP system) and gas heat | Solution for natural gas customers with CHP that are exempt from electric EE programs. Customers implementing electric EE measures reduce on-site electricity generation, thereby reducing gas consumption. The savings claimed by the gas program are the first year savings verified by evaluation | 0 | 0 | 0 | 0 | Yes. Prospect project eligible for up to 122,794 therms
North Shore Gas | Commercial | 4.4.32 Combined Heat and Power | Grid electricity and gas heat |  | 0 | 0 | 0 | 0
|  |  | Gas-generated electricity (via CHP system) and gas heat |  | 0 | 0 | 0 | 0 | Yes. No prospect projects