## NSG 2021 Verified Summary
North Shore Gas 2021 Verified Savings Summary
| Ex Ante Gross | Realization Rate | Verified Gross |  | Deemed / Used | Verified Net |  |  |  | Actual Costs | Participation |  | GHG Savings |  | Water Savings |  | Verified Gross Weighted Average Measure Life
| Annual Energy Savings | Energy Savings (Verified Gross / Ex Ante Gross) | Annual Energy Savings | Lifetime Savings | Net-to-Gross Ratio | Annual Energy Savings | Lifetime Savings | First Year Cost per First Year Annual Savings | First Year Cost per Lifetime Savings | Utility Program Costs | # Units | Units Definition | Annual Verified Net CO2 Savings | Lifetime Verified Net CO2 Savings | Annual Verified Net Water Savings | Lifetime Verified Net Water Savings | Years
| Therms | % | Therms | Therms | % | Therms | Therms | $/Therms | $/Therms | $ |  |  | metric tons CO2 | metric tons CO2 | Gallons | Gallons
(a) | (b) | (c=d/b) | (d) | (e) | (f=g/d) | (g) | (h) | (i=k/g) | (j=k/h) | (k) | (l) | (m) |  |  | (n) | (o) | (p=e/d)
Home Energy Jumpstart | 43079 | 100% | 43079 | 535905.04 | 90.06% | 38797 | 484080.74 | 3.6904 | 0.29577 | 143176.14 | 1055 | Participants | 205.2749 | 2561.2712 | 2498506.5988 | 19603934.8733 | 12.4401
Home Energy Rebate | 304326 | 102.3% | 311199 | 5014404.2108 | 80.78% | 251388 | 3961183.6707 | 1.3552 | 0.086008 | 340691.82 | 2303 | Participants | 1330.0939 | 20958.6228 | 0 | 0 | 16.1132
Multi-Family | 33883 | 100% | 33892 | 486906 | 91.29% | 30939 | 442813 | 7.0381 | 0.49174 | 217750.29 | 622 | Projects | 163.6982 | 2342.9236 | 639580.6632 | 5345795.7911 | 14.3664
Home Energy Reports | 455734 | 129.8% | 591430 | 2957150 | 100% | 591430 | 2957150 | 0.38429 | 0.076859 | 227282.59 | 68700 | Participants | 3129.2561 | 15646.2806 | 0 | 0 | 5
Elementary Energy Education | 27765.1037 | 99.36% | 27587.4761 | 262225.0663 | 100% | 27587.4761 | 262225.0663 | 1.5442 | 0.16246 | 42601.83 | 2433 | Kits Distributed | 145.9653 | 1387.4328 | 9273865.323 | 88544723.671 | 9.5052
Residential Total | 864787.1037 | 116.5% | 1007187.4761 | 9256590.3171 | 93.34% | 940141.4761 | 8107452.477 | 1.0334 | 0.11983 | 971502.67 |  |  | 4974.2885 | 42896.5311 | 12411952.585 | 113494454.3353 | 9.1905
C&I and PS Prescriptive | 513063 | 100% | 513148 | 3109341 | 91% | 466963 | 2829454 | 1.4516 | 0.23957 | 677841.8817 | 61 | Projects | 2470.7012 | 14970.6411 | 762707.4688 | 4576244.8128 | 6.0593
C&I and PS Custom | 40130 | 100.3% | 40248 | 611205 | 74% | 29784 | 452300 | 1.7801 | 0.11722 | 53018.4299 | 5 | Projects | 157.5871 | 2393.1193 | 0 | 0 | 15.186
Gas Optimization | 636534 | 100.4% | 639381 | 15083616 | 91% | 581837 | 13726096 | 1.4454 | 0.061268 | 840967.6869 | 5 | Projects | 3078.4996 | 72624.7739 | 0 | 0 | 23.591
Strategic Energy Management | 25791 | 81.04% | 20900 | 146300 | 100% | 20900 | 146300 | 1.6303 | 0.23291 | 34074.2169 | 2 | Projects | 110.5819 | 774.0733 | 0 | 0 | 7
C&I and PS Joint Retro-Commissioning | 34667 | 81.18% | 28144 | 239224 | 94% | 26455 | 224867.5 | 1.7313 | 0.20368 | 45800.8948 | 6 | Projects | 139.9734 | 1189.7739 | 0 | 0 | 8.5
C&I and PS Joint New Construction | 87453 | 97.41% | 85189 | 1754893.4 | 54% | 46002 | 947641.2 | 2.5116 | 0.12192 | 115540.0138 | 7 | Projects | 243.3966 | 5013.9696 | 0 | 0 | 20.6
Commercial Food Service | 5001 | 99.96% | 4999 | 59988 | 91% | 4549 | 54588 | 1.4524 | 0.12104 | 6607.1559 | 3 | Projects | 24.0688 | 288.8251 | 0 | 0 | 12
Small Business | 427928 | 103.3% | 442258 | 4898842 | 92.05% | 407082 | 4508805.5 | 1.0273 | 0.092754 | 418207.92 | 115 | Projects | 2153.8709 | 23856.0899 | 712515.7478 | 4155048.2067 | 11.0769
C&I and Public Sector Total | 1770567 | 100.2% | 1774267 | 25903409.4 | 89.25% | 1583572 | 22890052.2 | 1.3842 | 0.095765 | 2192058.2 |  |  | 8378.6795 | 121111.2662 | 1475223.2166 | 8731293.0194 | 14.5995
Income Eligible - IHWAP-SF | 8651 | 100% | 8651 | 142001.2411 | 100% | 8651 | 142001.2411 | 5.0168 | 0.30563 | 43400.223 | 30 | Participants | 45.7724 | 751.3286 | 34002.5233 | 340025.2328 | 16.4144
Income Eligible - IHWAP-MF | 1168 | 100.7% | 1176 | 16879 | 100% | 1176 | 16879 | 4.9827 | 0.34715 | 5859.607 | 5 | Projects | 6.2222 | 89.3068 | 5473.0977 | 54730.9768 | 14.3529
Income Eligible - MF LIHEAP Kits | 55143 | 105% | 57909 | 598861 | 100% | 57909 | 598861 | 1.4651 | 0.14167 | 84841.69 | 1539 | Kits Distributed | 306.3965 | 3168.5736 | 1632626.6115 | 16063969.7219 | 10.3414
Income Eligible - IEMS | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | Projects | 0 | 0 | 0 | 0
Income Eligible - PTA | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | Projects | 0 | 0 | 0 | 0
Income Eligible - PHES | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | Projects | 0 | 0 | 0 | 0
Income Eligible Total | 64962 | 104.3% | 67736 | 757741.2411 | 100% | 67736 | 757741.2411 | 1.9798 | 0.17698 | 134101.52 |  |  | 358.3912 | 4009.2089 | 1672102.2325 | 16458725.9315 | 11.1867
EEPS Program Total | 2700316.1037 | 105.5% | 2849190.4761 | 35917740.9582 | 90.95% | 2591449.4761 | 31755245.9182 | 1.2725 | 0.10385 | 3297662.39 |  |  | 13711.3592 | 168017.0062 | 15559278.034 | 138684473.2863 | 12.6063
Other EEPS Portfolio Costs | [9 empty] | 652667.31
EEPS Portfolio Total | 2700316.1037 | 105.5% | 2849190.4761 | 35917740.9582 | 90.95% | 2591449.4761 | 31755245.9182 | 1.5244 | 0.1244 | 3950329.7 |  |  | 13711.3592 | 168017.0062 | 15559278.034 | 138684473.2863 | 12.6063

## NSG 2021 High Impact Measures
North Shore Gas 2021 High Impact Measure Summary
Sector | Measure Name (Standardized) | Verified Gross Therms | Verified Gross Lifetime Savings | Measure Life (Years) | Project | Each | Participants | Apt Units | MBH | CFM | Square Feet | Linear Feet | HP | lbs-capacity | Rank | Share of Portfolio Gross | Cumulative Gross
Non-Residential | Custom | 1008732 | 20758288.4 | 20.5786 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 35.4% | 35.4%
Residential | Home Energy Reports | 591430 | 2957150 | 5 | 0 | 0 | 68700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 20.76% | 56.16%
Non-Residential | Steam Trap Replacement or Repair | 492576 | 2955456 | 6 | 7 | 695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 17.29% | 73.45%
Residential | Gas High Efficiency Furnace | 171277 | 3290534.0865 | 19.2118 | 0 | 804 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 6.011% | 79.46%
Non-Residential | Space Heating Boiler Tune-up | 145917 | 437751 | 3 | 0 | 0 | 0 | 0 | 308138 | 0 | 0 | 0 | 0 | 0 | 5 | 5.121% | 84.58%
Residential | Advanced Thermostats | 128135 | 1409485 | 11 | 0 | 1582 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 4.497% | 89.08%
Non-Residential | Pipe Insulation | 65550 | 983250 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15306 | 0 | 0 | 7 | 2.301% | 91.38%
Residential | Air Sealing | 61968.78 | 902695.6 | 14.5669 | 29 | 30836 | 0 | 0 | 0 | 79707 | 139126 | 26163 | 0 | 0 | 8 | 2.175% | 93.56%
Residential | Low Flow Showerheads | 33971.4476 | 339714.4758 | 10 | 0 | 2618 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 1.192% | 94.75%
Residential | Pipe Insulation | 19652 | 294780 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9748 | 0 | 0 | 10 | 0.6897% | 95.44%
Residential | Programmable Thermostats | 18757 | 216322 | 11.5329 | 0 | 371 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0.6583% | 96.1%
Residential | Low Flow Faucet Aerators | 15068.8167 | 150688.1669 | 10 | 0 | 4085 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0.5289% | 96.63%
Non-Residential | Process Boiler Tune-up | 11728 | 35184 | 3 | 0 | 0 | 0 | 0 | 11467 | 0 | 0 | 0 | 0 | 0 | 13 | 0.4116% | 97.04%
Non-Residential | Modulating Dryers | 10126 | 141764 | 14 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0.3554% | 97.39%
Residential | Shower Timer | 10015.6298 | 20031.2596 | 2 | 0 | 2757 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0.3515% | 97.74%
Non-Residential | ENERGY STAR Fryer | 9020 | 125001 | 13.8582 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0.3166% | 98.06%
Residential | Ceiling/Attic Insulation | 8803 | 176060 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 154792 | 0 | 0 | 0 | 17 | 0.309% | 98.37%
Non-Residential | DCV - Kitchen | 7740 | 154800 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 18 | 0.2717% | 98.64%
Non-Residential | High Efficiency Boiler | 4755 | 118875 | 25 | 0 | 0 | 0 | 0 | 6658 | 0 | 0 | 0 | 0 | 0 | 19 | 0.1669% | 98.81%
Non-Residential | Wireless Pneumatic Thermostat | 4551 | 45510 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 44250 | 0 | 0 | 0 | 20 | 0.1597% | 98.97%
Residential | DWH Controls | 4389 | 65835 | 15 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0.154% | 99.12%
Non-Residential | Programmable Thermostats | 3541 | 38951 | 11 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 0.1243% | 99.25%
Residential | Gas High Efficiency Boiler | 3307 | 76009.602 | 22.9845 | 0 | 6 | 0 | 0 | 1076 | 0 | 0 | 0 | 0 | 0 | 23 | 0.1161% | 99.36%
Residential | Gas Water Heater | 3065 | 37594.7634 | 12.2658 | 0 | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 0.1076% | 99.47%
Non-Residential | Demand Controlled Ventilation | 3009 | 30090 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 44250 | 0 | 0 | 0 | 25 | 0.1056% | 99.58%
Residential | Duct Insulation and Sealing | 2240 | 44800 | 20 | 0 | 0 | 0 | 0 | 0 | 2566 | 0 | 0 | 0 | 0 | 26 | 0.07862% | 99.65%
Non-Residential | High Efficiency Pre-Rinse Spray Valve | 2167 | 10835 | 5 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 0.07606% | 99.73%
Non-Residential | ENERGY STAR Convection Oven | 1566 | 18792 | 12 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 0.05496% | 99.78%
Residential | Domestic Hot Water Pipe Insulation | 1523 | 22845 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2501 | 0 | 0 | 29 | 0.05345% | 99.84%
Non-Residential | Boiler Reset Controls | 1418 | 28360 | 20 | 0 | 0 | 0 | 0 | 1056 | 0 | 0 | 0 | 0 | 0 | 30 | 0.04977% | 99.89%
Residential | Water Heater Temperature Setback | 720.802 | 1441.604 | 2 | 0 | 1539 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 0.0253% | 99.91%
Non-Residential | Business Furnace Tune-up | 692 | 2076 | 3 | 0 | 0 | 0 | 0 | 1930 | 0 | 0 | 0 | 0 | 0 | 32 | 0.02429% | 99.94%
Non-Residential | DHW Tank Insulation | 541 | 8115 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 0 | 0 | 0 | 33 | 0.01899% | 99.96%
Non-Residential | Non-Res High Efficiency Furnace | 494 | 8151 | 16.5 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34 | 0.01734% | 99.97%
Residential | Wall Insulation | 233 | 4660 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 3841 | 0 | 0 | 0 | 35 | 0.008178% | 99.98%
Residential | Residential Furnace Tune-Up | 215 | 645 | 3 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | 0.007546% | 99.99%
Residential | Basement Sidewall Insulation | 152 | 3040 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 1844 | 0 | 0 | 0 | 37 | 0.005335% | 99.99%
Non-Residential | Gas Water Heater | 144 | 2160 | 15 | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 0 | 38 | 0.005054% | 100%
Portfolio |  | 2849190.4761 | 35917740.9582 | 12.6063

## NSG 2021 TRC Plan 3
Total Resource Cost Test (TRC) Results for North Shore Gas, 2021 Programs, Societal Discount Rate, Plan 3 Avoided Costs
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Home Energy Jumpstart | 180876.3104 | 231331.4189 | 62898.79 | 80277.35 | 80277.35 | 412207.7292 | 143176.14 | 269031.5892 | 2.879
Home Energy Rebate | 1474739.0066 | 765795.2984 | 97477.72 | 243214.1 | 1149729.6882 | 2240534.305 | 1247207.4082 | 993326.8967 | 1.7964
Multi-Family | 165710.7699 | 111443.0099 | 164435.92 | 53314.37 | 88200.366 | 277153.7798 | 252636.286 | 24517.4938 | 1.097
Home Energy Reports | 1135400.1165 | 472387.1075 | 227282.59 | 0 | 0 | 1607787.224 | 227282.59 | 1380504.634 | 7.074
Elementary Energy Education | 99337.7393 | 743283.3002 | 0 | 42601.83 | 42601.83 | 842621.0395 | 42601.83 | 800019.2095 | 19.779
Residential Subtotal | 3056063.9426 | 2324240.1349 | 552095.02 | 419407.65 | 1360809.2342 | 5380304.0775 | 1912904.2542 | 3467399.8233 | 2.8126
C&I and PS Prescriptive | 1077631.3511 | 573155.8785 | 133939.5094 | 543902.3723 | 500226.7359 | 1650787.2296 | 634166.2453 | 1016620.9843 | 2.6031
C&I and PS Custom | 169109.6053 | 70358.6305 | 10476.2817 | 42542.1482 | 148483.3935 | 239468.2359 | 158959.6752 | 80508.5607 | 1.5065
Gas Optimization | 5031516.5877 | 2093379.7106 | 166172.676 | 674795.0109 | 1158492.4574 | 7124896.2983 | 1324665.1334 | 5800231.1649 | 5.3786
Strategic Energy Management | 55839.8124 | 23232.3452 | 6732.9624 | 27341.2546 | 12895.5 | 79072.1577 | 19628.4624 | 59443.6953 | 4.0284
C&I and PS Joint Retro-Commissioning | 90393.5608 | 37608.5506 | 9050.1185 | 36750.7763 | 32586.5366 | 128002.1114 | 41636.6551 | 86365.4563 | 3.0743
C&I and PS Joint New Construction | 356350.9512 | 148261.0338 | 22830.3579 | 92709.6559 | 254540.3698 | 504611.985 | 277370.7277 | 227241.2573 | 1.8193
Commercial Food Service | 20569.5753 | 8558.0423 | 1305.5541 | 5301.6019 | 18290.4428 | 29127.6176 | 19595.9969 | 9531.6207 | 1.4864
Small Business | 1695659.9252 | 763330.3263 | 95569.92 | 322638 | 1081921.0638 | 2458990.2515 | 1177490.9838 | 1281499.2677 | 2.0883
Total C&I and Public Sector | 8497071.3691 | 3717884.5177 | 446077.38 | 1745980.82 | 3207436.4998 | 12214955.8869 | 3653513.8798 | 8561442.007 | 3.3433
Income Eligible - IHWAP-SF | 52792.642 | 24657.7675 | 32431.2325 | 10968.9905 | 21937.9809 | 77450.4095 | 54369.2134 | 23081.1961 | 1.4245
Income Eligible - IHWAP-MF | 6284.3872 | 3048.1437 | 4378.6475 | 1480.9595 | 2961.9191 | 9332.5309 | 7340.5666 | 1991.9643 | 1.2714
Income Eligible - MF LIHEAP Kits | 223258.0016 | 232205.2654 | 13284.19 | 71557.5 | 71557.5 | 455463.267 | 84841.69 | 370621.577 | 5.3684
Income Eligible - IEMS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible - PTA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible - PHES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible Total | 282335.0309 | 259911.1765 | 50094.07 | 84007.45 | 96457.4 | 542246.2074 | 146551.47 | 395694.7374 | 3.7
EEPS Portfolio Costs |  |  | 652667.31 |  |  | 0 | 652667.31 | -652667.31
EEPS Portfolio | 11835470.3426 | 6302035.8291 | 1700933.78 | 2249395.92 | 4664703.1341 | 18137506.1718 | 6365636.9141 | 11771869.2577 | 2.8493
EEPS Portfolio Without Income Eligible | 11553135.3117 | 6042124.6526 | 1650839.71 | 2165388.47 | 4568245.7341 | 17595259.9644 | 6219085.4441 | 11376174.5203 | 2.8292

## NSG 2021 TRC Plan 4
Total Resource Cost Test (TRC) Results for North Shore Gas, 2021 Programs, Societal Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Home Energy Jumpstart | 169871.7548 | 355051.2817 | 62898.79 | 80277.35 | 80277.35 | 524923.0365 | 143176.14 | 381746.8965 | 3.6663
Home Energy Rebate | 1391181.2735 | 1766988.3203 | 97477.72 | 243214.1 | 1149729.6882 | 3158169.5939 | 1247207.4082 | 1910962.1856 | 2.5322
Multi-Family | 156309.4291 | 225528.029 | 164435.92 | 53314.37 | 88200.366 | 381837.4581 | 252636.286 | 129201.1721 | 1.5114
Home Energy Reports | 986577.015 | 1185360.9495 | 227282.59 | 0 | 0 | 2171937.9645 | 227282.59 | 1944655.3745 | 9.5561
Elementary Energy Education | 91870.1931 | 809049.1291 | 0 | 42601.83 | 42601.83 | 900919.3223 | 42601.83 | 858317.4923 | 21.1474
Residential Subtotal | 2795809.6656 | 4341977.7097 | 552095.02 | 419407.65 | 1360809.2342 | 7137787.3753 | 1912904.2542 | 5224883.1211 | 3.7314
C&I and PS Prescriptive | 960475.7211 | 1283909.7901 | 133939.5094 | 543902.3723 | 500226.7359 | 2244385.5112 | 634166.2453 | 1610219.2659 | 3.5391
C&I and PS Custom | 159751.1585 | 186989.7799 | 10476.2817 | 42542.1482 | 148483.3935 | 346740.9384 | 158959.6752 | 187781.2632 | 2.1813
Gas Optimization | 4772017.6308 | 5520491.4533 | 166172.676 | 674795.0109 | 1158492.4574 | 10292509.084 | 1324665.1334 | 8967843.9506 | 7.7699
Strategic Energy Management | 49733.2581 | 59144.1546 | 6732.9624 | 27341.2546 | 12895.5 | 108877.4127 | 19628.4624 | 89248.9503 | 5.5469
C&I and PS Joint Retro-Commissioning | 82836.3031 | 96951.5312 | 9050.1185 | 36750.7763 | 32586.5366 | 179787.8342 | 41636.6551 | 138151.1791 | 4.318
C&I and PS Joint New Construction | 338325.2916 | 395508.6524 | 22830.3579 | 92709.6559 | 254540.3698 | 733833.944 | 277370.7277 | 456463.2163 | 2.6457
Commercial Food Service | 19250.9414 | 22424.0461 | 1305.5541 | 5301.6019 | 18290.4428 | 41674.9875 | 19595.9969 | 22078.9906 | 2.1267
Small Business | 1575251.1396 | 1914513.2164 | 95569.92 | 322638 | 1081921.0638 | 3489764.356 | 1177490.9838 | 2312273.3722 | 2.9637
Total C&I and Public Sector | 7957641.4441 | 9479932.6239 | 446077.38 | 1745980.82 | 3207436.4998 | 17437574.068 | 3653513.8798 | 13784060.1882 | 4.7728
Income Eligible - IHWAP-SF | 49858.5002 | 61137.6586 | 32431.2325 | 10968.9905 | 21937.9809 | 110996.1588 | 54369.2134 | 56626.9453 | 2.0415
Income Eligible - IHWAP-MF | 5919.6791 | 7369.7198 | 4378.6475 | 1480.9595 | 2961.9191 | 13289.3989 | 7340.5666 | 5948.8323 | 1.8104
Income Eligible - MF LIHEAP Kits | 209546.7018 | 383478.8978 | 13284.19 | 71557.5 | 71557.5 | 593025.5996 | 84841.69 | 508183.9096 | 6.9898
Income Eligible - IEMS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible - PTA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible - PHES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible Total | 265324.881 | 451986.2762 | 50094.07 | 84007.45 | 96457.4 | 717311.1572 | 146551.47 | 570759.6872 | 4.8946
EEPS Portfolio Costs |  |  | 652667.31 |  |  | 0 | 652667.31 | -652667.31
EEPS Portfolio | 11018775.9908 | 14273896.6098 | 1700933.78 | 2249395.92 | 4664703.1341 | 25292672.6006 | 6365636.9141 | 18927035.6865 | 3.9733
EEPS Portfolio Without Income Eligible | 10753451.1098 | 13821910.3336 | 1650839.71 | 2165388.47 | 4568245.7341 | 24575361.4434 | 6219085.4441 | 18356275.9993 | 3.9516

## NSG 2021 PACT Plan 3
Program Administrator Cost Test (PACT) Results for North Shore Gas, 2021 Programs, WACC Discount Rate, Plan 3 Avoided Costs
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b) | (d+e) | (g-h) | (g/h)
Home Energy Jumpstart | 139864.6198 |  | 62898.79 | 80277.35 | 61970.0306 | 139864.6198 | 143176.14 | -3311.5202 | 0.97687
Home Energy Rebate | 1113767.3057 |  | 97477.72 | 243214.1 | 1171162.6402 | 1113767.3057 | 340691.82 | 773075.4857 | 3.2691
Multi-Family | 129078.3914 |  | 164435.92 | 53314.37 | 88200.366 | 129078.3914 | 217750.29 | -88671.8986 | 0.59278
Home Energy Reports | 1036015.8907 |  | 227282.59 | 0 | 0 | 1036015.8907 | 227282.59 | 808733.3007 | 4.5583
Elementary Energy Education | 83604.7636 |  | 0 | 42601.83 | 42601.83 | 83604.7636 | 42601.83 | 41002.9336 | 1.9625
Residential Subtotal | 2502330.9712 | 0 | 552095.02 | 419407.65 | 1363934.8668 | 2502330.9712 | 971502.67 | 1530828.3012 | 2.5757
C&I and PS Prescriptive | 938685.6828 |  | 133939.5094 | 543902.3723 | 500226.7359 | 938685.6828 | 677841.8817 | 260843.8011 | 1.3848
C&I and PS Custom | 130968.6864 |  | 10476.2817 | 42542.1482 | 148483.3935 | 130968.6864 | 53018.4299 | 77950.2565 | 2.4702
Gas Optimization | 3444089.1688 |  | 166172.676 | 674795.0109 | 1158492.4574 | 3444089.1688 | 840967.6869 | 2603121.4819 | 4.0954
Strategic Energy Management | 49245.2005 |  | 6732.9624 | 27341.2546 | 12895.5 | 49245.2005 | 34074.2169 | 15170.9836 | 1.4452
C&I and PS Joint Retro-Commissioning | 77149.7324 |  | 9050.1185 | 36750.7763 | 32586.5366 | 77149.7324 | 45800.8948 | 31348.8375 | 1.6845
C&I and PS Joint New Construction | 253457.9422 |  | 22830.3579 | 92709.6559 | 254540.3698 | 253457.9422 | 115540.0138 | 137917.9285 | 2.1937
Commercial Food Service | 16740.3225 |  | 1305.5541 | 5301.6019 | 18290.4428 | 16740.3225 | 6607.1559 | 10133.1665 | 2.5337
Small Business | 1364510.7141 |  | 95569.92 | 322638 | 1081921.0638 | 1364510.7141 | 418207.92 | 946302.7941 | 3.2628
Total C&I and Public Sector | 6274847.4497 | 0 | 446077.38 | 1745980.82 | 3207436.4998 | 6274847.4497 | 2192058.2 | 4082789.2497 | 2.8625
Income Eligible - IHWAP-SF | 39400.9968 |  | 32431.2325 | 10968.9905 | 21937.9809 | 39400.9968 | 43400.223 | -3999.2262 | 0.90785
Income Eligible - IHWAP-MF | 4752.1055 |  | 4378.6475 | 1480.9595 | 2961.9191 | 4752.1055 | 5859.607 | -1107.5015 | 0.81099
Income Eligible - MF LIHEAP Kits | 169974.6267 |  | 13284.19 | 71557.5 | 71557.5 | 169974.6267 | 84841.69 | 85132.9367 | 2.0034
Income Eligible - IEMS | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible - PTA | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible - PHES | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible Total | 214127.729 | 0 | 50094.07 | 84007.45 | 96457.4 | 214127.729 | 134101.52 | 80026.209 | 1.5968
EEPS Portfolio Costs |  |  | 652667.31 |  |  | 0 | 652667.31 | -652667.31
EEPS Portfolio | 8991306.1499 | 0 | 1700933.78 | 2249395.92 | 4667828.7666 | 8991306.1499 | 3950329.7 | 5040976.4499 | 2.2761
EEPS Portfolio Without Income Eligible | 8777178.4209 | 0 | 1650839.71 | 2165388.47 | 4571371.3666 | 8777178.4209 | 3816228.18 | 4960950.2409 | 2.3

## NSG 2021 PACT Plan 4
Program Administrator Cost Test (PACT) Results for North Shore Gas, 2021 Programs, WACC Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b) | (d+e) | (g-h) | (g/h)
Home Energy Jumpstart | 130200.2209 |  | 62898.79 | 80277.35 | 61970.0306 | 130200.2209 | 143176.14 | -12975.9191 | 0.90937
Home Energy Rebate | 1041910.6249 |  | 97477.72 | 243214.1 | 1171162.6402 | 1041910.6249 | 340691.82 | 701218.8049 | 3.0582
Multi-Family | 120744.0025 |  | 164435.92 | 53314.37 | 88200.366 | 120744.0025 | 217750.29 | -97006.2875 | 0.55451
Home Energy Reports | 899004.931 |  | 227282.59 | 0 | 0 | 899004.931 | 227282.59 | 671722.341 | 3.9555
Elementary Energy Education | 76780.776 |  | 0 | 42601.83 | 42601.83 | 76780.776 | 42601.83 | 34178.946 | 1.8023
Residential Subtotal | 2268640.5553 | 0 | 552095.02 | 419407.65 | 1363934.8668 | 2268640.5553 | 971502.67 | 1297137.8853 | 2.3352
C&I and PS Prescriptive | 831798.8509 |  | 133939.5094 | 543902.3723 | 500226.7359 | 831798.8509 | 677841.8817 | 153956.9692 | 1.2271
C&I and PS Custom | 122707.9574 |  | 10476.2817 | 42542.1482 | 148483.3935 | 122707.9574 | 53018.4299 | 69689.5275 | 2.3144
Gas Optimization | 3244294.9224 |  | 166172.676 | 674795.0109 | 1158492.4574 | 3244294.9224 | 840967.6869 | 2403327.2355 | 3.8578
Strategic Energy Management | 43717.2764 |  | 6732.9624 | 27341.2546 | 12895.5 | 43717.2764 | 34074.2169 | 9643.0595 | 1.283
C&I and PS Joint Retro-Commissioning | 70280.2632 |  | 9050.1185 | 36750.7763 | 32586.5366 | 70280.2632 | 45800.8948 | 24479.3683 | 1.5345
C&I and PS Joint New Construction | 238800.1602 |  | 22830.3579 | 92709.6559 | 254540.3698 | 238800.1602 | 115540.0138 | 123260.1465 | 2.0668
Commercial Food Service | 15547.2007 |  | 1305.5541 | 5301.6019 | 18290.4428 | 15547.2007 | 6607.1559 | 8940.0447 | 2.3531
Small Business | 1256716.1058 |  | 95569.92 | 322638 | 1081921.0638 | 1256716.1058 | 418207.92 | 838508.1858 | 3.005
Total C&I and Public Sector | 5823862.737 | 0 | 446077.38 | 1745980.82 | 3207436.4998 | 5823862.737 | 2192058.2 | 3631804.537 | 2.6568
Income Eligible - IHWAP-SF | 36898.5859 |  | 32431.2325 | 10968.9905 | 21937.9809 | 36898.5859 | 43400.223 | -6501.6371 | 0.85019
Income Eligible - IHWAP-MF | 4437.2196 |  | 4378.6475 | 1480.9595 | 2961.9191 | 4437.2196 | 5859.607 | -1422.3875 | 0.75726
Income Eligible - MF LIHEAP Kits | 158000.4081 |  | 13284.19 | 71557.5 | 71557.5 | 158000.4081 | 84841.69 | 73158.7181 | 1.8623
Income Eligible - IEMS | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible - PTA | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible - PHES | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible Total | 199336.2135 | 0 | 50094.07 | 84007.45 | 96457.4 | 199336.2135 | 134101.52 | 65234.6935 | 1.4865
EEPS Portfolio Costs |  |  | 652667.31 |  |  | 0 | 652667.31 | -652667.31
EEPS Portfolio | 8291839.5058 | 0 | 1700933.78 | 2249395.92 | 4667828.7666 | 8291839.5058 | 3950329.7 | 4341509.8058 | 2.099
EEPS Portfolio Without Income Eligible | 8092503.2922 | 0 | 1650839.71 | 2165388.47 | 4571371.3666 | 8092503.2922 | 3816228.18 | 4276275.1122 | 2.1206