# North Shore Gas 2022-2025 Summary Impact and Cost Effectiveness Evaluation Report

Fourth Energy Efficiency Plan (Plan 4):

Gas Program Years 2022-2025

(01/01/2022-12/31/2025)

Prepared for:

North Shore Gas Company

DRAFT

October 07, 2026

Prepared by:

| Yeab Lakew Guidehouse Inc. |  | Ensar Biscevic Guidehouse Inc. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Submitted to:

North Shore Gas

200 East Randolph Street

Chicago, IL 60601

Submitted by:

Guidehouse Inc.

167 N. Green Street

12th Floor

Chicago, IL 60607

Contact:

| Charles Maglione, Partner 202.481.7352 cmaglione@guidehouse.com | Charles Ampong, Associate Director 608.616.4922 charles.ampong@guidehouse.com | Laura Agapay-Read, Associate Director 312.583.4178 laura.agapay.read@guidehouse.com |
| --- | --- | --- |

This report was prepared by Guidehouse for North Shore Gas Company. The work presented in this report represents Guidehouse’s professional judgment based on the information available at the time this report was prepared. Use of this report by any other party for whatever purpose should not, and does not, absolve such party from using due diligence in verifying the report’s contents. Neither Guidehouse nor any of its subsidiaries or affiliates assumes any liability or duty of care to such parties and hereby disclaims any such liability.

Table of Contents

1	Introduction	1

2	Portfolio Summary	2

2.1	Portfolio Net Energy Savings Verified Results	2

2.2	Portfolio Cost Effectiveness Test Verified Results	3

2.3	Portfolio Economic Impact Summary of Verified Results	5

3	Program Specific Results	6

3.1	Program Specific Verified Savings and Costs Summary	6

3.2	Program Specific Cost Effectiveness Results Summary	8

Appendix A. Cost Effectiveness Methodology	11

Appendix B. Economic Impact Analysis Methodology	14

Table of Tables, Figures, and Equations

Table 1. North Shore Gas Plan 4 Portfolio - Verified Net Energy Savings	2

Table 2. Total Incremental Annual Savings (PY2022-PY2025)	2

Table 3. Total Incremental Annual Savings by Sector (2022-2025)	3

Table 4. Portfolio Cost Effectiveness Test Results (2022-2025)	4

Table 5. Cumulative First Year Job Impacts – North Shore Gas	5

Table 6. Cumulative Economic Impacts by Time Period (2022 - 2025)	5

Table 7. Summary of Verified Savings and Program Costs for 2022-2025	7

Table 8. Summary of Program Level Benefits, Costs and Illinois TRC Test for 2022-2025	9

Table 9. Summary of Program Level Benefits, Costs and Illinois PACT for 2022-2025	10

Table 10. Data Points Needed to Conduct the Illinois TRC Test	13

Figure 1. Annual Incremental Therms Savings by Sector (2022-2025)	3

Figure 2. Economic Impact Assessment Methodology	14

# Introduction

This report provides Guidehouse’s summary reporting of verified energy savings and cost effectiveness results for the North Shore Gas Energy Efficiency Plan (EEPS) portfolio of programs for 2022 through 2025 (Plan 4). The report fulfills the Illinois Public Utilities Act (PUA) requirement for a review of the 4-year results of the broader net program impacts for Program Year 2022 (PY2022) starting on January 1, 2022, through Program Year 2025 (PY2025) which ended on December 31, 2025. In Plan 4, North Shore Gas implemented 17 programs for which final impact evaluation reports have been submitted by Guidehouse to North Shore Gas and the Illinois Commerce Commission (ICC).

# Portfolio Summary

## Portfolio Net Energy Savings Verified Results

Table 1 and Table 2 summarize the incremental energy savings the North Shore Gas portfolio achieved in PY2022-PY2025. The 4-year verified first-year annual net savings of 7,192,174 therms exceeded its Plan 4 Approved Net Energy Savings Goal of 6,611,648 net therms by nine percent.

Table 1. North Shore Gas Plan 4 Portfolio - Verified Net Energy Savings

| Program Year | Verified Net Energy Savings (Annual Therms) |  |
| --- | --- | --- |
| Program Year 2022 |  | 1,652,678 |
| Program Year 2023 |  | 1,998,927 |
| Program Year 2024 |  | 1,770,423 |
| Program Year 2025 |  | 1,770,146 |
| Plan 4 Portfolio Verified Total |  | 7,192,174 |
| Plan 4 Compliance Goal |  | 6,248,466 |
| Portfolio Percent of Compliance Goal |  | 115% |
| Plan 4 Approved Goal |  | 6,611,648 |
| Portfolio Percent of Approved Goal |  | 109% |

Source: North Shore Gas tracking data and evaluation team analysis.

Table 2. Total Incremental Annual Savings (PY2022-PY2025)

| Savings Category | 2022 Energy Savings (Therms) | 2023 Energy Savings (Therms) | 2024 Energy Savings (Therms) | 2025 Energy Savings (Therms) | 2022-2025 Total (Therms) |
| --- | --- | --- | --- | --- | --- |
| Ex Ante Gross Savings | 1,864,159 | 2,207,776 | 1,883,105 | 1,978,625 | 7,933,665 |
| Portfolio Gross Realization Rate* | 0.99 | 0.99 | 1.00 | 0.95 | 0.99 |
| Verified Gross Savings | 1,844,676 | 2,195,425 | 1,886,956 | 1,888,375 | 7,815,433 |
| Portfolio Net-to-Gross Ratio (NTG) † | 0.90 | 0.91 | 0.94 | 0.94 | 0.92 |
| Verified Net Savings | 1,652,678 | 1,998,927 | 1,770,423 | 1,770,146 | 7,192,174 |

* Realization Rate (RR) is the ratio of verified gross savings to ex ante gross savings, based on evaluation research findings.

† Guidehouse calculated the portfolio NTG ratio by dividing the total net savings by the total verified gross savings.

Source: North Shore Gas tracking data and evaluation team analysis.

Table 3 shows the total savings realized by sector. Over the 4-year period, the Business and Public Sector programs produced 70% of the portfolio net savings, Residential Market Rate programs contributed 18%, and the Income Qualified programs contributed 12% (see Figure 1).

Table 3. Total Incremental Annual Savings by Sector (2022-2025)

| Savings Category | 2022 Net Savings (Therms) | 2023 Net Savings (Therms) | 2024 Net Savings (Therms) | 2025 Net Savings (Therms) | 2022-2025 Net Total (Therms) |
| --- | --- | --- | --- | --- | --- |
| Business & Public Sector | 1,268,583 | 1,164,011 | 1,321,009 | 1,285,464 | 5,039,067 |
| Residential (Market Rate) | 320,809 | 324,024 | 282,162 | 341,305 | 1,268,299 |
| Income Qualified | 63,286 | 510,893 | 167,252 | 143,378 | 884,808 |
| Total Net Savings | 1,652,678 | 1,998,927 | 1,770,423 | 1,770,146 | 7,192,174 |

Source: North Shore Gas tracking data and evaluation team analysis. Numbers are rounded.

Figure 1. Annual Incremental Therms Savings by Sector (2022-2025)

Source: North Shore Gas tracking data and evaluation team analysis.

## Portfolio Cost Effectiveness Test Verified Results

This section summarizes findings regarding the cost-effectiveness of the North Shore Gas portfolio of energy efficiency programs over Plan 4, from PY2022 through PY2025. The cost effectiveness methodology and description of data inputs are provided in the Appendix.

Table 4 summarizes the four-year combined results for the North Shore Gas portfolio at the program, sector, and portfolio levels. The results presented in this table are based on the Illinois Total Resource Cost (TRC) test, which includes benefits from avoided environmental and societal costs, and is the primary test defined by the Climate and Equitable Jobs Act (CEJA) for ascertaining the portfolio’s cost effectiveness. The table also shows results for the Program Administration Cost test (PACT).

Throughout all four program years, the results indicate that the Plan 4 portfolio was cost effective, achieving a TRC ratio of 4.2 (including societal non-energy impacts (NEIs)) and 1.7 (excluding societal NEIs). The TRC with NEI without income qualified is 4.6, and the TRC without NEI and income qualified is 1.8.

Table 4. Portfolio Cost Effectiveness Test Results (2022-2025)

| Program | Verified Net Savings (Therms) | TRC Test (w/ NEI) | TRC Test (w/o NEI) | PACT Test (w/ NEI) | PACT Test (w/o NEI) |
| --- | --- | --- | --- | --- | --- |
| C&I and PS Joint New Construction | 38,174 | 4.2 | 1.6 | 4.6 | 4.6 |
| C&I and PS Retro-Commissioning | 16,716 | 4.3 | 1.6 | 11.9 | 11.9 |
| C/I & PS Custom | 387,581 | 6.0 | 1.9 | 2.2 | 2.2 |
| C/I & PS Prescriptive | 3,640,023 | 4.9 | 1.8 | 2.4 | 2.2 |
| C/I Gas Optimization | 135,696 | 7.1 | 2.2 | 1.7 | 1.7 |
| Small and Midsize Business | 820,877 | 5.0 | 1.9 | 1.7 | 1.6 |
| Strategic Energy Management | - | - | - | - | - |
| Business and Public Sector Total | 5,039,067 | 5.1 | 1.9 | 2.2 | 2.1 |
| Elementary Education Kits (EEE) | 133,023 | 8.1 | 4.6 | 5.2 | 1.9 |
| Epic Savers Kit (ESK) | 98,079 | 6.1 | 2.4 | 2.0 | 1.2 |
| Home Energy Jumpstart/Assessment | 41,680 | 2.5 | 1.2 | 1.1 | 0.6 |
| Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 884,853 | 4.1 | 1.7 | 3.3 | 2.5 |
| Multi-Family Energy Savings | 110,663 | 2.5 | 1.1 | 1.1 | 1.0 |
| Residential Sector Total | 1,268,299 | 4.2 | 1.8 | 2.9 | 2.0 |
| Community Joint Kits | 180,719 | 10.6 | 4.8 | 5.0 | 2.8 |
| Income Qualified Multi-Family | 589,672 | 2.9 | 1.3 | 1.4 | 1.2 |
| Income Qualified Single Family | 58,576 | 1.1 | 0.4 | 0.3 | 0.2 |
| IQ Elementary Education Kits (IQ EEE) | 53,175 | 6.3 | 3.5 | 4.0 | 1.4 |
| Public Housing Energy Saving (PHES) | 2,666 | 0.2 | 0.1 | 0.1 | 0.1 |
| Income Qualified Total | 884,808 | 3.1 | 1.4 | 1.3 | 1.0 |
| Portfolio Total, with IQ | 7,192,174 | 4.2 | 1.7 | 2.0 | 1.6 |
| Portfolio Total, without IQ | 6,307,365 | 4.6 | 1.8 | 2.3 | 1.9 |

Source: Evaluation Research

## Portfolio Economic Impact Summary of Verified Results

Table 5 presents the cumulative first year only job impacts. First year impacts are the total direct, indirect, and induced jobs created from portfolio activity in 2022-2025. North Shore Gas achieved total 274 first year job impacts from North Shore Gas’ 2022-2025 energy efficiency portfolio.

Table 5. Cumulative First Year Job Impacts – North Shore Gas

| Period | Direct | Indirect | Induced | Cumulative Total |
| --- | --- | --- | --- | --- |
| 2025 – 2049 | 16 | 12 | 44 | 72 |
| 2024 – 2048 | 16 | 11 | 40 | 66 |
| 2023 – 2047 | 9 | 9 | 56 | 74 |
| 2022 – 2046 | 25 | 14 | 22 | 62 |
| 2021 – 2045 | 77 | 33 | 71 | 181 |
| 2020 – 2044 | 34 | 16 | 29 | 80 |
| 2020 – 2049 | 177 | 95 | 262 | 535 |

Source: Guidehouse analysis of North Shore Gas annual evaluation of economic impacts of EE programs.

Table 6 present results of the Guidehouse analysis of the cumulative economic and employment impacts produced by the Plan 4 North Shore Gas energy efficiency portfolio.

Table 6. Cumulative Economic Impacts by Time Period (2022 - 2025)

| Period | Impact Type | Job Years | Labor Income ($ Million) | Industry Output ($ Million) |
| --- | --- | --- | --- | --- |
| 2025 – 2049 | Direct | 16 | $1.6 | $5.6 |
|  | Indirect | 12 | $1.0 | $2.7 |
|  | Induced | 44 | $2.9 | $13.2 |
|  | Total | 72 | $5.5 | $21.5 |
| 2024 – 2048 | Direct | 16 | $1.5 | $5.1 |
|  | Indirect | 11 | $0.9 | $2.5 |
|  | Induced | 40 | $2.6 | $11.9 |
|  | Total | 66 | $5.0 | $19.5 |
| 2023 – 2047 | Direct | 9 | $1.1 | $4.3 |
|  | Indirect | 9 | $0.8 | $2.1 |
|  | Induced | 56 | $3.7 | $17.8 |
|  | Total | 74 | $5.6 | $24.2 |
| 2022 – 2046 | Direct | 25 | $2.2 | $7.2 |
|  | Indirect | 14 | $1.3 | $3.3 |
|  | Induced | 22 | $1.5 | $5.2 |
|  | Total | 62 | $5.0 | $15.8 |
| 2021 – 2045 | Direct | 77 | $7.2 | $14.4 |
|  | Indirect | 33 | $2.4 | $6.5 |
|  | Induced | 71 | $4.0 | $14.0 |
|  | Total | 181 | $13.6 | $34.9 |
| 2020 – 2044 | Direct | 34 | $2.7 | $6.9 |
|  | Indirect | 16 | $1.2 | $3.1 |
|  | Induced | 29 | $1.6 | $5.8 |
|  | Total | 80 | $5.6 | $15.8 |
| 2020 – 2049 | Cumulative Total | 535 | $40.3 | $131.7 |

Note: Totals may not sum due to rounding.

Source: Guidehouse analysis of North Shore Gas annual evaluation of economic impacts of EE programs.

# Program Specific Results

## Program Specific Verified Savings and Costs Summary

A summary of the components of the verified savings and costs for each program are shown in Table 7 over the four years of Plan 4. The table includes the summary at the sector level as well as the portfolio level total.

Table 7. Summary of Verified Savings and Program Costs for 2022-2025

| Programs | Ex Ante Gross | Realization Rate | Verified Gross |  | Deemed / Used | Verified Net |  |  |  | Program Costs |  | Other Energy Benefits |  | Participation |  | Verified Gross Weighted Average Measure Life | GHG Savings |  | Water Savings |  | Incremental Costs |  | Net Savings |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Annual Savings | Annual Savings (Verified Gross / Ex Ante Gross) | Annual Savings | Lifetime Savings | Net-to-Gross Ratio | Annual Savings | Lifetime Savings | Cost per Annual Savings | Cost per Lifetime Savings | Non-Incentives | Incentives | Energy Savings | Demand Reductions | # Units | Units Definition | Years | Annual Verified Net CO2 Savings | Lifetime Verified Net CO2 Savings | Annual Verified Net Water Savings | Lifetime Verified Net Water Savings | Gross IMC | Net IMC |  |
|  | Therms | % | Therms | Therms | % | Therms | Therms | $/Therms | $/Therms | $ | $ | kWh | kW |  |  |  | metric tons CO2 | metric tons CO2 | Gallons | Gallons | $ | $ | % |
| (a) | (b) | (c=d/b) | (d) | (e) | (f=g/d) | (g) | (h) | (i=(k+l)/g) | (j=(k+l)/h) | (k) | (l) | (m) | (n) | (o) | (p) | (q=e/d) | (r) | (s) | (t) | (u) | (v) | (w) | (x) |
| C&I and PS Joint New Construction | 79,391 | 97% | 77,085 | 1,587,947 | 50% | 38,174 | 786,392 | 1.15 | 0.06 | 21,295 | 22,473 | - | - | 8 | Projects | 20.6 | 202 | 4,161 | - | - | 306,444 | 158,871 | 0.5% |
| C&I and PS Retro-Commissioning | 18,919 | 94% | 17,810 | 152,798 | 94% | 16,716 | 143,393 | 0.24 | 0.03 | - | 3,955 | - | - | 5 | Projects | 8.6 | 88 | 759 | - | - | 35,382 | 33,792 | 0.2% |
| C/I & PS Custom | 435,251 | 102% | 443,789 | 6,723,242 | 87% | 387,581 | 5,874,369 | 2.03 | 0.13 | - | 787,556 | - | - | 17 | Projects | 15.1 | 2,051 | 31,081 | - | - | 1,297,166 | 1,213,624 | 5.4% |
| C/I & PS Prescriptive | 3,872,289 | 101% | 3,927,716 | 22,106,483 | 93% | 3,640,023 | 20,488,897 | 0.85 | 0.15 | 1,867,780 | 1,228,617 | 15,970 | - | 1,021,144 | Projects | 5.6 | 19,259 | 108,407 | 11,961,666 | 72,201,484 | 2,875,981 | 2,791,725 | 50.6% |
| C/I Gas Optimization | 157,021 | 91% | 142,933 | 2,016,327 | 95% | 135,696 | 1,928,809 | 2.43 | 0.17 | - | 330,371 | - | - | 3 | Projects | 14.1 | 718 | 10,205 | - | - | 330,371 | 330,371 | 1.9% |
| Small and Midsize Business | 1,030,650 | 85% | 876,498 | 6,284,058 | 94% | 820,877 | 5,872,865 | 1.46 | 0.20 | 749,049 | 451,269 | 7,801 | 0.29 | 230,598 | Projects | 7.2 | 4,343 | 31,073 | 3,287,373 | 20,064,494 | 596,188 | 570,031 | 11.4% |
| Strategic Energy Management | - | N/A | - | - | N/A | - | - | - | - | 18,000 | 4,900 | - | - | - | Projects | - | - | - | - | - | 4,900 | 4,900 | 0.0% |
| Business and Public Sector Total | 5,593,522 | 98% | 5,485,831 | 38,870,855 | 92% | 5,039,067 | 35,094,726 | 1.09 | 0.16 | 2,656,124 | 2,829,142 | 23,771 | 0.29 | 1,251,775 | Projects | 7.1 | 26,662 | 185,686 | 15,249,040 | 92,265,978 | 5,446,431 | 5,103,315 | 70.1% |
| Elementary Education Kits (EEE) | 126,423 | 100% | 126,568 | 1,264,422 | 105% | 133,023 | 1,325,504 | 1.54 | 0.15 | 92,364 | 112,735 | 20,138 | - | 78,772 | Projects | 10.0 | 704 | 7,013 | 16,898,980 | 146,322,791 | 186,416 | 195,989 | 1.8% |
| Epic Savers Kit (ESK) | 98,710 | 97% | 95,452 | 1,105,074 | 103% | 98,079 | 1,123,808 | 3.12 | 0.27 | 65,090 | 241,027 | 45,120 | 0.09 | 7,964 | Projects | 11.6 | 519 | 5,946 | 2,577,162 | 25,771,618 | 241,027 | 241,027 | 1.4% |
| Home Energy Jumpstart/Assessment | 42,565 | 100% | 42,564 | 452,368 | 98% | 41,680 | 443,665 | 5.16 | 0.48 | 108,954 | 106,033 | 5,677 | - | 6,940 | Projects | 10.6 | 221 | 2,347 | 1,678,785 | 16,787,851 | 121,626 | 122,532 | 0.6% |
| Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 1,064,064 | 99% | 1,055,403 | 15,158,648 | 84% | 884,853 | 12,612,027 | 1.84 | 0.13 | 692,197 | 932,532 | 610,229 | 1.87 | 596,416 | Projects | 14.4 | 4,682 | 66,730 | - | - | 4,922,869 | 3,642,864 | 12.3% |
| Multi-Family Energy Savings | 124,901 | 100% | 124,806 | 1,194,953 | 89% | 110,663 | 1,065,168 | 2.96 | 0.31 | 200,159 | 127,556 | 723 | - | 118,356 | Projects | 9.6 | 586 | 5,636 | 752,673 | 5,822,731 | 226,365 | 221,322 | 1.5% |
| Residential Sector Total | 1,456,663 | 99% | 1,444,793 | 19,175,465 | 88% | 1,268,299 | 16,570,172 | 2.11 | 0.16 | 1,158,762 | 1,519,884 | 681,887 | 1.96 | 808,448 | Projects | 13.3 | 6,711 | 87,673 | 21,907,600 | 194,704,990 | 5,698,302 | 4,423,735 | 17.6% |
| Community Joint Kits | 180,652 | 100% | 180,719 | 2,405,118 | 100% | 180,719 | 2,405,118 | 1.36 | 0.10 | 72,969 | 172,874 | 23,637 | - | 221,320 | Projects | 13.3 | 956 | 12,725 | 20,692,103 | 182,164,258 | 255,042 | 255,042 | 2.5% |
| Income Qualified Multi-Family | 588,456 | 100% | 589,672 | 11,101,191 | 100% | 589,672 | 11,101,191 | 4.14 | 0.22 | 931,601 | 1,510,657 | - | - | 1,237,085 | Projects | 18.8 | 3,120 | 58,736 | 7,246,323 | 61,483,519 | 2,751,512 | 2,751,512 | 8.2% |
| Income Qualified Single Family | 58,597 | 100% | 58,576 | 984,051 | 100% | 58,576 | 984,051 | 19.35 | 1.15 | 549,981 | 583,305 | 1,328 | 0.29 | 91,574 | Projects | 16.8 | 310 | 5,207 | 1,102,781 | 11,027,814 | 583,305 | 576,001 | 0.8% |
| IQ Elementary Education Kits (IQ EEE) | 53,109 | 100% | 53,175 | 546,952 | 100% | 53,175 | 546,952 | 2.14 | 0.21 | 65,164 | 48,483 | 17,435 | - | 22,554 | Projects | 10.3 | 281 | 2,894 | 4,956,013 | 38,590,989 | 94,134 | 94,134 | 0.7% |
| Public Housing Energy Saving (PHES) | 2,666 | 100% | 2,666 | 9,041 | 100% | 2,666 | 9,041 | 22.72 | 6.70 | 45,016 | 15,568 | - | - | 116 | Projects | 3.4 | 14 | 48 | - | - | 19,569 | 19,569 | 0.0% |
| Income Qualified Total | 883,480 | 100% | 884,808 | 15,046,352 | 100% | 884,808 | 15,046,353 | 4.52 | 0.27 | 1,664,731 | 2,330,887 | 42,399 | 0.29 | 1,572,649 | Projects | 17.0 | 4,682 | 79,610 | 33,997,221 | 293,266,580 | 3,703,562 | 3,696,259 | 12.3% |
| Other Portfolio Costs |  |  |  |  |  |  |  |  |  | 513,977 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Portfolio Total w IQ | 7,933,665 | 99% | 7,815,433 | 73,092,672 | 92% | 7,192,174 | 66,711,250 | $1.76 | $0.19 | $5,993,594 | $6,679,913 | 748,057 | 2.54 | 3,632,872 | Projects | 9.4 | 38,054 | 352,969 | 71,153,860 | 580,237,549 | 14,848,296 | 13,223,308 | 100.0% |
| Portfolio Total w/o IQ | 7,050,185 | 98% | 6,930,624 | 58,046,320 | 91% | 6,307,365 | 51,664,898 | $1.38 | $0.17 | $4,328,863 | $4,349,026 | 705,658 | 2.25 | 2,060,223 | Projects | 8.4 | 33,372 | 273,359 | 37,156,639 | 286,970,969 | 11,144,734 | 9,527,049 | 87.7% |

Source: Evaluation summary of analysis of 2022 through 2025 program and portfolio verified summary reports

## Program Specific Cost Effectiveness Results Summary

A summary of the components of the cost effectiveness calculations for each program are shown in Table 8 for the Illinois TRC calculations and Table 9 for the PACT calculations. The tables include the value of each benefit and cost component for each program totaled over the four years. The portfolio results are shown with or without NEI or income qualified.

A summary of the annual reports of the North Shore Gas Illinois TRC and PACT benefits and costs for each program are provided in the accompanied excel spreadsheet for this report.

Table 8. Summary of Program Level Benefits, Costs and Illinois TRC Test for 2022-2025

| Programs | Benefits |  |  | Costs |  |  | IL Total Resource Cost (TRC) Test w NEIs |  |  |  | IL Total Resource Cost (TRC) Test w/o NEIs |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Avoided Gas Savings | All Other Benefits w NEI | All Other Benefits w/o NEI | Non-Incentive Costs | Incentive Costs | Incremental Costs | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test |
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) = (b+c) | (i) = (e+g) | (j) = (h-i) | (k) = (h/i) | (l) = (b+d) | (m) = (e+g) | (n) = (l-m) | (o) = (l/m) |
| C&I and PS Joint New Construction | $294,482 | $454,778 | $- | $21,295 | $22,473 | $158,871 | $749,260 | $180,166 | $569,093 | 4.2 | $294,482 | $180,166 | $114,315 | 1.6 |
| C&I and PS Retro-Commissioning | $55,537 | $90,931 | $- | $- | $3,955 | $33,792 | $146,468 | $33,792 | $112,676 | 4.3 | $55,537 | $33,792 | $21,745 | 1.6 |
| C/I & PS Custom | $2,322,332 | $4,932,762 | $- | $- | $787,556 | $1,213,624 | $7,255,094 | $1,213,624 | $6,041,471 | 6.0 | $2,322,332 | $1,213,624 | $1,108,708 | 1.9 |
| C/I & PS Prescriptive | $7,878,924 | $14,985,499 | $629,703 | $1,867,780 | $1,228,617 | $2,791,725 | $22,864,423 | $4,659,506 | $18,204,917 | 4.9 | $8,508,628 | $4,659,506 | $3,849,122 | 1.8 |
| C/I Gas Optimization | $737,673 | $1,595,715 | $- | $- | $330,371 | $330,371 | $2,333,388 | $330,371 | $2,003,017 | 7.1 | $737,673 | $330,371 | $407,302 | 2.2 |
| Small and Midsize Business | $2,270,705 | $4,312,714 | $178,675 | $749,049 | $451,269 | $570,031 | $6,583,420 | $1,319,080 | $5,264,340 | 5.0 | $2,449,380 | $1,319,080 | $1,130,300 | 1.9 |
| Strategic Energy Management | $- | $- | $- | $18,000 | $4,900 | $4,900 | $- | $22,900 | $(22,900) | - | $- | $22,900 | $(22,900) | - |
| Business and Public Sector Total | $13,559,653 | $26,372,400 | $808,378 | $2,656,124 | $2,829,142 | $5,103,315 | $39,932,053 | $7,759,439 | $32,172,614 | 5.1 | $14,368,031 | $7,759,439 | $6,608,592 | 1.9 |
| Elementary Education Kits (EEE) | $510,811 | $1,812,561 | $813,285 | $92,364 | $112,735 | $195,989 | $2,323,371 | $288,352 | $2,035,019 | 8.1 | $1,324,096 | $288,352 | $1,035,744 | 4.6 |
| Epic Savers Kit (ESK) | $454,186 | $1,403,394 | $284,369 | $65,090 | $241,027 | $241,027 | $1,857,580 | $306,117 | $1,551,463 | 6.1 | $738,556 | $306,117 | $432,439 | 2.4 |
| Home Energy Jumpstart/Assessment | $169,270 | $415,450 | $119,716 | $108,954 | $106,033 | $122,532 | $584,720 | $231,486 | $353,234 | 2.5 | $288,986 | $231,486 | $57,500 | 1.2 |
| Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | $5,675,686 | $12,071,257 | $1,806,174 | $692,197 | $932,532 | $3,642,864 | $17,746,943 | $4,335,061 | $13,411,882 | 4.1 | $7,481,860 | $4,335,061 | $3,146,799 | 1.7 |
| Multi-Family Energy Savings | $401,190 | $656,140 | $58,951 | $200,159 | $127,556 | $221,322 | $1,057,330 | $421,481 | $635,850 | 2.5 | $460,141 | $421,481 | $38,660 | 1.1 |
| Residential Sector Total | $7,211,143 | $16,358,802 | $3,082,496 | $1,158,762 | $1,519,884 | $4,423,735 | $23,569,945 | $5,582,497 | $17,987,448 | 4.2 | $10,293,639 | $5,582,497 | $4,711,142 | 1.8 |
| Community Joint Kits | $929,212 | $2,538,569 | $649,385 | $72,969 | $172,874 | $255,042 | $3,467,781 | $328,011 | $3,139,769 | 10.6 | $1,578,597 | $328,011 | $1,250,586 | 4.8 |
| Income Qualified Multi-Family | $4,266,824 | $6,505,840 | $428,289 | $931,601 | $1,510,657 | $2,751,512 | $10,772,664 | $3,683,113 | $7,089,551 | 2.9 | $4,695,113 | $3,683,113 | $1,012,000 | 1.3 |
| Income Qualified Single Family | $366,406 | $831,013 | $67,631 | $549,981 | $583,305 | $576,001 | $1,197,419 | $1,125,982 | $71,437 | 1.1 | $434,038 | $1,125,982 | $(691,944) | 0.4 |
| IQ Elementary Education Kits (IQ EEE) | $213,243 | $783,789 | $348,037 | $65,164 | $48,483 | $94,134 | $997,032 | $159,298 | $837,733 | 6.3 | $561,280 | $159,298 | $401,982 | 3.5 |
| Public Housing Authority (PHES) | $3,590 | $8,922 | $- | $45,016 | $15,568 | $19,569 | $12,512 | $64,585 | $(52,073) | 0.2 | $3,590 | $64,585 | $(60,995) | 0.1 |
| Income Qualified Total | $5,779,275 | $10,668,132 | $1,493,342 | $1,664,731 | $2,330,887 | $3,696,259 | $16,447,407 | $5,360,990 | $11,086,418 | 3.1 | $7,272,617 | $5,360,990 | $1,911,628 | 1.4 |
| EEPS Portfolio Costs |  |  |  | $513,977 |  |  | $- | $513,977 | $(513,977) |  | $- | $513,977 | $(513,977) |  |
| EEPS Portfolio Total | $26,550,072 | $53,399,334 | $5,384,216 | $5,993,594 | $6,679,913 | $13,223,308 | $79,949,405 | $19,216,902 | $60,732,504 | 4.2 | $31,934,288 | $19,216,902 | $12,717,386 | 1.7 |
| EEPS Portfolio Total, without Income Qualified (IQ) | $20,770,796 | $42,731,202 | $3,890,874 | $4,328,863 | $4,349,026 | $9,527,049 | $63,501,998 | $13,855,912 | $49,646,086 | 4.6 | $24,661,670 | $13,855,912 | $10,805,758 | 1.8 |

Source: Evaluation summary of analysis of 2022 through 2025 program and portfolio verified summary reports

Table 9. Summary of Program Level Benefits, Costs and Illinois PACT for 2022-2025

| Programs | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT) w NEIs |  |  |  | Program Administrator Cost Test (PACT) w/o NEIs |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Avoided Gas Savings | All Other Benefits w NEI | Non-Incentive Costs | Incentive Costs | Incremental Costs | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test |
| (a) | (b) | (c) | (d) | (e) | (f) | (g) = (b+c) | (h) = (d+e) | (i) = (g-h) | (j) = (g/h) | (k) = (b) | (l) = (d+e) | (m) = (k-l) | (n) = (k/l) |
| C&I and PS Joint New Construction | $201,818 | $- | $21,295 | $22,473 | $158,871 | $201,818 | $43,768 | $158,050 | 4.6 | $201,818 | $43,768 | $158,050 | 4.6 |
| C&I and PS Retro-Commissioning | $47,043 | $- | $- | $3,955 | $33,792 | $47,043 | $3,955 | $43,088 | 11.9 | $47,043 | $3,955 | $43,088 | 11.9 |
| C/I & PS Custom | $1,766,001 | $- | $- | $787,556 | $1,213,624 | $1,766,001 | $787,556 | $978,445 | 2.2 | $1,766,001 | $787,556 | $978,445 | 2.2 |
| C/I & PS Prescriptive | $6,927,578 | $561,898 | $1,867,780 | $1,228,617 | $2,791,725 | $7,489,476 | $3,096,398 | $4,393,078 | 2.4 | $6,927,578 | $3,096,398 | $3,831,180 | 2.2 |
| C/I Gas Optimization | $548,238 | $- | $- | $330,371 | $330,371 | $548,238 | $330,371 | $217,867 | 1.7 | $548,238 | $330,371 | $217,867 | 1.7 |
| Small and Midsize Business | $1,930,845 | $160,003 | $749,049 | $451,269 | $570,031 | $2,090,848 | $1,200,318 | $890,529 | 1.7 | $1,930,845 | $1,200,318 | $730,527 | 1.6 |
| Strategic Energy Management | $- | $- | $18,000 | $4,900 | $4,900 | $- | $22,900 | $(22,900) | - | $- | $22,900 | $(22,900) | - |
| Business and Public Sector Total | $11,421,523 | $721,901 | $2,656,124 | $2,829,142 | $5,103,315 | $12,143,423 | $5,485,267 | $6,658,157 | 2.2 | $11,421,523 | $5,485,267 | $5,936,256 | 2.1 |
| Elementary Education Kits (EEE) | $386,084 | $686,628 | $92,364 | $112,735 | $195,989 | $1,072,711 | $205,099 | $867,613 | 5.2 | $386,084 | $205,099 | $180,985 | 1.9 |
| Epic Savers Kit (ESK) | $367,586 | $237,702 | $65,090 | $241,027 | $241,027 | $605,288 | $306,117 | $299,171 | 2.0 | $367,586 | $306,117 | $61,469 | 1.2 |
| Home Energy Jumpstart/Assessment | $134,830 | $99,901 | $108,954 | $106,033 | $122,532 | $234,731 | $214,987 | $19,744 | 1.1 | $134,830 | $214,987 | $(80,157) | 0.6 |
| Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | $4,075,302 | $1,367,369 | $692,197 | $932,532 | $3,732,460 | $5,442,671 | $1,624,729 | $3,817,942 | 3.3 | $4,075,302 | $1,624,729 | $2,450,573 | 2.5 |
| Multi-Family Energy Savings | $311,347 | $48,267 | $200,159 | $127,556 | $221,403 | $359,614 | $327,715 | $31,899 | 1.1 | $311,347 | $327,715 | $(16,367) | 1.0 |
| Residential Sector Total | $5,275,148 | $2,439,867 | $1,158,762 | $1,519,884 | $4,513,411 | $7,715,015 | $2,678,646 | $5,036,369 | 2.9 | $5,275,148 | $2,678,646 | $2,596,502 | 2.0 |
| Community Joint Kits | $680,438 | $548,361 | $72,969 | $172,874 | $255,042 | $1,228,800 | $245,843 | $982,956 | 5.0 | $680,438 | $245,843 | $434,595 | 2.8 |
| Income Qualified Multi-Family | $2,980,254 | $359,985 | $931,601 | $1,510,657 | $2,751,512 | $3,340,239 | $2,442,257 | $897,982 | 1.4 | $2,980,254 | $2,442,257 | $537,997 | 1.2 |
| Income Qualified Single Family | $259,594 | $56,215 | $549,981 | $583,305 | $577,546 | $315,809 | $1,133,286 | $(817,477) | 0.3 | $259,594 | $1,133,286 | $(873,692) | 0.2 |
| IQ Elementary Education Kits (IQ EEE) | $161,496 | $295,254 | $65,164 | $48,483 | $94,134 | $456,749 | $113,647 | $343,102 | 4.0 | $161,496 | $113,647 | $47,849 | 1.4 |
| Public Housing Authority (PHES) | $3,403 | $- | $45,016 | $15,568 | $19,569 | $3,403 | $60,584 | $(57,181) | 0.1 | $3,403 | $60,584 | $(57,181) | 0.1 |
| Income Qualified Total | $4,085,185 | $1,259,815 | $1,664,731 | $2,330,887 | $3,697,804 | $5,345,001 | $3,995,617 | $1,349,383 | 1.3 | $4,085,185 | $3,995,617 | $89,568 | 1.0 |
| EEPS Portfolio Costs |  |  | $513,977 |  |  | $- | $513,977 | $(513,977) |  | $- | $513,977 | $(513,977) |  |
| EEPS Portfolio Total | $20,781,856 | $4,421,583 | $5,993,594 | $6,679,913 | $13,314,530 | $25,203,439 | $12,673,507 | $12,529,933 | 2.0 | $20,781,856 | $12,673,507 | $8,108,350 | 1.6 |
| EEPS Portfolio Total, without Income Qualified (IQ) | $16,696,671 | $3,161,768 | $4,328,863 | $4,349,026 | $9,616,726 | $19,858,439 | $8,677,889 | $11,180,549 | 2.3 | $16,696,671 | $8,677,889 | $8,018,782 | 1.9 |

Source: Evaluation summary of analysis of 2022 through 2025 program and portfolio verified summary reports

# Appendix A. Cost Effectiveness Methodology

As part of the evaluation of North Shore Gas energy efficiency programs for Gas Program Years 2022 through 2025, Guidehouse performed benefit-cost calculations with data provided by North Shore Gas and Guidehouse-evaluated program results, referencing the IL TRM or Guidehouse research. The focus of this review is on the basis and calculations used to conduct the Illinois TRC test. The Illinois TRC test is defined in 220 ILCS 5/8-104(b) as follows:

“Cost-effective” means that the measures satisfy the total resource cost test which, for purposes of this Section, means a standard that is met if, for an investment in energy efficiency, the benefit-cost ratio is greater than one. The benefit-cost ratio is the ratio of the net present value of the total benefits of the measures to the net present value of the total costs as calculated over the lifetime of the measures. The total resource cost test compares the sum of avoided natural gas utility costs, representing the benefits that accrue to the system and the participant in the delivery of those efficiency measures, as well as other quantifiable societal benefits, including avoided electric utility costs, to the sum of all incremental costs of end use measures (including both utility and participant contributions), plus costs to administer, deliver, and evaluate each demand-side measure, to quantify the net savings obtained by substituting demand-side measures for supply resources. In calculating avoided costs, reasonable estimates shall be included for financial costs likely to be imposed by future regulation of emissions of greenhouse gases. The low-income programs described in item (4) of subsection (f) of this Section shall not be required to meet the total resource cost test.

The Illinois TRC test differs from a traditional TRC test in its requirement to include a reasonable estimate of the financial costs associated with future regulations and legislation on the emissions of greenhouse gases (GHG). Additional benefits included in the calculation are the NEIs and water savings. This difference adds an additional benefit to investments in efficiency programs that typically are included in the Societal Cost Test in other jurisdictions.

In contrast, the PACT approaches cost-effectiveness from the perspective of the utility as program administrator and determines the ratio of energy supply costs avoided by the utility to the overhead and cost outlays that the utility incurred to implement energy efficiency programs. Since the PACT is primarily focused on utility outlays, incentives paid by the utility to either participants or third-party implementers are included in the calculation, rather than incremental or participant costs. Additionally, since non-energy benefits accrue to society rather than to utility implementing the energy efficiency programs, those benefits are not included in the PACT formula.

Incremental Measure Cost Approach

Incremental cost is the difference between the cost of the efficient measure and the cost of the most relevant baseline measure that would have been installed (if any) in the absence of the efficiency program. The Illinois Energy Efficiency Policy Manual instructs that installation costs (material and labor) and Operations and Maintenance (O&M) costs shall be included if there is a difference between the efficient measure and the baseline measure in O&M costs. In cases where the efficient measure has a significantly shorter or longer life than the relevant baseline measure, the avoided baseline replacement measure costs should be accounted for in the TRC analysis. The incremental cost input in the TRC analysis is not reduced by the amount of incentives.

Data Assumptions in the Cost-Effectiveness Calculations

Guidehouse identified the following data points in Table 10 for conducting the Illinois TRC test. The data are divided into generic and program-specific categories. The program-specific data points are further subdivided into those (1) provided by the utility, (2) are a result of evaluation activities, and (3) from multiple sources.

Table 10. Data Points Needed to Conduct the Illinois TRC Test

| Category | Data Point | Source |
| --- | --- | --- |
| Generic | - Avoided Natural Gas Costs: Plan 4 - Avoided Electricity Costs - Loss Factor (Unaccounted-for-Gas Factor) - Plan 4 Non-Energy Impacts Additional Quantifiable Benefit - Weighted Average Cost of Capital | PGL and NSG, ComEd |
| Generic | - Societal Discount Rate - Greenhouse Gas (GHG) Adder | Illinois TRM and Energy Efficiency Stakeholders Advisory Group |
| Program Specific | - Verified Participants / Measure Count - Verified Gross and Net Energy Savings - Realization Rate - Net-to-Gross Ratio | Final Evaluation Reports |
|  | - Non-Incentive Costs - Utility Incentive Costs | PGL and NSG |
|  | - Incremental Measure Costs - Measure Life - Water Savings in Gallons and Avoided Water Costs - Electric Savings in kWh and Avoided kWh Costs | PGL and NSG, Guidehouse Evaluation, Illinois TRM, Other |

Source: Evaluation Research

# Appendix B. Economic Impact Analysis Methodology

The economic impact assessment for energy efficiency programs follows a three-step process (depicted in Figure 2):

- Data collection of the economic activities of the energy efficiency programs

- Economic modeling of these activities using IMPLAN

- Analysis of the results – summarizing and assessing the economic measures (e.g. industry output, labor income, and jobs)

Figure 2. Economic Impact Assessment Methodology

Source: Evaluation Research

Unless noted, therm values are first year annual savings.

The Approved Net Energy Savings Goal (Approved Goal) refers to the most updated portfolio-level savings goal. In the case of Section 8-104 programs, the values match the Adjusted Energy Savings Goal contained in the Program Administrator's updated 2025 Adjustable Savings Goal Template. The Original Plan Savings Goal (Compliance Goal) approved in the Commission's Final Order submitted in Docket 21-0154 for 2022 through 2025 is 6,611,648 annual net therm savings.

First year impacts are the total direct, indirect, and induced jobs created from portfolio activity in a particular year.

The evaluation team advises against use of employment impacts reported in job-years because as shown in Figure 1, employment impacts are long-term effects not confined to a particular year, using job-years can be misleading as to the effects produced.

Job-years are a cumulative measure of employment impact equal to one full-time equivalent job sustained for one year. Under CEJA economic impact analyses, job-years are used to quantify the statewide employment effects generated over time by utility energy efficiency investments and the resulting long-term energy bill savings.

https://www.ilsag.info/evaluation-documents/final-evaluation-reports/#people

https://www.ilsag.info/evaluation-documents/final-evaluation-reports/#people

https://www.ilsag.info/evaluation-documents/final-evaluation-reports/#people

Public Utilities Act, Illinois Compiled Statutes maintained by the Legislative Reference Bureau, http://www.ilga.gov/legislation/ilcs/fulltext.asp?DocName=022000050K8-104.

Illinois Energy Efficiency Policy Manual, Version 3.0, available at: https://www.ilsag.info/policy/

Illinois Statewide Technical Reference Manual (Illinois TRM). Available at: https://www.ilsag.info/technical-reference-manual/

Evaluation documents are available at: https://www.ilsag.info/evaluation-documents/final-evaluation-reports/

IMPLAN is an economic analysis software used to estimate the impact of an economic activity on a specific geographic area. The analysis uses IMPLAN 2021 data for Illinois to capture the effect of program spending on the Illinois economy. For more information, see https://implan.com/