## NSG 2023 Verified Summary
2023 Verified Savings Summary
| Ex Ante Gross | Realization Rate | Verified Gross |  | Deemed / Used | Verified Net |  |  |  | Program Costs |  | Participation |  |  |  | Verified Gross Weighted Average Measure Life | GHG Savings |  | Water Savings |  | Incremental Costs
| Annual Savings | Annual Savings (Verified Gross / Ex Ante Gross) | Annual Savings | Lifetime Savings | Net-to-Gross Ratio | Annual Savings | Lifetime Savings | Cost per Annual Savings | Cost per Lifetime Savings | Non-Incentives | Incentives | # Units | Units Definition | Energy Savings | Demand Reductions | Years | Annual Verified Net CO2 Savings | Lifetime Verified Net CO2 Savings | Annual Verified Net Water Savings | Lifetime Verified Net Water Savings | Gross IMC | Net IMC
| Therms | % | Therms | Therms | % | Therms | Therms | $/Therms | $/Therms | $ | $ |  |  | kWh | kW |  | metric tons CO2 | metric tons CO2 | Gallons | Gallons | $ | $
(a) | (b) | (c=d/b) | (d) | (e) | (f=g/d) | (g) | (h) | (i=(k+l)/g) | (j=(k+l)/h) | (k) | (l) | (m) | (n) |  |  | (o=e/d)
C&I and PS Joint New Construction | 30314 | 94.1% | 28525.33 | 587621.798 | 60.63% | 17293.8 | 356252.27 | 1.4429 | 0.070043 | 11009.13 | 13944 | 5 | Projects | 0 | 0 | 20.6 | 91.5015 | 1884.9308 | 0 | 0 | 153751.5287 | 93213.582
C&I and PS Retro-Commissioning | 4558 | 113.1% | 5156 | 44341.6 | 98% | 5052.88 | 43454.77 | 0 | 0 | 0 | 0 | 1 | Project | 0 | 0 | 8.6 | 26.7348 | 229.9192 | 0 | 0 | 7354.4 | 7207.312
C/I & PS Custom | 130936.45 | 99.47% | 130248.78 | 1953731.7 | 76.01% | 99000.4 | 1485006 | 1.6114 | 0.10743 | 0 | 159527.74 | 4 | Projects | 0 | 0 | 15 | 523.8111 | 7857.1667 | 0 | 0 | 159527.74 | 159527.74
C/I & PS Prescriptive | 915135.7 | 99.98% | 914941.62 | 5261387.94 | 91.37% | 835996.33 | 4807891.62 | 0.92583 | 0.16098 | 441399.18 | 332594.4 | 387285 | Measure | 0 | 0 | 5.7505 | 4423.2566 | 25438.5546 | 786526.8884 | 5150648.5985 | 1740357.9476 | 1701651.8284
C/I Gas Optimization | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 20000 | 0 | Projects | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20000 | 20000
Small Business | 223698.01 | 98.97% | 221386.51 | 1815432.63 | 93.35% | 206667.84 | 1690352.38 | 1.6348 | 0.19988 | 206533.31 | 131331.38 | 41674.9 | Measure | 0 | 0 | 8.2003 | 1093.4795 | 8943.6544 | 359881.8165 | 2159290.8992 | 137024.83 | 131331.38
Strategic Energy Management | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Projects | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Community Joint Kits | 36637.58 | 100% | 36637.58 | 494669.44 | 100% | 36637.58 | 494669.44 | 1.192 | 0.088282 | 14087.81 | 29582.44 | 169912.01 | Kits | 0 | 0 | 13.5017 | 193.8494 | 2617.296 | 2743600.2359 | 20340251.3935 | 59698.8946 | 59698.8946
IE Elementary Education Kits (EEE) | 13730.31 | 0% | 13730.31 | 178760.34 | 0% | 13730.31 | 178760.34 | 0 | 0 | 6511.7 | 10345.5 | 7920 | Measure | 0 | 0 | 0 | 72.6471 | 945.821 | 1475978.0918 | 9219722.9879 | 32575.0511 | 32575.0511
Multi-Family - IHWAP, Retrofits, PTA | 446389.63 | 100.1% | 447003.97 | 8520850.8144 | 100% | 447003.97 | 8520850.8144 | 2.3671 | 0.12418 | 349794.8788 | 708288.96 | 993722 | Measure | 0 | 0 | 19.0621 | 2365.098 | 45083.8217 | 4912668.1017 | 42012569.5621 | 1694344.3572 | 1694344.3572
Public Housing Authority (PHES) | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 587.8856 | 0 | 0 | Measure | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single Family - IHWAP, Retrofits, HEA | 13520.76 | 100% | 13520.73 | 170701.6168 | 100% | 13520.73 | 170701.6168 | 16.4791 | 1.3053 | 123518.24 | 99291.61 | 19176 | Projects | 0 | 0 | 12.6252 | 71.5382 | 903.1823 | 402713.0008 | 4027130.0083 | 99291.61 | 99291.61
Elementary Education Kits (EEE) | 23815.08 | 100% | 23815.08 | 317817.02 | 100% | 23815.08 | 317817.02 | 1.0942 | 0.081992 | 8984.59 | 17073.91 | 13096 | Kits | 0 | 0 | 13.3452 | 126.0056 | 1681.5699 | 2440581.9559 | 15245137.9102 | 53863.9987 | 53863.9987
Home Energy Jumpstart | 8253.22 | 100% | 8253.23 | 77688.2568 | 91.37% | 7541.16 | 71292.7732 | 6.0217 | 0.63696 | 25429.24 | 19981.18 | 1497 | Measure | 0 | 0 | 9.4131 | 39.9003 | 377.2101 | 0 | 0 | 24350.4982 | 22518.3761
Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 297466.85 | 97.12% | 288914.07 | 4663400.7585 | 82.24% | 237603.18 | 3752313.9634 | 1.4318 | 0.090662 | 103939.7 | 236251.38 | 203593.05 | Measure | 150703.0676 | 1.0004 | 16.1411 | 1257.1584 | 19853.4932 | 0 | 0 | 1315499.3094 | 951388.7348
Multi-Family - DI, Prescriptive, Custom, PTA | 63320.84 | 99.95% | 63292.06 | 385356.65 | 87% | 55064.09 | 335260.35 | 1.7954 | 0.29488 | 42874.7661 | 55988.25 | 103893 | Measure | 0 | 0 | 6.0885 | 291.3441 | 1773.8625 | 0 | 0 | 55988.25 | 55988.25
Business | 1304642.16 | 99.66% | 1300258.24 | 9662515.668 | 89.52% | 1164011.25 | 8382957.04 | 1.1309 | 0.15703 | 658941.62 | 657397.52 | 428969.9 |  | 0 | 0 | 7.4312 | 6158.7835 | 44354.2257 | 1146408.705 | 7309939.4977 | 2218016.4463 | 2112931.8424
Income Eligible | 510278.28 | 100.1% | 510892.59 | 9364982.2112 | 100% | 510892.59 | 9364982.2112 | 2.6268 | 0.1433 | 494500.5144 | 847508.51 | 1190730.01 |  | 0 | 0 | 18.3306 | 2703.1327 | 49550.1209 | 9534959.4303 | 75599673.9518 | 1885909.9129 | 1885909.9129
Residential | 392855.99 | 97.82% | 384274.44 | 5444262.6853 | 84.32% | 324023.51 | 4476684.1066 | 1.5756 | 0.11404 | 181228.2961 | 329294.72 | 322079.05 |  | 150703.0676 | 1.0004 | 14.1676 | 1714.4084 | 23686.1356 | 2440581.9559 | 15245137.9102 | 1449702.0563 | 1083759.3596
MT | 0 | 100% | 0 | 0 | 100% | 0 | 0 | 0 | 0 | 109249.94 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
Portfolio Total | 2207776.43 | 99.44% | 2195425.27 | 24471760.5645 | 91.05% | 1998927.35 | 22224623.3578 | 1.6399 | 0.1475 | 1443920.3705 | 1834200.75 | 1941778.96 |  | 150703.0676 | 1.0004 | 11.1467 | 10576.3246 | 117590.4822 | 13121950.0912 | 98154751.3597 | 5553628.4155 | 5082601.1149

## NSG 2023 TRC
Total Resource Cost Test (TRC) Results for NSG, 2023 Programs, WACC Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net)* | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Elementary Education Kits (EEE) | 120180.5499 | 269202.7691 | 8984.59 | 17073.91 | 53863.9987 | 389383.3189 | 62848.5887 | 326534.7302 | 6.1956 | If Incentives>IMC for Direct Install Programs, IMC is set equal to Incentives.
Home Energy Jumpstart | 27359.0411 | 31906.4736 | 25429.24 | 19981.18 | 22518.3761 | 59265.5147 | 47947.6161 | 11317.8986 | 1.236
Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 1425401.5488 | 2001532.825 | 103939.7 | 236251.38 | 951388.7348 | 3426934.3738 | 1055328.4348 | 2371605.939 | 3.2473
Multi-Family - DI, Prescriptive, Custom, PTA | 126147.2205 | 149119.1396 | 42874.7661 | 55988.25 | 55988.25 | 275266.3601 | 98863.0161 | 176403.344 | 2.7843
Residential Subtotal | 1699088.3603 | 2451761.2073 | 181228.2961 | 329294.72 | 1083759.3596 | 4150849.5676 | 1264987.6557 | 2885861.9119 | 3.2813
C&I and PS Joint New Construction | 134102.8881 | 154679.866 | 11009.13 | 13944 | 93213.582 | 288782.7542 | 104222.712 | 184560.0422 | 2.7708 | Incentives are allocated by gross therms for all C&I and PS programs - overall IMC > Incentives
C&I and PS Retro-Commissioning | 16805.44 | 19383.4515 | 0 | 0 | 7207.312 | 36188.8915 | 7207.312 | 28981.5795 | 5.0211 | Incentives are allocated by gross therms for all C&I and PS programs - overall IMC > Incentives
C/I & PS Custom | 569017.6322 | 667707.2853 | 0 | 159527.74 | 159527.74 | 1236724.9176 | 159527.74 | 1077197.1776 | 7.7524 | Incentives are allocated by gross therms for all C&I and PS programs - overall IMC > Incentives
C/I & PS Prescriptive | 1824570.2346 | 2170123.062 | 441399.18 | 332594.4 | 1701651.8284 | 3994693.2965 | 2143051.0084 | 1851642.2881 | 1.864 | Incentives are allocated by gross therms for all C&I and PS programs - overall IMC > Incentives
C/I Gas Optimization | 0 | 0 | 0 | 20000 | 20000 | 0 | 20000 | -20000 | 0 | Incentives are allocated by gross therms for all C&I and PS programs - overall IMC > Incentives
Strategic Energy Management | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Incentives are allocated by gross therms for all C&I and PS programs - overall IMC > Incentives
Small Business | 644149.3393 | 764550.8126 | 206533.31 | 131331.38 | 131331.38 | 1408700.1519 | 337864.69 | 1070835.4619 | 4.1694 | Incentives are allocated by gross therms for all C&I and PS programs - overall IMC > Incentives
Total Business Sector | 3188645.5342 | 3776444.4775 | 658941.62 | 657397.52 | 2112931.8424 | 6965090.0116 | 2771873.4624 | 4193216.5492 | 2.5128
Community Joint Kits | 187087.2854 | 389882.9877 | 14087.81 | 29582.44 | 59698.8946 | 576970.2732 | 73786.7046 | 503183.5686 | 7.8194 | If Incentives>IMC for Income Eligible Programs, IMC is set equal to Incentives.
Single Family - IHWAP, Retrofits, HEA | 65175.3292 | 109911.6384 | 123518.24 | 99291.61 | 99291.61 | 175086.9677 | 222809.85 | -47722.8823 | 0.78581 | If Incentives>IMC for Income Eligible Programs, IMC is set equal to Incentives.
Public Housing Authority (PHES) | 0 | 0 | 587.8856 | 0 | 0 | 0 | 587.8856 | -587.8856 | 0
IE Elementary Education Kits (EEE) | 67609.5689 | 156932.6081 | 6511.7 | 10345.5 | 32575.0511 | 224542.177 | 39086.7511 | 185455.4259 | 5.7447 | If Incentives>IMC for Income Eligible Programs, IMC is set equal to Incentives.
Multi-Family - IHWAP, Retrofits, PTA | 3216426.6175 | 4081981.2254 | 349794.8788 | 708288.96 | 1694344.3572 | 7298407.8429 | 2044139.236 | 5254268.6069 | 3.5704
Income Eligible Total | 3536298.8011 | 4738708.4597 | 494500.5144 | 847508.51 | 1885909.9129 | 8275007.2608 | 2380410.4273 | 5894596.8334 | 3.4763
EEPS Portfolio Costs |  |  | 109249.94 |  |  | 0 | 109249.94 | -109249.94
EEPS Portfolio | 8424032.6956 | 10966914.1444 | 1443920.3705 | 1834200.75 | 5082601.1149 | 19390946.84 | 6526521.4854 | 12864425.3546 | 2.9711
EEPS Portfolio Without Income Eligible | 4887733.8945 | 6228205.6848 | 949419.8561 | 986692.24 | 3196691.202 | 11115939.5792 | 4146111.0581 | 6969828.5211 | 2.6811
* Excess Incentives are the amount that incentives are greater than estimated incremental measure costs, and if present, should be added to non-incentive costs. Since IMCs are estimated using TRM, planning, and secondary research, the IMC estimates may not include all relevant and up-to-date installation and equipment costs for some programs. After reviewing data, we set IMC equal to incentives for Income Eligible and Direct Installation Programs if incentives were greater than the initial IMC estimate. Incentives are allocated to C&I and Public Sector programs by gross therms and some programs appear to have excess incentives, however overall IMCs are greater than overall incentives for C&I and PS programs prior to allocating.
|  |  |  | 3278121.1205 | Summary
|  |  |  | 3278121.1205 | Crosscheck

## NSG 2023 High Impact Measures
NSG 2023 High Impact Measure Summary
Sector | Measure Name (Standardized) | Verified Gross Therms | Verified Gross Lifetime Savings | Measure Life (Years) | Rank | Share of Portfolio Gross | Cumulative Gross
Business | Steam Trap Replacement or Repair | 683235.3 | 4099411.8 | 6 | 1 | 31.12% | 31.12%
Income Eligible | Air Sealing | 440429.07 | 8720838.26 | 19.8008 | 2 | 20.06% | 51.18%
Business | Process Boiler Tune-up | 298645.11 | 598578.87 | 2.0043 | 3 | 13.6% | 64.79%
Business | Custom | 163930.11 | 2585695.098 | 15.7732 | 4 | 7.467% | 72.25%
Residential | Gas High Efficiency Furnace | 146480.28 | 2847576.6432 | 19.44 | 5 | 6.672% | 78.92%
Residential | Advanced Thermostats | 116192.67 | 1278119.37 | 11 | 6 | 5.292% | 84.22%
Business | Stack Economizer for Boilers Serving HVAC Loads | 77003.55 | 1155053.25 | 15 | 7 | 3.507% | 87.72%
Residential | Space Heating Boiler Tune-up | 47231.1 | 141693.3 | 3 | 8 | 2.151% | 89.88%
Income Eligible | Low Flow Showerheads | 27312.78 | 273055.56 | 9.9974 | 9 | 1.244% | 91.12%
Business | Gas High Efficiency Boiler | 20138.33 | 503458.25 | 25 | 10 | 0.9173% | 92.04%
Residential | Air Sealing | 19072.66 | 371811.08 | 19.4945 | 11 | 0.8687% | 92.91%
Business | Pipe Insulation | 15722.75 | 235841.25 | 15 | 12 | 0.7162% | 93.62%
Income Eligible | Shower Timer | 12688.66 | 25377.32 | 2 | 13 | 0.578% | 94.2%
Residential | Ceiling/Attic Insulation | 12340.32 | 246806.4 | 20 | 14 | 0.5621% | 94.76%
Residential | Pipe Insulation | 11288.88 | 169333.2 | 15 | 15 | 0.5142% | 95.28%
Business | Space Heating Boiler Tune-up | 10375.3 | 31125.9 | 3 | 16 | 0.4726% | 95.75%
Business | Gas Water Heater | 8119.21 | 121788.15 | 15 | 17 | 0.3698% | 96.12%
Income Eligible | Low Flow Aerators | 7854.39 | 78543.9 | 10 | 18 | 0.3578% | 96.48%
Business | Linkageless Controls | 7021.19 | 93416.84 | 13.305 | 19 | 0.3198% | 96.8%
Income Eligible | Advanced Thermostats | 6463.15 | 71094.65 | 11 | 20 | 0.2944% | 97.09%
Residential | Shower Timer | 5169.65 | 10339.3 | 2 | 21 | 0.2355% | 97.33%
Business | ENERGY STAR Fryer | 5124.63 | 61495.56 | 12 | 22 | 0.2334% | 97.56%
Residential | Duct Insulation and Sealing | 4679.72 | 93594.4 | 20 | 23 | 0.2132% | 97.77%
Business | Kitchen Demand Ventilation Controls | 4644 | 92880 | 20 | 24 | 0.2115% | 97.98%
Residential | Low Flow Showerheads | 4613.62 | 46136.2 | 10 | 25 | 0.2101% | 98.19%
Residential | DHW Controller | 4389 | 65835 | 15 | 26 | 0.1999% | 98.39%
Residential | Gas High Efficiency Boiler | 3736.63 | 83574.2034 | 22.3662 | 27 | 0.1702% | 98.56%
Income Eligible | Ceiling/Attic Insulation | 3447.76 | 68955.2 | 20 | 28 | 0.157% | 98.72%
Income Eligible | Pipe Insulation | 3296.87 | 49453.05 | 15 | 29 | 0.1502% | 98.87%
Income Eligible | Space Heating Boiler Tune-up | 2952.31 | 8856.93 | 3 | 30 | 0.1345% | 99.01%
Residential | Programmable Thermostats | 1989.87 | 16078.1496 | 8.08 | 31 | 0.09064% | 99.1%
Business | Double Rack Oven | 1930.5 | 23166 | 12 | 32 | 0.08793% | 99.18%
Residential | Low Flow Aerators | 1883.85 | 18838.5 | 10 | 33 | 0.08581% | 99.27%
Residential | Tankless Water Heater | 1811.16 | 21426.0228 | 11.83 | 34 | 0.0825% | 99.35%
Business | Gas High Efficiency Furnace | 1395.56 | 23026.74 | 16.5 | 35 | 0.06357% | 99.42%
Income Eligible | Programmable Thermostats | 1214.64 | 9814.2912 | 8.08 | 36 | 0.05533% | 99.47%
Residential | Domestic Hot Water Pipe Insulation | 1066.78 | 16001.7 | 15 | 37 | 0.04859% | 99.52%
Income Eligible | AC Cover and Gap Sealer | 912 | 4560 | 5 | 38 | 0.04154% | 99.56%
Income Eligible | Boiler Lockout/Reset Controls | 872.47 | 13959.52 | 16 | 39 | 0.03974% | 99.6%
Business | Combination Oven | 868.83 | 10425.96 | 12 | 40 | 0.03957% | 99.64%
Residential | Air Handler Filter Replacement | 728.77 | 2186.31 | 3 | 41 | 0.03319% | 99.67%
Income Eligible | Domestic Hot Water Pipe Insulation | 625.7 | 9385.5 | 15 | 42 | 0.0285% | 99.7%
Residential | Water Heater Temperature Setback | 622.06 | 1244.12 | 2 | 43 | 0.02833% | 99.73%
Residential | Steam Trap Replacement or Repair | 549.79 | 10995.8 | 20 | 44 | 0.02504% | 99.76%
Business | Boiler Lockout/Reset Controls | 518.7 | 7780.5 | 15 | 45 | 0.02363% | 99.78%
Income Eligible | Low Flow Faucet Aerators | 515.86 | 5158.6 | 10 | 46 | 0.0235% | 99.8%
Income Eligible | Duct Sealing | 451.18 | 9023.6 | 20 | 47 | 0.02055% | 99.82%
Income Eligible | Air Handler Filter Replacement | 446.82 | 1340.46 | 3 | 48 | 0.02035% | 99.84%
Income Eligible | Wall Insulation | 380.35 | 7607 | 20 | 49 | 0.01732% | 99.86%
Income Eligible | Water Heater Temperature Setback | 376.2 | 752.4 | 2 | 50 | 0.01714% | 99.88%
Business | Dishwasher | 339 | 4861.26 | 14.34 | 51 | 0.01544% | 99.89%
Business | Low Flow Aerators | 327.53 | 3275.3 | 10 | 52 | 0.01492% | 99.91%
Business | DHW Tank Insulation | 309.19 | 4637.85 | 15 | 53 | 0.01408% | 99.92%
Business | Griddle | 297.77 | 3573.24 | 12 | 54 | 0.01356% | 99.94%
Residential | Reprogrammable Thermostats | 249.24 | 498.48 | 2 | 55 | 0.01135% | 99.95%
Business | Convection Oven | 209.35 | 2512.2 | 12 | 56 | 0.009536% | 99.96%
Income Eligible | Basement Sidewall Insulation | 200.09 | 4001.8 | 20 | 57 | 0.009114% | 99.97%
Income Eligible | Reprogrammable Thermostats | 186.93 | 373.86 | 2 | 58 | 0.008515% | 99.98%
Income Eligible | Residential Furnace Tune-Up | 131.16 | 393.48 | 3 | 59 | 0.005974% | 99.98%
Residential | Gas Water Heater | 130.34 | 1213.5064 | 9.3103 | 60 | 0.005937% | 99.99%
Business | High Efficiency Pre-Rinse Spray Valve | 102.33 | 511.65 | 5 | 61 | 0.004661% | 99.99%
Income Eligible | Floor Insulation | 98.89 | 1977.8 | 20 | 62 | 0.004504% | 100%
Residential | Wall Insulation | 48.05 | 961 | 20 | 63 | 0.002189% | 100%
Income Eligible | Gas Water Heater | 35.31 | 459.03 | 13 | 64 | 0.001608% | 100%
|  | 2195425.27 | 24471760.5645 | 11.1467

## NSG 2023 TRC wo NEI
Total Resource Cost Test (TRC) Results for NSG, 2023 Programs, WACC Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | Only Measure NEI Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net)* | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Elementary Education Kits (EEE) | 120180.5499 | 129849.4583 | 8984.59 | 17073.91 | 53863.9987 | 250030.0081 | 62848.5887 | 187181.4194 | 3.9783 | 0.40692 | If Incentives>IMC for Direct Install Programs, IMC is set equal to Incentives.
Home Energy Jumpstart | 27359.0411 | 0 | 25429.24 | 19981.18 | 22518.3761 | 27359.0411 | 47947.6161 | -20588.575 | 0.5706 | 0.17012
Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 1425401.5488 | 350367.7447 | 103939.7 | 236251.38 | 951388.7348 | 1775769.2935 | 1055328.4348 | 720440.8587 | 1.6827 | 7.1873
Multi-Family - DI, Prescriptive, Custom, PTA | 126147.2205 | 0 | 42874.7661 | 55988.25 | 55988.25 | 126147.2205 | 98863.0161 | 27284.2044 | 1.276 | 0.42297
Residential Subtotal | 1699088.3603 | 480217.2029 | 181228.2961 | 329294.72 | 1083759.3596 | 2179305.5632 | 1264987.6557 | 914317.9075 | 1.7228 | 1
C&I and PS Joint New Construction | 134102.8881 | 0 | 11009.13 | 13944 | 93213.582 | 134102.8881 | 104222.712 | 29880.1761 | 1.2867 | 0.04704 | Incentives are allocated by gross therms for all C&I and PS programs - overall IMC > Incentives
C&I and PS Retro-Commissioning | 16805.44 | 0 | 0 | 0 | 7207.312 | 16805.44 | 7207.312 | 9598.128 | 2.3317 | 0.0036371 | Incentives are allocated by gross therms for all C&I and PS programs - overall IMC > Incentives
C/I & PS Custom | 569017.6322 | 0 | 0 | 159527.74 | 159527.74 | 569017.6322 | 159527.74 | 409489.8922 | 3.5669 | 0.080504 | Incentives are allocated by gross therms for all C&I and PS programs - overall IMC > Incentives
C/I & PS Prescriptive | 1824570.2346 | 44247.7555 | 441399.18 | 332594.4 | 1701651.8284 | 1868817.99 | 2143051.0084 | -274233.0183 | 0.87204 | 0.85873 | Incentives are allocated by gross therms for all C&I and PS programs - overall IMC > Incentives
C/I Gas Optimization | 0 | 0 | 0 | 20000 | 20000 | 0 | 20000 | -20000 | 0 | 0.010093 | Incentives are allocated by gross therms for all C&I and PS programs - overall IMC > Incentives
Strategic Energy Management | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Incentives are allocated by gross therms for all C&I and PS programs - overall IMC > Incentives
Small Business | 644149.3393 | 18496.7174 | 206533.31 | 131331.38 | 131331.38 | 662646.0567 | 337864.69 | 324781.3667 | 1.9613 | 0.062156 | Incentives are allocated by gross therms for all C&I and PS programs - overall IMC > Incentives
Total Business Sector | 3188645.5342 | 62744.4729 | 658941.62 | 657397.52 | 2112931.8424 | 3251390.0071 | 2771873.4624 | 479516.5447 | 1.173 | 1
Community Joint Kits | 187087.2854 | 173067.0011 | 14087.81 | 29582.44 | 59698.8946 | 360154.2865 | 73786.7046 | 286367.5819 | 4.881 | 0.031655 | If Incentives>IMC for Income Eligible Programs, IMC is set equal to Incentives.
Single Family - IHWAP, Retrofits, HEA | 65175.3292 | 34215.9673 | 123518.24 | 99291.61 | 99291.61 | 99391.2966 | 222809.85 | -123418.5534 | 0.44608 | 0.052649 | If Incentives>IMC for Income Eligible Programs, IMC is set equal to Incentives.
Public Housing Authority (PHES) | 0 | 0 | 587.8856 | 0 | 0 | 0 | 587.8856 | -587.8856 | 0 | 0
IE Elementary Education Kits (EEE) | 67609.5689 | 78528.3834 | 6511.7 | 10345.5 | 32575.0511 | 146137.9524 | 39086.7511 | 107051.2012 | 3.7388 | 0.017273 | If Incentives>IMC for Income Eligible Programs, IMC is set equal to Incentives.
Multi-Family - IHWAP, Retrofits, PTA | 3216426.6175 | 357203.575 | 349794.8788 | 708288.96 | 1694344.3572 | 3573630.1926 | 2044139.236 | 1529490.9566 | 1.7482
Income Eligible Total | 3536298.8011 | 643014.9269 | 494500.5144 | 847508.51 | 1885909.9129 | 4179313.728 | 2380410.4273 | 1798903.3006 | 1.7557 | 1
EEPS Portfolio Costs |  |  | 109249.94 |  |  | 0 | 109249.94 | -109249.94
EEPS Portfolio | 8424032.6956 | 1185976.6027 | 1443920.3705 | 1834200.75 | 5082601.1149 | 9610009.2983 | 6526521.4854 | 3083487.8128 | 1.4725
EEPS Portfolio Without Income Eligible | 4887733.8945 | 542961.6758 | 949419.8561 | 986692.24 | 3196691.202 | 5430695.5703 | 4146111.0581 | 1284584.5122 | 1.3098
* Excess Incentives are the amount that incentives are greater than estimated incremental measure costs, and if present, should be added to non-incentive costs. Since IMCs are estimated using TRM, planning, and secondary research, the IMC estimates may not include all relevant and up-to-date installation and equipment costs for some programs. After reviewing data, we set IMC equal to incentives for Income Eligible and Direct Installation Programs if incentives were greater than the initial IMC estimate. Incentives are allocated to C&I and Public Sector programs by gross therms and some programs appear to have excess incentives, however overall IMCs are greater than overall incentives for C&I and PS programs prior to allocating.
|  |  |  | 3278121.1205 | Summary
|  |  |  | 3278121.1205 | Crosscheck

## NSG 2023 PACT
Program Administrator Cost Test (PACT) Results for nsg, 2023 Programs, WACC Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | Only Measure NEI Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+e) | (g-h) | (g/h)
Elementary Education Kits (EEE) | 87984.8409 | 111619.6355 | 8984.59 | 17073.91 | 53863.9987 | 199604.4764 | 26058.5 | 173545.9764 | 7.6599
Home Energy Jumpstart | 22279.567 | 0 | 25429.24 | 19981.18 | 22518.3761 | 22279.567 | 45410.42 | -23130.853 | 0.49063
Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 1050340.7174 | 289605.2975 | 103939.7 | 236251.38 | 971719.7332 | 1339946.0149 | 340191.08 | 999754.9349 | 3.9388
Multi-Family - DI, Prescriptive, Custom, PTA | 104739.4735 | 0 | 42874.7661 | 55988.25 | 55988.25 | 104739.4735 | 98863.0161 | 5876.4574 | 1.0594
Residential Subtotal | 1265344.5988 | 401224.933 | 181228.2961 | 329294.72 | 1104090.358 | 1666569.5318 | 510523.0161 | 1156046.5157 | 3.2644
C&I and PS Joint New Construction | 92757.5843 | 0 | 11009.13 | 13944 | 93213.582 | 92757.5843 | 24953.13 | 67804.4543 | 3.7173
C&I and PS Retro-Commissioning | 14388.2608 | 0 | 0 | 0 | 7207.312 | 14388.2608 | 0 | 14388.2608 | 0
C/I & PS Custom | 433248.2031 | 0 | 0 | 159527.74 | 159527.74 | 433248.2031 | 159527.74 | 273720.4631 | 2.7158
C/I & PS Prescriptive | 1572693.5515 | 39132.5882 | 441399.18 | 332594.4 | 1701651.8284 | 1611826.1397 | 773993.58 | 837832.5597 | 2.0825
C/I Gas Optimization | 0 | 0 | 0 | 20000 | 20000 | 0 | 20000 | -20000 | 0
Strategic Energy Management | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Small Business | 533060.2861 | 16738.5751 | 206533.31 | 131331.38 | 131331.38 | 549798.8612 | 337864.69 | 211934.1712 | 1.6273
Total Business Sector | 2646147.8857 | 55871.1634 | 658941.62 | 657397.52 | 2112931.8424 | 2702019.0491 | 1316339.14 | 1385679.9091 | 2.0527
Community Joint Kits | 136129.5882 | 147202.9977 | 14087.81 | 29582.44 | 59698.8946 | 283332.5859 | 43670.25 | 239662.3359 | 6.488
Single Family - IHWAP, Retrofits, HEA | 50288.8666 | 28672.7545 | 123518.24 | 99291.61 | 99291.61 | 78961.6211 | 222809.85 | -143848.2289 | 0.35439
Public Housing Authority (PHES) | 0 | 0 | 587.8856 | 0 | 0 | 0 | 587.8856 | -587.8856 | 0
IE Elementary Education Kits (EEE) | 49666.6607 | 67503.6281 | 6511.7 | 10345.5 | 32575.0511 | 117170.2888 | 16857.2 | 100313.0888 | 6.9508
Multi-Family - IHWAP, Retrofits, PTA | 2263503.5972 | 301513.855 | 349794.8788 | 708288.96 | 1694344.3572 | 2565017.4522 | 1058083.8388 | 1506933.6134 | 2.4242
Income Eligible Total | 2499588.7127 | 544893.2352 | 494500.5144 | 847508.51 | 1885909.9129 | 3044481.948 | 1342009.0244 | 1702472.9236 | 2.2686
EEPS Portfolio Costs |  |  | 109249.94 |  |  | 0 | 109249.94 | -109249.94
EEPS Portfolio | 6411081.1973 | 1001989.3316 | 1443920.3705 | 1834200.75 | 5102932.1133 | 7413070.5288 | 3278121.1205 | 4134949.4083 | 2.2614
EEPS Portfolio Without Income Eligible | 3911492.4846 | 457096.0963 | 949419.8561 | 986692.24 | 3217022.2004 | 4368588.5809 | 1936112.0961 | 2432476.4848 | 2.2564
|  |  |  | 3278121.1205 | Summary
|  |  |  | 3278121.1205 | Crosscheck

## NSG 2023 PACT wo NEI
Program Administrator Cost Test (PACT) Results for nsg, 2023 Programs, WACC Discount Rate, Plan 4 Avoided Cost
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | No Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b) | (d+e) | (g-h) | (g/h)
Elementary Education Kits (EEE) | 87984.8409 |  | 8984.59 | 17073.91 | 53863.9987 | 87984.8409 | 26058.5 | 61926.3409 | 3.3764
Home Energy Jumpstart | 22279.567 |  | 25429.24 | 19981.18 | 22518.3761 | 22279.567 | 45410.42 | -23130.853 | 0.49063
Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 1050340.7174 |  | 103939.7 | 236251.38 | 971719.7332 | 1050340.7174 | 340191.08 | 710149.6374 | 3.0875
Multi-Family - DI, Prescriptive, Custom, PTA | 104739.4735 |  | 42874.7661 | 55988.25 | 55988.25 | 104739.4735 | 98863.0161 | 5876.4574 | 1.0594
Residential Subtotal | 1265344.5988 | 0 | 181228.2961 | 329294.72 | 1104090.358 | 1265344.5988 | 510523.0161 | 754821.5827 | 2.4785
C&I and PS Joint New Construction | 92757.5843 |  | 11009.13 | 13944 | 93213.582 | 92757.5843 | 24953.13 | 67804.4543 | 3.7173
C&I and PS Retro-Commissioning | 14388.2608 |  | 0 | 0 | 7207.312 | 14388.2608 | 0 | 14388.2608 | 0
C/I & PS Custom | 433248.2031 |  | 0 | 159527.74 | 159527.74 | 433248.2031 | 159527.74 | 273720.4631 | 2.7158
C/I & PS Prescriptive | 1572693.5515 |  | 441399.18 | 332594.4 | 1701651.8284 | 1572693.5515 | 773993.58 | 798699.9715 | 2.0319
C/I Gas Optimization | 0 |  | 0 | 20000 | 20000 | 0 | 20000 | -20000 | 0
Strategic Energy Management | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Small Business | 533060.2861 |  | 206533.31 | 131331.38 | 131331.38 | 533060.2861 | 337864.69 | 195195.5961 | 1.5777
Total Business Sector | 2646147.8857 | 0 | 658941.62 | 657397.52 | 2112931.8424 | 2646147.8857 | 1316339.14 | 1329808.7457 | 2.0102
Community Joint Kits | 136129.5882 |  | 14087.81 | 29582.44 | 59698.8946 | 136129.5882 | 43670.25 | 92459.3382 | 3.1172
Single Family - IHWAP, Retrofits, HEA | 50288.8666 |  | 123518.24 | 99291.61 | 99291.61 | 50288.8666 | 222809.85 | -172520.9834 | 0.2257
Public Housing Authority (PHES) | 0 |  | 587.8856 | 0 | 0 | 0 | 587.8856 | -587.8856 | 0
IE Elementary Education Kits (EEE) | 49666.6607 |  | 6511.7 | 10345.5 | 32575.0511 | 49666.6607 | 16857.2 | 32809.4607 | 2.9463
Multi-Family - IHWAP, Retrofits, PTA | 2263503.5972 |  | 349794.8788 | 708288.96 | 1694344.3572 | 2263503.5972 | 1058083.8388 | 1205419.7584 | 2.1392
Income Eligible Total | 2499588.7127 | 0 | 494500.5144 | 847508.51 | 1885909.9129 | 2499588.7127 | 1342009.0244 | 1157579.6883 | 1.8626
EEPS Portfolio Costs |  |  | 109249.94 |  |  | 0 | 109249.94 | -109249.94
EEPS Portfolio | 6411081.1973 | 0 | 1443920.3705 | 1834200.75 | 5102932.1133 | 6411081.1973 | 3278121.1205 | 3132960.0768 | 1.9557
EEPS Portfolio Without Income Eligible | 3911492.4846 | 0 | 949419.8561 | 986692.24 | 3217022.2004 | 3911492.4846 | 1936112.0961 | 1975380.3885 | 2.0203
|  |  |  | 3278121.1205 | Summary
|  |  |  | 3278121.1205 | Crosscheck

## Other Benefits Details
ALL OTHER BENEFITS DETAILS
Program | NEBs (AQB) | Avoided Water Savings | Avoided Env. Adder Costs | Avoided Electric Savings | Other Benefits (NEBs, Water, Env., Elec) | Without NEI Benefits (excl. Env. & AQB)
Elementary Education Kits (EEE) | 37421.7543 | 129849.4583 | 101931.5565 | 0 | 269202.7691 | 129849.4583
Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 448915.9938 | 0 | 1202249.0865 | 350367.7447 | 2001532.825 | 350367.7447
Multi-Family - DI, Prescriptive, Custom, PTA | 46026.4149 | 0 | 103092.7248 | 0 | 149119.1396 | 0
Home Energy Jumpstart | 9760.7496 | 0 | 22145.724 | 0 | 31906.4736 | 0
Residential Subtotal | 542124.9126 | 129849.4583 | 1429419.0918 | 350367.7447 | 2451761.2073 | 480217.2029
C/I & PS Prescriptive | 668234.9862 | 44247.7555 | 1457640.3202 | 0 | 2170123.062 | 44247.7555
C/I & PS Custom | 195549.4102 | 0 | 472157.8751 | 0 | 667707.2853 | 0
C/I Gas Optimization | 0 | 0 | 0 | 0 | 0 | 0
C&I and PS Joint New Construction | 38636.3148 | 0 | 116043.5513 | 0 | 154679.866 | 0
C&I and PS Retro-Commissioning | 6134.0252 | 0 | 13249.4263 | 0 | 19383.4515 | 0
Strategic Energy Management | 0 | 0 | 0 | 0 | 0 | 0
Small Business | 225490.8672 | 18496.7174 | 520563.228 | 0 | 764550.8126 | 18496.7174
Total Business Sector | 1134045.6036 | 62744.4729 | 2579654.401 | 0 | 3776444.4775 | 62744.4729
Community Joint Kits | 57862.9304 | 173067.0011 | 158953.0563 | 0 | 389882.9877 | 173067.0011
Multi-Family - IHWAP, Retrofits, PTA, Public Housing | 21129.5655 | 78528.3834 | 57274.6592 | 0 | 156932.6081 | 78528.3834
Public Housing Authority (PHES) | 960426.4726 | 357203.575 | 2764351.1778 | 0 | 4081981.2254 | 357203.575
Single Family - IHWAP, Retrofits, HEA | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible Total | 21738.7576 | 34215.9673 | 53956.9135 | 0 | 109911.6384 | 34215.9673
Market Development Initiative | 1061157.7261 | 643014.9269 | 3034535.8067 | 0 | 4738708.4597 | 643014.9269
EEPS Portfolio | 2737328.2423 | 835608.858 | 7043609.2995 | 350367.7447 | 10966914.1444 | 1185976.6027
EEPS Portfolio Without Income Eligible | 1676170.5162 | 192593.9312 | 4009073.4927 | 350367.7447 | 6228205.6848 | 542961.6758
Program | Verified Net Savings (Therms) | TRC Test (w/ NEI) | TRC Test (w/o NEI) | PACT Test (w/ NEI) | PACT Test (w/o NEI)
Elementary Education Kits (EEE) | 23815.08 | 6.1956 | 3.9783 | 7.6599 | 3.3764
Home Energy Jumpstart | 7541.16 | 1.236 | 0.5706 | 0.49063 | 0.49063
Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 237603.18 | 3.2473 | 1.6827 | 3.9388 | 3.0875
Multi-Family - DI, Prescriptive, Custom, PTA | 55064.09 | 2.7843 | 1.276 | 1.0594 | 1.0594
C&I and PS Joint New Construction | 17293.8 | 2.7708 | 1.2867 | 3.7173 | 3.7173
C&I and PS Retro-Commissioning | 5052.88 | 5.0211 | 2.3317 | 0 | 0
C/I & PS Custom | 99000.4 | 7.7524 | 3.5669 | 2.7158 | 2.7158
C/I & PS Prescriptive | 835996.33 | 1.864 | 0.87204 | 2.0825 | 2.0319
C/I Gas Optimization | 0 | 0 | 0 | 0 | 0
Strategic Energy Management | 0 | 0 | 0 | 0 | 0
Small Business | 206667.84 | 4.1694 | 1.9613 | 1.6273 | 1.5777
Community Joint Kits | 36637.58 | 7.8194 | 4.881 | 6.488 | 3.1172
Single Family - IHWAP, Retrofits, HEA | 13520.73 | 0.78581 | 0.44608 | 0.35439 | 0.2257
Public Housing Authority (PHES) | 0 | 0 | 0 | 0 | 0
IE Elementary Education Kits (EEE) | 13730.31 | 5.7447 | 3.7388 | 6.9508 | 2.9463
Multi-Family - IHWAP, Retrofits, PTA | 447003.97 | 3.5704 | 1.7482 | 2.4242 | 2.1392
Residential Total | 324023.51 | 3.2813 | 1.7228 | 3.2644 | 2.4785
Business and Public Sector Total | 1164011.25 | 2.5128 | 1.173 | 2.0527 | 2.0102
Income Eligible Total | 510892.59 | 3.4763 | 1.7557 | 2.2686 | 1.8626
Portfolio Total | 1998927.35 | 2.9711 | 1.4725 | 2.2614 | 1.9557
Portfolio Total, without Income Qualified (IE) | 1488034.76 | 2.6811 | 1.3098 | 2.2564 | 2.0203