## 2024 Verified Savings Summary
2024 Verified Savings Summary
| Ex Ante Gross | Realization Rate | Verified Gross |  | Deemed / Used | Verified Net |  |  |  | Program Costs |  | Other Energy Benefits |  | Participation |  | Verified Net Weighted Average Measure Life | GHG Savings |  | Water Savings |  | kWh Savings |  |  | Incremental Costs
| Annual Savings | Annual Savings (Verified Gross / Ex Ante Gross) | Annual Savings | Lifetime Savings | Net-to-Gross Ratio | Annual Savings | Lifetime Savings | Cost per Annual Savings | Cost per Lifetime Savings | Non-Incentives | Incentives | Energy Savings | Demand Reductions | # Units | Units Definition | Years | Annual Verified Net CO2 Savings | Lifetime Verified Net CO2 Savings | Annual Verified Net Water Savings | Lifetime Verified Net Water Savings | Annual Verified Net Electric Savings | Lifetime Verified Net Electric Savings | Gross IMC | Net IMC
| Therms | % | Therms | Therms | % | Therms | Therms | $/Therms | $/Therms | $ | $ | kWh | kW |  |  |  | metric tons CO2 | metric tons CO2 | Gallons | Gallons | kWh | kWh | $ | $
(a) | (b) | (c=d/b) | (d) | (e) | (f=g/d) | (g) | (h) | (i=(k+l)/g) | (j=(k+l)/h) | (k) | (l) |  |  | (m) | (n) | (q=h/g)
C&I and PS Joint New Construction | 74650 | 100.7% | 75187.42 | 1548860.73 | 44.86% | 33729.11 | 694819.66 | 0.46275 | 0.022463 | 0 | 15608 | 0 | 0 | 7 | Projects | 20.6 | 178.4607 | 3676.2908 | 0 | 0 | 0 | 0 | 519219.2643 | 234597.0877
C&I and PS Retro-Commissioning | 426621 | 100.4% | 428211.22 | 3682616.44 | 98% | 419646.99 | 3608964.12 | 0.50831 | 0.059106 | 0 | 213310 | 0 | 0 | 26 | Project | 8.6 | 2220.3522 | 19095.0292 | 0 | 0 | 0 | 0 | 213310 | 213310
C/I & PS Custom | 446755.53 | 100.8% | 450278.71 | 6872827.47 | 87.94% | 395967.04 | 6058152.45 | 2.1609 | 0.14124 | 0 | 855658.93 | 0 | 0 | 19 | Projects | 15.2996 | 2095.0616 | 32053.6846 | 0 | 0 | 0 | 0 | 855658.93 | 855658.93
C/I & PS Prescriptive | 2727994.31 | 99.91% | 2725532.76 | 16819694.75 | 95.22% | 2595217.06 | 16013303.36 | 1.6076 | 0.26054 | 2758153.06 | 1413990.22 | 4402.25 | 0 | 762324.8 | Projects | 6.1703 | 13731.2935 | 84726.3881 | 836274.6149 | 5017647.6892 | 4402.25 | 26413.5003 | 2276058.5 | 2187492.7222
C/I Gas Optimization | 5418 | 93.12% | 5045.14 | 75677.07 | 100% | 5045.14 | 75677.1 | 56.8369 | 3.7891 | 0 | 286750 | 0 | 0 | 1 | Projects | 15 | 26.6938 | 400.4075 | 0 | 0 | 0 | 0 | 286750 | 286750
Small and Midsize Business | 1281176 | 102.2% | 1309185 | 8513495 | 94.58% | 1238201 | 7999114 | 1.313 | 0.20324 | 1006295.82 | 619418.35 | 7504.0039 | 0 | 263045 | Projects | 6.4603 | 6551.3215 | 42323.3122 | 1425945.2172 | 8555671.3029 | 7504.0039 | 45024.0234 | 787961.0911 | 733920.2848
Community Joint Kits | 520992.28 | 100.1% | 521648.79 | 6947429.12 | 100% | 521648.79 | 6947429.05 | 1.1912 | 0.089441 | 115232.04 | 506149.54 | 212990.0404 | 0 | 323038 | Kits | 13.3182 | 2760.0437 | 36758.8471 | 42512982.1125 | 329986321.1892 | 212990.0404 | 1653231.4692 | 921103.3368 | 921103.3368
IE Elementary Education Kits (EEE) | 249193.14 | 100.4% | 250139.91 | 2387678.12 | 100% | 250139.91 | 2387678.11 | 1.4406 | 0.15092 | 161649.1 | 198699.06 | 90662.8936 | 0 | 109242 | Kits | 9.5454 | 1323.4903 | 12633.2049 | 18096385.9382 | 113039391.5421 | 90662.8936 | 566327.3516 | 451760.2839 | 451760.2839
Multi-Family - IHWAP, Retrofits, PTA, Public Housing | 1790976.14 | 100% | 1791811.81 | 25792535.72 | 100% | 1791811.81 | 25792535.77 | 4.4505 | 0.30918 | 2211476.07 | 5763062.3 | 114675.4755 | 0 | 1209138 | Projects | 14.3947 | 9480.4763 | 136468.3068 | 15486239.2606 | 117267490.7066 | 114675.4755 | 1143851.3804 | 5763062.3 | 5763062.3
Public Housing Energy Savings | 58845.97 | 100% | 58845.87 | 245678.57 | 100% | 58845.87 | 245678.54 | 8.6951 | 2.0827 | 75922.88 | 435749.16 | 1459.0501 | 0 | 2289 | Measure | 4.1749 | 311.3535 | 1299.8852 | 291227.5627 | 2122642.5467 | 1459.0501 | 10634.4392 | 435749.16 | 435749.16
Single Family - IHWAP, Retrofits, HEA | 349518.67 | 99.9% | 349154.06 | 6660848.78 | 100% | 349154.06 | 6660848.73 | 11.7783 | 0.61741 | 933720.07 | 3178727.57 | 11880.7191 | 0 | 720410 | Projects | 19.0771 | 1847.3741 | 35242.5506 | 2371401.0229 | 23714010.2288 | 11880.7191 | 118807.1912 | 3178727.57 | 3171641.095
Elementary Education Kits (EEE) | 137134.38 | 100.4% | 137667.06 | 1325224.83 | 108.3% | 149093.41 | 1435218.33 | 1.5068 | 0.15653 | 108768.06 | 115886.8 | 46461.671 | 0 | 56100 | Kits | 9.6263 | 788.8532 | 7593.7402 | 10043515.6215 | 62860137.2994 | 46461.671 | 290793.1959 | 218964.0282 | 237138.0403
Home Energy Jumpstart | 36182.42 | 99.98% | 36175.5 | 330729.97 | 110.1% | 39842.42 | 364611.81 | 4.46 | 0.48736 | 145220.38 | 32476.71 | 38325.9029 | 9.8206 | 4736 | Measure | 9.1513 | 210.8062 | 1929.1611 | 3445278.8885 | 34452788.8846 | 38325.9029 | 406962.2176 | 105494.6 | 116225.2072
Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 409319.58 | 100.1% | 409553.63 | 6378298.56 | 94.32% | 386302.5 | 5864941.2 | 2.5609 | 0.16868 | 638453.78 | 350846.19 | 366712.3587 | 88.9345 | 287873.8 | Projects | 15.1823 | 2043.9265 | 31031.4039 | 0 | 0 | 366712.3587 | 7349818.4917 | 1083539.55 | 867342.0486
Multi-Family - DI, Prescriptive, Custom, PTA | 854255.13 | 100% | 854254.8 | 7087672.37 | 95.81% | 818497.95 | 6782757.54 | 1.8999 | 0.22927 | 597687.86 | 957389.91 | 18104.4666 | 0 | 209546 | Projects | 8.2868 | 4330.6727 | 35887.5701 | 1492941.155 | 8957646.9302 | 18104.4666 | 201420.7198 | 957389.91 | 957389.91
Business | 4962614.84 | 100.6% | 4993440.25 | 37513171.46 | 89% | 4687806.34 | 34450030.69 | 1.5293 | 0.2081 | 3764448.88 | 3404735.5 | 11906.2539 | 0 | 1025422.8 |  | 7.3489 | 24803.1833 | 182275.1124 | 2262219.832 | 13573318.9921 | 11906.2539 | 71437.5237 | 4938957.7854 | 4511729.0247
Income Eligible | 2969526.2 | 100.1% | 2971600.44 | 42034170.31 | 100% | 2971600.44 | 42034170.2 | 4.5701 | 0.32308 | 3498000.16 | 10082387.63 | 431668.1786 | 0 | 2364117 |  | 14.1453 | 15722.7379 | 222402.7945 | 78758235.8968 | 586129856.2134 | 431668.1786 | 3492851.8316 | 10750402.6507 | 10743316.1757
Residential | 1436891.51 | 100.1% | 1437650.99 | 15121925.73 | 89% | 1393736.28 | 14447528.88 | 2.1143 | 0.20396 | 1490130.08 | 1456599.61 | 469604.3992 | 98.7551 | 558255.8 |  | 10.366 | 7374.2587 | 76441.8753 | 14981735.665 | 106270573.1142 | 469604.3992 | 8248994.6251 | 2365388.0882 | 2178095.2061
Market Transformation & SEM | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1082732 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
Portfolio Total | 9369032.55 | 100.4% | 9402691.68 | 94669267.5 | 92% | 9053143.06 | 90931729.77 | 2.7371 | 0.2725 | 9835311.12 | 14943722.74 | 913178.8318 | 98.7551 | 3947795.6 |  | 10.0442 | 47900.1799 | 481119.7822 | 96002191.3938 | 705973748.3197 | 913178.8318 | 11813283.9804 | 18054748.5243 | 17433140.4065

## 2024 High Impact Measures
PGL 2024 High Impact Measure Summary
Sector | Measure Name (Standardized) | Verified Gross Therms | Verified Gross Lifetime Savings | Measure Life (Years) | Rank | Share of Portfolio Gross | Cumulative Gross
Business | Steam Trap Replacement or Repair | 3104957.82 | 17771044.68 | 5.7234 | 1 | 33.02% | 33.02%
Income Eligible | Ceiling/Attic Insulation | 705478.74 | 14662289.1 | 20.7835 | 2 | 7.503% | 40.52%
Residential | Steam Trap Replacement or Repair | 630157.13 | 4099092.16 | 6.5049 | 3 | 6.702% | 47.23%
Business | Custom | 592017.27 | 6904465.21 | 11.6626 | 4 | 6.296% | 53.52%
Income Eligible | Air Sealing | 470025.07 | 9400501.4 | 20 | 5 | 4.999% | 58.52%
Income Eligible | Steam Trap Replacement or Repair | 442357.83 | 3887390.74 | 8.7879 | 6 | 4.705% | 63.23%
Business | RCx Project | 428211.22 | 3608964.12 | 8.428 | 7 | 4.554% | 67.78%
Business | Process Boiler Tune-up | 298655.09 | 572128.86 | 1.9157 | 8 | 3.176% | 70.96%
Income Eligible | Pipe Insulation | 294196.39 | 4412945.85 | 15 | 9 | 3.129% | 74.09%
Residential | Advanced Thermostats | 225843.39 | 2545982.23 | 11.2732 | 10 | 2.402% | 76.49%
Income Eligible | Low Flow Showerheads | 186536.63 | 1865366.3 | 10 | 11 | 1.984% | 78.47%
Business | Space Heating Boiler Tune-up | 185473.38 | 528368.25 | 2.8488 | 12 | 1.973% | 80.44%
Income Eligible | Window Insulation Kit | 160731.38 | 160731.38 | 1 | 13 | 1.709% | 82.15%
Residential | Gas High Efficiency Furnace | 149449.12 | 2492499.4 | 16.6779 | 14 | 1.589% | 83.74%
Income Eligible | DHW Controller | 132171.6 | 1982574 | 15 | 15 | 1.406% | 85.15%
Business | Ozone Laundry | 113214 | 1000839 | 8.8402 | 16 | 1.204% | 86.35%
Income Eligible | Space Heating Boiler Tune-up | 112300.04 | 336900.12 | 3 | 17 | 1.194% | 87.55%
Income Eligible | Shower Timer | 99766.23 | 199532.46 | 2 | 18 | 1.061% | 88.61%
Residential | Pipe Insulation | 84347.17 | 1211404.05 | 14.3621 | 19 | 0.8971% | 89.51%
Business | Linkageless Controls | 70498.92 | 1234151.4 | 17.506 | 20 | 0.7498% | 90.25%
Residential | Space Heating Boiler Tune-up | 65805.71 | 187848.84 | 2.8546 | 21 | 0.6999% | 90.95%
Business | Pipe Insulation | 65384.34 | 928147.2 | 14.1953 | 22 | 0.6954% | 91.65%
Income Eligible | Advanced Thermostat | 60795.51 | 668750.61 | 11 | 23 | 0.6466% | 92.3%
Business | ENERGY STAR Fryer | 56959 | 580548 | 10.1924 | 24 | 0.6058% | 92.9%
Residential | Air Sealing | 53019.31 | 1040034.12 | 19.6161 | 25 | 0.5639% | 93.47%
Income Eligible | Wall Insulation | 44658.93 | 1335086.3 | 29.8952 | 26 | 0.475% | 93.94%
Residential | Low Flow Showerheads | 38000.61 | 419463.2 | 11.0383 | 27 | 0.4041% | 94.35%
Residential | Window Insulation Kit | 37595.02 | 40715.41 | 1.083 | 28 | 0.3998% | 94.75%
Residential | DHW Controller | 36742.2 | 525251.85 | 14.2956 | 29 | 0.3908% | 95.14%
Income Eligible | Low Flow Aerators | 35602.09 | 356020.9 | 10 | 30 | 0.3786% | 95.51%
Income Eligible | Gas High Efficiency Boiler | 31782.88 | 794572 | 25 | 31 | 0.338% | 95.85%
Business | Gas High Efficiency Boiler | 31067.53 | 739320.5 | 23.7972 | 32 | 0.3304% | 96.18%
Residential | Gas High Efficiency Boiler | 28115.35 | 616441.15 | 21.9254 | 33 | 0.299% | 96.48%
Income Eligible | Low Flow Faucet Aerators | 25876.45 | 258764.5 | 10 | 34 | 0.2752% | 96.76%
Income Eligible | AC Cover and Gap Sealer | 25216.01 | 126080.05 | 5 | 35 | 0.2682% | 97.03%
Income Eligible | Programmable Thermostat | 23181.55 | 370904.8 | 16 | 36 | 0.2465% | 97.27%
Income Eligible | Furnace Tune Up | 19412.09 | 58236.27 | 3 | 37 | 0.2065% | 97.48%
Residential | Shower Timer | 16871.23 | 36543.08 | 2.166 | 38 | 0.1794% | 97.66%
Business | Boiler Lockout/Reset Controls | 13665.44 | 208888.9 | 15.2859 | 39 | 0.1453% | 97.8%
Residential | Linkageless Controls | 12623.6 | 237881.6 | 18.8442 | 40 | 0.1343% | 97.94%
Income Eligible | Air Handler Filter Replacement | 12530.74 | 37592.22 | 3 | 41 | 0.1333% | 98.07%
Residential | Attic Insulation | 12356.83 | 361606.8 | 29.2637 | 42 | 0.1314% | 98.2%
Residential | Low Flow Aerators | 12231.55 | 135878.7 | 11.1089 | 43 | 0.1301% | 98.33%
Income Eligible | Gas High Efficiency Furnace | 12068.37 | 241367.4 | 20 | 44 | 0.1284% | 98.46%
Income Eligible | Re-programmable Thermostat | 11522.7 | 23045.4 | 2 | 45 | 0.1225% | 98.58%
Income Eligible | Programmable Thermostats | 10975.91 | 175614.56 | 16 | 46 | 0.1167% | 98.7%
Income Eligible | Domestic Hot Water Pipe Insulation | 8903.4 | 133551 | 15 | 47 | 0.09469% | 98.79%
Residential | Programmable Thermostats | 8646.99 | 84429.28 | 9.764 | 48 | 0.09196% | 98.89%
Business | Griddle | 7984 | 78780 | 9.8672 | 49 | 0.08491% | 98.97%
Income Eligible | Duct Sealing | 7000.81 | 140016.2 | 20 | 50 | 0.07446% | 99.05%
Residential | Gas Water Heater | 6591.53 | 78069.19 | 11.8439 | 51 | 0.0701% | 99.12%
Residential | Air Sealing w Attic Insulation | 6144.21 | 121246.4 | 19.7334 | 52 | 0.06535% | 99.18%
Income Eligible | Custom | 5399.55 | 93727.85 | 17.3585 | 53 | 0.05743% | 99.24%
Business | Combination Oven | 4851 | 46572 | 9.6005 | 54 | 0.05159% | 99.29%
Income Eligible | Residential Furnace Tune-Up | 4818.64 | 14455.92 | 3 | 55 | 0.05125% | 99.34%
Income Eligible | Boiler Lockout/Reset Controls | 4380.87 | 70093.92 | 16 | 56 | 0.04659% | 99.39%
Business | Water Heater | 4148 | 60165 | 14.5046 | 57 | 0.04412% | 99.43%
Residential | Boiler Lockout/Reset Controls | 3942.55 | 55821.45 | 14.1587 | 58 | 0.04193% | 99.47%
Business | Demand Controlled Ventilation | 3845.36 | 51563.6 | 13.4093 | 59 | 0.0409% | 99.52%
Income Eligible | DHW Tune Up | 3722 | 11166 | 3 | 60 | 0.03958% | 99.55%
Income Eligible | Water Heater Temperature Setback | 3613.76 | 7227.52 | 2 | 61 | 0.03843% | 99.59%
Business | Conveyor Oven | 3538 | 33972 | 9.602 | 62 | 0.03763% | 99.63%
Residential | Duct Sealing | 3382.15 | 65611.8 | 19.3994 | 63 | 0.03597% | 99.67%
Income Eligible | Reprogrammable Thermostats | 3197.98 | 6395.96 | 2 | 64 | 0.03401% | 99.7%
Income Eligible | Tankless Water Heater | 2705.09 | 54101.8 | 20 | 65 | 0.02877% | 99.73%
Residential | Domestic Hot Water Pipe Insulation | 2413 | 39014.1 | 16.1683 | 66 | 0.02566% | 99.76%
Income Eligible | Storage Water | 1731.9 | 23034.27 | 13.3 | 67 | 0.01842% | 99.77%
Business | Gas Water Heater | 1659.67 | 23629.5 | 14.2375 | 68 | 0.01765% | 99.79%
Income Eligible | Furnace Filter | 1608 | 4824 | 3 | 69 | 0.0171% | 99.81%
Income Eligible | Gas Water Heater | 1605.78 | 24187.65 | 15.0629 | 70 | 0.01708% | 99.83%
Business | Commercial Steam Cooker | 1535 | 14736 | 9.6 | 71 | 0.01633% | 99.84%
Business | Pasta Cooker | 1380 | 13248 | 9.6 | 72 | 0.01468% | 99.86%
Income Eligible | Floor Insulation | 1258.44 | 37753.2 | 30 | 73 | 0.01338% | 99.87%
Income Eligible | Boiler Tune | 1217.82 | 3653.46 | 3 | 74 | 0.01295% | 99.88%
Residential | Water Heater Temperature Setback | 1122.2 | 2430.68 | 2.166 | 75 | 0.01193% | 99.89%
Income Eligible | Shower Flow Reducer | 1018.41 | 10184.1 | 10 | 76 | 0.01083% | 99.91%
Income Eligible | Basement Sidewall Insulation | 989.2 | 29676 | 30 | 77 | 0.01052% | 99.92%
Business | Dock Door Seals and Shelter | 939.79 | 14096.85 | 15 | 78 | 0.009995% | 99.93%
Business | Convection Oven | 916 | 10488 | 11.4498 | 79 | 0.009742% | 99.94%
Business | Furnace Tune-up | 910.89 | 2732.67 | 3 | 80 | 0.009688% | 99.95%
Residential | Steam Pipe Averaging Controls | 733.06 | 14661.2 | 20 | 81 | 0.007796% | 99.95%
Income Eligible | Advanced Thermostats | 692.44 | 7616.84 | 11 | 82 | 0.007364% | 99.96%
Residential | Wall Insulation | 633.65 | 18258.3 | 28.8145 | 83 | 0.006739% | 99.97%
Income Eligible | Exhaust Damper | 549.21 | 8238.15 | 15 | 84 | 0.005841% | 99.97%
Business | Dishwasher | 462 | 6450 | 13.961 | 85 | 0.004913% | 99.98%
Business | Gas High Efficiency Furnace | 412 | 6144 | 14.9126 | 86 | 0.004382% | 99.98%
Residential | DHW Tank Insulation | 382.34 | 5465.85 | 14.2958 | 87 | 0.004066% | 99.99%
Business | Infrared Heater | 357.53 | 5362.95 | 15 | 88 | 0.003802% | 99.99%
Business | Infrared Broiler | 240 | 2304 | 9.6 | 89 | 0.002552% | 99.99%
Residential | Ceiling/Attic Insulation | 229.57 | 6532.8 | 28.4567 | 90 | 0.002442% | 100%
Business | Tankless Water Heater | 157 | 2920 | 18.5987 | 91 | 0.00167% | 100%
Residential | Foundation Insulation | 125.13 | 3597.9 | 28.7533 | 92 | 0.001331% | 100%
Residential | Advanced Thermostat | 66.63 | 690.58 | 10.3644 | 93 | 0.0007086% | 100%
Residential | Low Flow Faucet Aerators | 42.45 | 459.8 | 10.8316 | 94 | 0.0004515% | 100%
Residential | Programmable Thermostat | 37.31 | 596.96 | 16 | 95 | 0.0003968% | 100%
| Total | 9402691.68

## 2024 TRC
Total Resource Cost Test (TRC) Results for PGL, 2024 Programs, Societal Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | All Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net)* | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Elementary Education Kits (EEE) | 470292.8946 | 1940389.5791 | 108768.06 | 115886.8 | 237138.0403 | 2410682.4737 | 345906.1003 | 2064776.3734 | 6.9692
Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 1925245.6086 | 6390969.5336 | 638453.78 | 350846.19 | 867342.0486 | 8316215.1422 | 1505795.8286 | 6810419.3137 | 5.5228
Multi-Family - DI, Prescriptive, Custom, PTA | 2281087.9535 | 6729822.33 | 597687.86 | 957389.91 | 957389.91 | 9010910.2835 | 1555077.77 | 7455832.5135 | 5.7945
Home Energy Jumpstart | 123798.1399 | 702823.1633 | 145220.38 | 32476.71 | 116225.2072 | 826621.3033 | 261445.5872 | 565175.7161 | 3.1617
Residential Total | 4800424.5967 | 15764004.606 | 1490130.08 | 1456599.61 | 2178095.2061 | 20564429.2027 | 3668225.2861 | 16896203.9166 | 5.6061
C/I & PS Prescriptive | 5454642.8533 | 16238838.4077 | 2758153.06 | 1413990.22 | 2187492.7222 | 21693481.2611 | 4945645.7822 | 16747835.4788 | 4.3864
C/I & PS Custom | 2009137.5 | 6009114.5552 | 0 | 855658.93 | 855658.93 | 8018252.0552 | 855658.93 | 7162593.1252 | 9.3709
C/I Gas Optimization | 25156.3683 | 75238.9258 | 0 | 286750 | 286750 | 100395.2941 | 286750 | -186354.7059 | 0.35011
C&I and PS Joint New Construction | 223245.9371 | 668152.2324 | 0 | 15608 | 234597.0877 | 891398.1694 | 234597.0877 | 656801.0818 | 3.7997
C&I and PS Retro-Commissioning | 1236723.737 | 3684590.0433 | 0 | 213310 | 213310 | 4921313.7803 | 213310 | 4708003.7803 | 23.0712
Small and Midsize Business | 2736399.0888 | 8199930.3451 | 1006295.82 | 619418.35 | 733920.2848 | 10936329.4339 | 1740216.1048 | 9196113.3291 | 6.2845
Total Business Sector | 11685305.4844 | 34875864.5096 | 3764448.88 | 3404735.5 | 4511729.0247 | 46561169.994 | 8276177.9047 | 38284992.0893 | 5.6259
Community Joint Kits | 2256099.8477 | 9559739.455 | 115232.04 | 506149.54 | 921103.3368 | 11815839.3027 | 1036335.3768 | 10779503.9259 | 11.4016
IE Elementary Education Kits (EEE) | 783031.6557 | 3308732.3908 | 161649.1 | 198699.06 | 451760.2839 | 4091764.0465 | 613409.3839 | 3478354.6626 | 6.6705
Multi-Family - IHWAP, Retrofits, PTA, Public Housing | 8443208.5409 | 25797235.4789 | 2211476.07 | 5763062.3 | 5763062.3 | 34240444.0198 | 7974538.37 | 26265905.6498 | 4.2937
Public Housing Energy Savings | 83142.4667 | 262296.4182 | 75922.88 | 435749.16 | 435749.16 | 345438.885 | 511672.04 | -166233.155 | 0.67512
Single Family - IHWAP, Retrofits, HEA | 2110328.5271 | 6261812.0228 | 933720.07 | 3178727.57 | 3171641.095 | 8372140.5499 | 4105361.165 | 4266779.3849 | 2.0393
Income Eligible Total | 13675811.0383 | 45189815.7657 | 3498000.16 | 10082387.63 | 10743316.1757 | 58865626.804 | 14241316.3357 | 44624310.4683 | 4.1334
EEPS Portfolio Costs |  |  | 1082731.54 |  |  | 0 | 1082731.54 | -1082731.54
EEPS Portfolio | 30161541.1193 | 95829684.8813 | 9835310.66 | 14943722.74 | 17433140.4065 | 125991226.0006 | 27268451.0665 | 98722774.9342 | 4.6204
EEPS Portfolio Without Income Eligible | 16485730.0811 | 50639869.1156 | 6337310.5 | 4861335.11 | 6689824.2308 | 67125599.1967 | 13027134.7308 | 54098464.4659 | 5.1528
* Excess Incentives are the amount that incentives are greater than estimated incremental measure costs, and if present, should be added to non-incentive costs. Since IMCs are estimated using TRM, planning, and secondary research, the IMC estimates may not include all relevant and up-to-date installation and equipment costs for some programs. After reviewing data, we set IMC equal to incentives for Income Eligible and Direct Installation Programs if incentives were greater than the initial IMC estimate. Incentives are allocated to C&I and Public Sector programs by gross therms and some programs appear to have excess incentives, however overall IMCs are greater than overall incentives for C&I and PS programs prior to allocating.
|  |  |  | 24779033.4 | Summary

## 2024 TRC wo NEI
Total Resource Cost Test (TRC) Results for PGL, 2024 Programs, Societal Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | Only Measure NEI Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net)* | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Elementary Education Kits (EEE) | 470292.8946 | 559063.0643 | 108768.06 | 115886.8 | 237138.0403 | 1029355.9589 | 345906.1003 | 683449.8586 | 2.9758
Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 1925245.6086 | 773179.0899 | 638453.78 | 350846.19 | 867342.0486 | 2698424.6985 | 1505795.8286 | 1192628.8699 | 1.792
Multi-Family - DI, Prescriptive, Custom, PTA | 2281087.9535 | 92436.2766 | 597687.86 | 957389.91 | 957389.91 | 2373524.2301 | 1555077.77 | 818446.4601 | 1.5263
Home Energy Jumpstart | 123798.1399 | 340949.9675 | 145220.38 | 32476.71 | 116225.2072 | 464748.1074 | 261445.5872 | 203302.5202 | 1.7776
Residential Subtotal | 4800424.5967 | 1765628.3983 | 1490130.08 | 1456599.61 | 2178095.2061 | 6566052.9949 | 3668225.2861 | 2897827.7089 | 1.79
C/I & PS Prescriptive | 5454642.8533 | 45246.5044 | 2758153.06 | 1413990.22 | 2187492.7222 | 5499889.3577 | 4945645.7822 | 554243.5755 | 1.1121
C/I & PS Custom | 2009137.5 | 0 | 0 | 855658.93 | 855658.93 | 2009137.5 | 855658.93 | 1153478.57 | 2.3481
C/I Gas Optimization | 25156.3683 | 0 | 0 | 286750 | 286750 | 25156.3683 | 286750 | -261593.6317 | 0.087729
C&I and PS Joint New Construction | 223245.9371 | 0 | 0 | 15608 | 234597.0877 | 223245.9371 | 234597.0877 | -11351.1506 | 0.95161
C&I and PS Retro-Commissioning | 1236723.737 | 0 | 0 | 213310 | 213310 | 1236723.737 | 213310 | 1023413.737 | 5.7978
Small and Midsize Business | 2736399.0888 | 77149.3326 | 1006295.82 | 619418.35 | 733920.2848 | 2813548.4214 | 1740216.1048 | 1073332.3166 | 1.6168
Total Business Sector | 11685305.4844 | 122395.837 | 3764448.88 | 3404735.5 | 4511729.0247 | 11807701.3214 | 8276177.9047 | 3531523.4167 | 1.4267
Community Joint Kits | 2256099.8477 | 2940651.5618 | 115232.04 | 506149.54 | 921103.3368 | 5196751.4096 | 1036335.3768 | 4160416.0328 | 5.0145
IE Elementary Education Kits (EEE) | 783031.6557 | 1008892.8007 | 161649.1 | 198699.06 | 451760.2839 | 1791924.4565 | 613409.3839 | 1178515.0726 | 2.9213
Multi-Family - IHWAP, Retrofits, PTA, Public Housing | 8443208.5409 | 1087660.3394 | 2211476.07 | 5763062.3 | 5763062.3 | 9530868.8803 | 7974538.37 | 1556330.5103 | 1.1952
Public Housing Energy Savings | 83142.4667 | 18938.9745 | 75922.88 | 435749.16 | 435749.16 | 102081.4413 | 511672.04 | -409590.5987 | 0.19951
Single Family - IHWAP, Retrofits, HEA | 2110328.5271 | 211025.9744 | 933720.07 | 3178727.57 | 3171641.095 | 2321354.5015 | 4105361.165 | -1784006.6635 | 0.56544
Income Eligible Total | 13675811.0383 | 5267169.6508 | 3498000.16 | 10082387.63 | 10743316.1757 | 18942980.6891 | 14241316.3357 | 4701664.3534 | 1.3301
EEPS Portfolio Costs |  |  | 1082731.54 |  |  | 0 | 1082731.54 | -1082731.54
EEPS Portfolio | 30161541.1193 | 7155193.8861 | 9835310.66 | 14943722.74 | 17433140.4065 | 37316735.0054 | 27268451.0665 | 10048283.939 | 1.3685
EEPS Portfolio Without Income Eligible | 16485730.0811 | 1888024.2352 | 6337310.5 | 4861335.11 | 6689824.2308 | 18373754.3163 | 13027134.7308 | 5346619.5856 | 1.4104
* Excess Incentives are the amount that incentives are greater than estimated incremental measure costs, and if present, should be added to non-incentive costs. Since IMCs are estimated using TRM, planning, and secondary research, the IMC estimates may not include all relevant and up-to-date installation and equipment costs for some programs. After reviewing data, we set IMC equal to incentives for Income Eligible and Direct Installation Programs if incentives were greater than the initial IMC estimate. Incentives are allocated to C&I and Public Sector programs by gross therms and some programs appear to have excess incentives, however overall IMCs are greater than overall incentives for C&I and PS programs prior to allocating.
|  |  |  | 24779033.4 | Summary

## 2024 PACT
Program Administrator Cost Test (PACT) Results for PGL, 2024 Programs, Societal Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+e) | (g-h) | (g/h)
Elementary Education Kits (EEE) | 365742 | 486899 | 108768 | 115887 | 237138 | 852641 | 224655 | 627986 | 3.8
Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 1476115 | 562802 | 638454 | 350846 | 894635 | 2038917 | 989300 | 1049617 | 2.1
Multi-Family - DI, Prescriptive, Custom, PTA | 1916438 | 82992 | 597688 | 957390 | 957390 | 1999430 | 1555078 | 444352 | 1.3
Home Energy Jumpstart | 104530 | 289838 | 145220 | 32477 | 116225 | 394368 | 177697 | 216671 | 2.2
Residential Subtotal | 3862825 | 1422532 | 1490130 | 1456600 | 2205388 | 5285357 | 2946730 | 2338627 | 1.8
C/I & PS Prescriptive | 4830541 | 41305 | 2758153 | 1413990 | 2187493 | 4871846 | 4172143 | 699703 | 1.2
C/I & PS Custom | 1564589 | 0 | 0 | 855659 | 855659 | 1564589 | 855659 | 708930 | 1.8
C/I Gas Optimization | 19700 | 0 | 0 | 286750 | 286750 | 19700 | 286750 | -267050 | 0.1
C&I and PS Joint New Construction | 160574 | 0 | 0 | 15608 | 234597 | 160574 | 15608 | 144966 | 10.3
C&I and PS Retro-Commissioning | 1075571 | 0 | 0 | 213310 | 213310 | 1075571 | 213310 | 862261 | 5
Small and Midsize Business | 2425997 | 70430 | 1006296 | 619418 | 733920 | 2496427 | 1625714 | 870713 | 1.5
Total Business Sector | 10076973 | 111735 | 3764449 | 3404736 | 4511729 | 10188708 | 7169184 | 3019523 | 1.4
Community Joint Kits | 1689910 | 2530991 | 115232 | 506150 | 921103 | 4220901 | 621382 | 3599519 | 6.8
IE Elementary Education Kits (EEE) | 610540 | 878793 | 161649 | 198699 | 451760 | 1489333 | 360348 | 1128985 | 4.1
Multi-Family - IHWAP, Retrofits, PTA, Public Housing | 6439721 | 936586 | 2211476 | 5763062 | 5763062 | 7376307 | 7974538 | -598232 | 0.9
Public Housing Energy Savings | 77122 | 16435 | 75923 | 435749 | 435749 | 93556 | 511672 | -418116 | 0.2
Single Family - IHWAP, Retrofits, HEA | 1487199 | 179606 | 933720 | 3178728 | 3173203 | 1666805 | 4112448 | -2445642 | 0.4
Income Eligible Total | 10304492 | 4542410 | 3498000 | 10082388 | 10744878 | 14846902 | 13580388 | 1266514 | 1.1
EEPS Portfolio Costs |  |  | 1082732 |  |  | 0 | 1082732 | -1082732
EEPS Portfolio | 24244289 | 6076677 | 9835311 | 14943723 | 17461996 | 30320966 | 24779033 | 5541933 | 1.2
EEPS Portfolio Without Income Eligible | 13939798 | 1534267 | 6337311 | 4861335 | 6717117 | 15474065 | 11198646 | 4275419 | 1.4

## 2024 PACT wo NEI
Program Administrator Cost Test (PACT) Results for PGL, 2024 Programs, Societal Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b) | (d+e) | (g-h) | (g/h)
Elementary Education Kits (EEE) | 365742 |  | 108768 | 115887 | 237138 | 365742 | 224655 | 141087 | 1.6
Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 1476115 |  | 638454 | 350846 | 894635 | 1476115 | 989300 | 486815 | 1.5
Multi-Family - DI, Prescriptive, Custom, PTA | 1916438 |  | 597688 | 957390 | 957390 | 1916438 | 1555078 | 361360 | 1.2
Home Energy Jumpstart | 104530 |  | 145220 | 32477 | 116225 | 104530 | 177697 | -73167 | 0.6
Residential Subtotal | 3862825 | 0 | 1490130 | 1456600 | 2205388 | 3862825 | 2946730 | 916095 | 1.3
C/I & PS Prescriptive | 4830541 |  | 2758153 | 1413990 | 2187493 | 4830541 | 4172143 | 658397 | 1.2
C/I & PS Custom | 1564589 |  | 0 | 855659 | 855659 | 1564589 | 855659 | 708930 | 1.8
C/I Gas Optimization | 19700 |  | 0 | 286750 | 286750 | 19700 | 286750 | -267050 | 0.1
C&I and PS Joint New Construction | 160574 |  | 0 | 15608 | 234597 | 160574 | 15608 | 144966 | 10.3
C&I and PS Retro-Commissioning | 1075571 |  | 0 | 213310 | 213310 | 1075571 | 213310 | 862261 | 5
Small and Midsize Business | 2425997 |  | 1006296 | 619418 | 733920 | 2425997 | 1625714 | 800283 | 1.5
Total C&I and Public Sector | 10076973 | 0 | 3764449 | 3404736 | 4511729 | 10076973 | 7169184 | 2907788 | 1.4
Community Joint Kits | 1689910 |  | 115232 | 506150 | 921103 | 1689910 | 621382 | 1068528 | 2.7
IE Elementary Education Kits (EEE) | 610540 |  | 161649 | 198699 | 451760 | 610540 | 360348 | 250191 | 1.7
Multi-Family - IHWAP, Retrofits, PTA, Public Housing | 6439721 |  | 2211476 | 5763062 | 5763062 | 6439721 | 7974538 | -1534817 | 0.8
Public Housing Energy Savings | 77122 |  | 75923 | 435749 | 435749 | 77122 | 511672 | -434550 | 0.2
Single Family - IHWAP, Retrofits, HEA | 1487199 |  | 933720 | 3178728 | 3173203 | 1487199 | 4112448 | -2625248 | 0.4
Income Eligible Total | 10304492 | 0 | 3498000 | 10082388 | 10744878 | 10304492 | 13580388 | -3275896 | 0.8
EEPS Portfolio Costs |  |  | 1082732 |  |  | 0 | 1082732 | -1082732
EEPS Portfolio | 24244289 | 0 | 9835311 | 14943723 | 17461996 | 24244289 | 24779033 | -534744 | 1
EEPS Portfolio Without Income Eligible | 13939798 | 0 | 6337311 | 4861335 | 6717117 | 13939798 | 11198646 | 2741152 | 1.2

## Other Benefits Details
Program | NEBs (AQB) | Avoided Water Savings | Avoided Env. Adder Costs | Avoided Electric Savings | Other Benefits (NEBs, Water, Env., Elec) | Without NEI Benefits (excl. Env. & AQB)
Elementary Education Kits (EEE) | 899136.1359 | 535400.168 | 482190.3789 | 23662.8963 | 1940389.5791 | 559063.0643
Home Energy Rebates - HVAC, Smart Thermostats, Weatherization | 3638526.2454 | 0 | 1979264.1983 | 773179.0899 | 6390969.5336 | 773179.0899
Multi-Family - DI, Prescriptive, Custom, PTA | 4416025.6644 | 76732.1643 | 2221360.389 | 15704.1123 | 6729822.33 | 92436.2766
Home Energy Jumpstart | 242401.1426 | 292723.477 | 119472.0532 | 48226.4904 | 702823.1633 | 340949.9675
Residential Subtotal | 9196089.1883 | 904855.8094 | 4802287.0194 | 860772.5889 | 15764004.606 | 1765628.3983
C/I & PS Prescriptive | 11057737.0775 | 42981.7083 | 5135854.8259 | 2264.7961 | 16238838.4077 | 45246.5044
C/I & PS Custom | 3967659.1377 | 0 | 2041455.4175 | 0 | 6009114.5552 | 0
C/I Gas Optimization | 49775.7348 | 0 | 25463.191 | 0 | 75238.9258 | 0
C&I and PS Joint New Construction | 429449.1508 | 0 | 238703.0815 | 0 | 668152.2324 | 0
C&I and PS Retro-Commissioning | 2515488.3692 | 0 | 1169101.6742 | 0 | 3684590.0433 | 0
Small and Midsize Business | 5556137.4144 | 73288.798 | 2566643.5981 | 3860.5346 | 8199930.3451 | 77149.3326
Total Business Sector | 23576246.8844 | 116270.5062 | 11177221.7882 | 6125.3307 | 34875864.5096 | 122395.837
Community Joint Kits | 4258293.2278 | 2807020.295 | 2360794.6654 | 133631.2669 | 9559739.455 | 2940651.5618
IE Elementary Education Kits (EEE) | 1498268.1299 | 962805.5739 | 801571.4602 | 46087.2269 | 3308732.3908 | 1008892.8007
Multi-Family - IHWAP, Retrofits, PTA, Public Housing | 15984354.0514 | 997943.1723 | 8725221.0881 | 89717.1671 | 25797235.4789 | 1087660.3394
Public Housing Energy Savings | 166271.1747 | 18072.9829 | 77086.269 | 865.9916 | 262296.4182 | 18938.9745
Single Family - IHWAP, Retrofits, HEA | 3768928.0125 | 201482.8916 | 2281858.036 | 9543.0828 | 6261812.0228 | 211025.9744
Income Eligible Total | 25676114.5962 | 4987324.9156 | 14246531.5186 | 279844.7352 | 45189815.7657 | 5267169.6508
EEPS Portfolio | 58448450.6689 | 6008451.2312 | 30226040.3263 | 1146742.6548 | 95829684.8813 | 7155193.8861
EEPS Portfolio Without Income Eligible | 32772336.0727 | 1021126.3156 | 15979508.8076 | 866897.9196 | 50639869.1156 | 1888024.2352