## Final Prioritized Tracker Items
IL-TRM V9.0 - Final Measure Update Priority List
VEIC - April 1, 2020
Yellow rows indicate changes made since initial priority listing
Type | Request Summary | Request Type | Measure Code (existing measure) | Measure Section (for new measures only) | Requester Name | Requester Company | Proposed Measure Priority | Reason | Work paper Required | Workpaper Responsible Company | Potential TAC or Working Group (WG) Discussion | Company Providing Feedback | Feedback | Company Providing Feedback | Feedback
Existing Measures | Update Baseline Wattage Tables | Change to existing measure | 4.5.4 C&I LED Bulbs and Fixtures | 4.5 C&I Lighting End Use | Andrey Gribovich | DNV GL | High | High impact measure | Y | DNV GL | N
| Question Regarding ECMs | Question/Clarification | 5.3.5 RES Furnace Blower Motor |  | Angie Ziech-Malek | CLEAResult | High | Quick question response (answer is yes!) | N | N/A | N
| Update to Grocery Lighting HOU |  | 4.5 C&I Lighting End Use |  | Angie Ziech-Malek | CLEAResult | High | High impact measure | Y | CLEAResult | TAC
| Update APS In-Service Rate | Change to existing measure | 5.2.2 Tier 2 Advanced Power Strips (APS) - Residential Audio Visual |  | Ariel Crowley | Guidehouse | High | Medium impact measure, key input with questionable existing assumption | Y | Guidehouse | N
| Adsorption Air Cleaning Revision | Change to existing measure | 4.4.45 Adsorbant Air Cleaning |  | Brian Yeung | Slipstream | High | Provisional measure from v8 | Y | Slipstream | TAC
| HER Persistence Factor Updates | Change to existing measure | 6.1.1 Adjustments to Behavior Savings to Account for Persistence |  | Carly Olig | Guidehouse | High | High impact measure, key assumption for CPAS. | Y | Guidehouse | WG
| Possible Errata: EFLH for MF High Rise - Common Area | Correction of TRM mistake | 4.4 C&I HVAC End Use |  | Charles Ampong | Guidehouse | High | VEIC will review. | N | N/A | N
| Recommend a new Measure Cost | Change to existing measure | 4.3.6 C&I Ozone Laundry |  | Cliff Zimmerman | Franklin Energy | High | Low impact measure, but easy update that may have significant impact on cost effectiveness screening. | Y | Franklin Energy | N
| Agricultural measure minor errors | Correction of TRM mistake |  |  | Dan Minarcik | Franklin Energy | High | Quick updates | N | N/A | N
| Modified Blower Door Subtraction reference link | Change to existing measure | 5.3.4 RES Duct Insulation and Sealing |  | Haley Keegan | Resource Innovations | High | High impact measure and quick update | N | N/A | N
| Inconsistency in Basement Sidewall Insulation algorithm | Correction of TRM mistake | 5.6.2 RES Basement Sidewall Insulation |  | Haley Keegan | Resource Innovations | High | Very quick fix | N | N/A | N
| WAML calculation for lighting for 2020 IL-TRM | Question/Clarification |  |  | Jacob Stoll | ComEd | High | Will discuss in Lighting Working group. May be a moot point with new calculation methodology | N | N/A | WG
| Federal Standard update for ENERGY STAR computers | Change to existing measure | 4.8.6 ENERGY STAR Computers |  | Jake Ahrens | VEIC | High | Low impact measure but updating standards. | Y | VEIC | N
| Resdiential sized Boiler Federal Standard update (Commercial measure) | Change to existing measure | 4.4.10 C&I High Efficiency Boiler |  | Jake Ahrens | VEIC | High | Medium impact measure and standard update | Y | VEIC | N
| Update RES Advanced Tstat Cooling Savings Factor | Change to existing measure | 5.3.16 Advanced Thermostats |  | Jason Lai | Guidehouse | High | High impact measure. Key assumption | Y | Guidehouse | WG
| Update the LED Baseline Descriptions in 4.5.4 | Change to existing measure | 4.5.4 C&I LED Bulbs and Fixtures |  | Julie Barstow | Guidehouse | High | High impact measure, quick update. Believe this is a typo. | N | N/A | N
| Update EUL: LED Streetlighting and Lighting Controls | Change to existing measure | 4.5 C&I Lighting End Use |  | Karen Maoz | Guidehouse | High | High impact measure. Key CPAS assumption | Y | Guidehouse | N
| Update the "if unknown" assumptions for furnaces using Illinois program data | Change to existing measure | 5.3.7 RES Gas High Efficiency Furnace | 5.3 Residential HVAC End Use | Kevin Grabner | Guidehouse | High | High impact measure. Key assumption | Y | Guidehouse | TAC
| Update the gas heating savings factor for small commercial standard programmable thermostats | Change to existing measure | 4.4.18 C&I Small Commercial Programmable Thermostats | 4.4 C&I HVAC End Use | Kevin Grabner | Guidehouse | High | Provisional measure from v8. Note timing of results may not work for this update. | Y | Guidehouse | TAC
| Refine the guidance for Pipe Insulation Thermal Regain Factors | Change to existing measure | 4.4.14 C&I Pipe Insulation |  | Kevin Grabner | Guidehouse | High | High impact measure. | Y | Guidehouse | TAC
| Correct equations for Covers and Gap Sealers | Correction of TRM mistake | 4.4.38 Covers and Gap Sealers for Room Air Conditioners |  | Kristofer KIsyznski | Elevate Energy | High | Low impact measure but if there is an error should be fixed. | Y | Elevate Energy | N
| Steam Trap Replacement or Repair | Change to existing measure | 4.4.16 C&I Steam Trap Replacement or Repair |  | Kristofer Kiszynski | Elevate Energy | High | High impact measure. | Y | Elevate Energy | TAC
| Update measure results based on cooling data collected during 2019 | Change to existing measure | 4.4.45 Adsorbant Air Cleaning |  | Mike Frischmann | EcoMetric Consulting | High | Provisional measure from v8 | Y | EcoMetric Consulting | TAC
| EISA Extension for Income Eligible Customer | Change to existing measure | 5.5.8 RES LED Screw Based Omnidirectional Bulbs |  | Molly Lunn | ComEd | High | Being discussed in Lighting Forecast group | N | N/A | WG
| Update SCPT Cooling Savings Factor | Change to existing measure | 4.4.18 C&I Small Commercial Programmable Thermostats |  | Paul Higgins | Guidehouse | High | Provisional measure from v8 | Y | Guidehouse | TAC
| Revision to Pipe Insulation Workpaper | Change to existing measure | 4.4.14 C&I Pipe Insulation |  | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | High | High impact measure. | Y | Nicor Gas/GTI | N | Nicor | ◦Nicor Gas recommends increasing priority to high. ◦This has been a high impact measure for Nicor Gas in prior years when incentive levels were higher. Nicor Gas has increased incentive levels for 2020 and expects it to be a high impact measure going forward.
| Update ENERGY STAR Air Cleaner Measure | Change to existing measure | 5.1.1 RES ENERGY STAR Air Purifier/Cleaner |  | Rick Berry | Guidehouse | High | Medium impact measure and standard update | Y | Guidehouse | N
| Update ENERGY STAR Refrigerated Beverage Vending Machine Measure | Change to existing measure | 4.6.5 C&I ENERGY STAR Refrigerated Beverage Vendi |  | Rick Berry | Guidehouse | High | Low impact measure but standard update | Y | Guidehouse | N
| Account for Sensors in HOU in Lighting Algorithm | Change to existing measure | 4.5.4 C&I LED Bulbs and Fixtures |  | Rick Berry | Guidehouse | High | High impact measure | Y | Guidehouse | TAC
| Clarify the intended application of daylight sensors | Question/Clarification | 4.5.10 C&I Occupancy Sensor Lighting Controls |  | Rick Berry | Guidehouse | High | Quick update. Should discuss whether exterior photo cell should be added. | N | N/A | TAC
| Clarify Drug Store/Pharmacy Classification | Question/Clarification |  |  | Rick Berry | Guidehouse | High | Quick update. | N | N/A | N
| Remove NC program type from 5.5.8-9 |  | 5.5.8 RES LED Screw Based Omnidirectional Bulbs |  | Rick Berry | Guidehouse | High | Baseline for NC should include IECC 2015 requirements | N | N/A | TAC
| Update discount rate in section 3.9, volume 1 | Change to existing measure |  |  | Sam Dent | VEIC | High | Required update | N | N/A | TAC
| ESTAR Most Efficient Dehumidifier critiera update | Change to existing measure | 5.1.3 RES ENERGY STAR Dehumidifier |  | Sam Dent | VEIC | High | Medium impact measure and standard update | Y | VEIC | N
| Upcoming fedeal standard change for residential boilers | Change to existing measure | 5.3.6 RES Gas High Efficiency Boiler |  | Sam Dent | VEIC | High | Medium impact measure and standard update | Y | VEIC | N
| Review proposed 2020 lighting standards | Question/Clarification |  |  | Sam Dent | VEIC | High | Lighting forecast working group | N | N/A | WG
| Vortex Tube Thermostat | Question/Clarification | 4.7.6 Vortex Tube Thermostat - Provisional Measure |  | Sam Dent | VEIC | High | Provisional measure from v8. Any new information? | N | N/A | TAC | Navigant | The Vortex Tube Thermostat measure probably hasn't received the interest from utility programs to generate any data. The measure should still be fine but I don't imagine any research information has been generated. This can probably be moved to low/not progressing.
| Review Linear Fixture assumptions | Question/Clarification | 4.5.4 C&I LED Bulbs and Fixtures |  | Sam Dent | VEIC | High | Lighting forecast working group | N | N/A | WG
| Streetlighting Measure Update | Change to existing measure | 4.5.16 LED Streetlighting |  | Zach Ross | Opinion Dynamics | High | High impact measure | Y | Opinion Dynamics | TAC
| Remove "custom analysis" language from 4.4.26 | Correction of TRM mistake | 4.4.26 C&I Variable Speed Drivers for HVAC Supply and Return Fans |  | Zach Ross | Opinion Dynamics | High | Quick update - not sure it needs to be an errata as doesn't impact savings calculations. | N | N/A | N
| Add Clarification to kW Calculation for Water-Saving Measures with Secondary kWh Impacts | Question/Clarification | 5.4 RES Hot Water End Use |  | Zach Ross | Opinion Dynamics | High | Impacts many measures. | N | N/A | TAC
| Midlife Adjustment for Duct Sealing |  | 5.3.4 RES Duct Insulation and Sealing |  | Zach Ross | Opinion Dynamics | High | Errata fix to midlife adjustment calculation. | N | N/A | N
| Midlife Adjustment for Heating/Cooling Systems |  |  |  | Zach Ross | Opinion Dynamics | High | Errata fix to midlife adjustment calculation. | N | N/A | N
| Infrared Heaters | Change to existing measure | 4.4.12 C&I Infrared Heaters (all sizes), Low Inte |  | Angie Ziech-Malek | CLEAResult | Medium | Low impact measure but straightforward change | Y | CLEAResult | N
| Lighting Controls | Change to existing measure | 4.5.10 C&I Occupancy Sensor Lighting Controls |  | Angie Ziech-Malek | CLEAResult | Medium | Medium impact measure and simple update | Y | CLEAResult | N
| Revise DHW efficiency factor to reflect actual savings | Change to existing measure | 4.3.1 C&I Storage Water Heater |  | Cliff Zimmerman | Franklin Energy | Medium | Easy fix, though not sure why anyone would use different draw patterns for base v efficient? | N | N/A | N
| Revise DHW efficiency factor to reflect actual savings | Change to existing measure | 5.4.2 RES Gas Water Heater |  | Cliff Zimmerman | Franklin Energy | Medium | Medium impact measure. Requester raises some concerns on methodology. | Y | Franklin Energy | TAC
| Changes to 4.1.11 Commercial LED Grow Lighting | Change to existing measure | 4.1 C&I Agricultural End Use |  | Dan Minarcik | Franklin Energy | Medium | Low but growing impact measure. Appears to be easy update. | Y | Franklin Energy | N
| Create Agricultural Loadshape(s) and Models | Question/Clarification |  | 4.5 C&I Lighting End Use | Dan Minarcik | Franklin Energy | Medium | Low but growing impact measures. Would be good to have loadshapes developed if there is data to base them upon. | Y | Franklin Energy | TAC
| Income Eligible Program Baseline Adjustments | Change to existing measure |  |  | Jacob Stoll | ComEd | Medium | Consider working group to discuss and plan | N | N/A | TAC / WG
| Typo / Quick fixes |  |  |  | Jake Ahrens | VEIC | Medium | Multiple low impact quick fixes | N | N/A | N
| Possible Errata: ENERGY STAR Clothes Washers | Correction of TRM mistake | 5.1.2 RES ENERGY STAR and CEE Tier 2 and 3 Clothe |  | Jennifer Ma | Guidehouse | Medium | Medium impact measure. Likely simply a rounding issue. | N | N/A | N
| Update IC for water temp setback | Change to existing measure | 5.4.6 RES Water Heater Temperature Setback |  | Jennifer Morris | ICC Staff | Medium | Low impact measure but quick fix | N | N/A | N
| Provide default values as an option for custom efficiency inputs for Non-Residential process and space heating boiler tune-ups | Change to existing measure | 4.4 C&I HVAC End Use | 4.4 C&I HVAC End Use | Kevin Grabner | Guidehouse | Medium | Low impact measure but key input. | Y | Guidehouse | N
| Add an In-Service Rate for self install through kit distribution | Change to existing measure | 5.4.1 RES Domestic Hot Water Pipe Insulation | 5.4 Residential Hot Water End Use | Kevin Grabner | Guidehouse | Medium | Medium impact measure, quick update. | Y | Guidehouse | N
| For v9 - adding PJM Winter Peak | Change to existing measure |  |  | Rick Berry | Navigant | Medium | Discuss selection of a select number of high impact measures that could have a winter CF developed. | N | N/A | TAC
| Add Default Motor Size to 4.6.4 (EC Evap Fans) | Change to existing measure | 4.6.4 C&I Electronically Commutated Motors (ECM) |  | Rick Berry | Guidehouse | Medium | Medium impact measure. Quick update | Y | Guidehouse | N
| Update the LED Case Lighting Wattages | Change to existing measure | 4.5.4 C&I LED Bulbs and Fixtures |  | Rick Berry | Guidehouse | Medium | Lower impact type in high impact measure | Y | Guidehouse | N
| Residential Tankless Water Heater De-Rating | Question/Clarification | 5.4.2 RES Gas Water Heater |  | Rick Berry | Guidehouse | Medium | Medium impact measure. | N | N/A | N
| Peak Savings from Furnace Blower Motors | Question/Clarification | 5.3.5 RES Furnace Blower Motor |  | Rick Berry | Guidehouse | Medium | Quick clarification | N | N/A | TAC
| Clarification on "actual hours" in VSD measures | Question/Clarification | 4.4.17 C&I Variable Speed Drives for HVAC |  | Rick Berry | Guidehouse | Medium | Medium impact measure | N | N/A | TAC
| For v9 - review requirement for field testing for APS | Change to existing measure | 5.2.2 Tier 2 Advanced Power Strips (APS) - Residential Audio Visual |  | Sam Dent | VEIC | Medium | Medium impact measure. Contentious issue. | N | N/A | TAC
| Review lifetime and mid-life assumptions for Boiler Reset Controls | Change to existing measure | 5.3.14 RES Boiler Reset Controls |  | Sam Dent | VEIC | Medium | Low impact measure but potential inappropriate use of midlife adjustment. | Y | VEIC | TAC
| Add definition of "Public Sector" | Correction of TRM mistake |  |  | Simon Nowak | 360 Energy Group | Medium | No impact but good to have | N | N/A | N
| Add "Public Sector" building type for VSD Measure | Change to existing measure | 4.4.17 C&I Variable Speed Drives for HVAC |  | Stephanie Scheel | Willdan | Medium | VEIC will review. | N | N/A | N
| Add "Public Sector" building type for Advanced Rooftop Controls (ARC) | Change to existing measure | 4.4.41 Advanced Rooftop Controls |  | Stephanie Scheel | Willdan | Medium | VEIC will review. | N | N/A | N
| Clarify savings allocation between gas and electric utilities | Change to existing measure | 4.4.32 C&I Combined Heat and Power |  | Thomas Manjarres | Franklin Energy | Medium | Discuss at TAC. If necessary a working group could be formed. | Y | Franklin Energy | TAC | Nicor | ◦Nicor Gas and Ted Weaver should be included in any conversations between Franklin and Chris Neme.
| Correct error in hot water per load in 5.1.12 Ozone Laundry (residential) | Correction of TRM mistake | 5.1.12 Ozone Laundry |  | Thomas Manjarres | Franklin Energy | Medium | Low impact measure but potential error. | N | N/A | N
| Discuss Possibility of Deeming ISR for Water Heater Temperature Setbacks in Kits | Change to existing measure | 5.4.6 RES Water Heater Temperature Setback |  | Zach Ross | Opinion Dynamics | Medium | Low impact measure but will help streamline implementation | Y | Opinion Dynamics | TAC
| Add default value or guidance for HSPF adjustment | Change to existing measure | 5.3.1 RES Air Source Heat Pump |  | Zach Ross | Opinion Dynamics | Medium | Medium impact measure | Y | Opinion Dynamics | TAC
| Baseline efficiency for fuel conversion | Change to existing measure | 5.3.12 RES Ductless Heat Pumps |  | Angie Ziech-Malek | CLEAResult | Medium | DMSHP already provides fuel switch savings. ASHP does not. Disucss with TAC if we want to start claiming fuel switch savings for ASHPs. | N | N/A | TAC | CLEAResult | ◾Currently, the Illinois TRM provides the opportunity to claim savings for participants who select more efficient equipment within the same fuel type as their existing equipment, but when participants voluntarily switch fuels there are savings that remain unclaimed by any utility. For example, although the baseline for a high-efficiency Air Source Heat Pump (ASHP) is a standard efficiency ASHP, from a fuel-neutral perspective there are savings between the standard efficiency ASHP and the market-standard natural gas furnace that are uncounted. The request here is to expand the baseline definition for ASHPs to include gas heating equipment, in order to provide a more accurate estimate of the total energy savings. We feel heat pumps are important and high-impact measures.
| Air & Water Source Heat Pump Systems | Change to existing measure | 4.4.9 C&I Heat Pump Systems |  | Brian Yeung | Slipstream | Low | Likely a low impact change | Y | Slipstream | N
| Add other heating systems to the heating penalty | Change to existing measure | 5.3.5 RES Furnace Blower Motor |  | Cassandra Wright | Guidehouse | Low | The ASHP savings includes the heating penalty. Electric furnace likely very low impact. | Y | Guidehouse | N
| Standardize EUL language | Change to existing measure |  |  | Matt Drury | Opinion Dynamics | Low | If time allows. | N | N/A | N
| Discuss whether we can remove IECC 2012 assumptions for New Construction projects |  |  |  | Sam Dent | VEIC | Low | No impact to measures, but good to clean up if appropriate | N | N/A | TAC
| ENERGY STAR Water Coolers | Change to existing measure | 5.1.11 ENERGY STAR Water Coolers |  | Sam Dent | VEIC | Low | Low impact measure. Standard update but unlikely to impact 2021 | Y | VEIC | N
| Heat Pump Consolidation | Question/Clarification |  |  | Angie Ziech-Malek | CLEAResult | Not progressing | Prefer not to consolidate as DMSHP tend to relate to displacing some of load v ASHP being whole home. We have discussed fuel switching before and we do not believe there is the policy support for this. | N/A | N/A | N
| Divide "Public Sector" building type into various building types | Correction of TRM mistake |  |  | Simon Nowak | 360 Energy Group | Not progressing | Discussed last year. We can only divide where we have good data to base it upon. | N/A | N/A | N
New Measures | Add measure for installing new or retrofitting existing coolers/freezers with doors | New measure request |  | 4.6 C&I Refrigeration End Use | Andrey Gribovich | DNV GL / ICF | High | Potential high savings - has been worked on for two years and should get resolved | Y | DNV GL / ICF | TAC | Ameren | 1
| Luminaire Level Lighting Controls | New measure request |  | 4.5 C&I Lighting End Use | Brian Yeung | Slipstream | High | Growing and potential high impact measure | Y | Slipstream | TAC | Ameren | 2
| Voltage Optimization Measure | New measure request |  |  | Jennifer Morris | ICC Staff | High | High priority measure for utilities | Y | Guidehouse | WG
| NEW Residential Measure - Dirty Furnace Filter Whistle | New measure request |  | 5.3 Residential HVAC End Use | Lee Moran | Resource Action Programs (dba Franklin Energy Services) | High | Provisional measure from v8 | Y | Resource Action Programs (dba Franklin Energy Services) | TAC
| Drain Water Heat Recovery | New measure request |  | 4.7 C&I Miscellaneous End Use | Randy Opdyke | Nicor Gas | High | Potential good measure for NC, and retrofit | Y | Nicor Gas | TAC | Nicor | ◦It is also applicable for retrofit. It requires very simple installation.
| Venturi Steam Traps | New measure request |  | 4.4 C&I HVAC End Use | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | High | High impact measure. | Y | Nicor Gas/GTI | TAC | Nicor | ◦Agree, it will be a high impact measure. The existing measure is for mechanical steam traps with varing useful life. Venturi has a long life and special provisions than mechanical steam traps. So, it is best to address as a new measure.
| Low-E Interior Storm Windows | New measure request |  | 4.7 C&I Miscellaneous End Use | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | High | Potentially good measure. | Y | Nicor Gas/GTI | TAC
| Add Dew Point Demand Control Measure | New measure request |  |  | Rick Berry | Guidehouse | High | Potentially good savings measure. | Y | Guidehouse | TAC | Ameren | 6
| Add Compressed Air Heat Recovery Measure | New measure request |  |  | Rick Berry | Guidehouse | High | Potentially good savings measure | Y | Guidehouse | TAC | Ameren | 7
| Add measure for Compressed Air Storage Receiver Tank | New measure request |  | 4.7 C&I Miscellaneous End Use | Sean Lanners | Nexant | High | Potentially good savings measure | Y | Nexant | TAC | Ameren | 8
| Energy efficient hydraulic oils | New measure request |  |  | Adam McMurtrey | ExxonMobil | Medium | Not clear of utility planning to implement the measure. Ameren suggested interest so upgraded to Medium | Y | ExxonMobil | TAC | Ameren | 4
| Energy Efficient Gear Oils | New measure request |  | 4.7 C&I Miscellaneous End Use | Adam McMurtrey | ExxonMobil | Medium | Not clear of utility planning to implement the measure. Ameren suggested interest so upgraded to Medium | Y | ExxonMobil | TAC | Ameren | 5
| Tank Insulation | New measure request |  | 4.3 C&I Hot Water | Angie Ziech-Malek | CLEAResult | Medium | Not likely a high impact measure | Y | CLEAResult | TAC
| Magnetic bearing chillers | New measure request |  | 4.4 C&I HVAC End Use | Angie Ziech-Malek | CLEAResult | Medium |  | Y | CLEAResult | N | CLEAResult | ◾Measure 4.4.6 (electric chillers) does not cover magnetic bearing chillers or variable speed direct drive chillers as the TAC suggests. The 4.4.6 measure description for electric chillers states "Only single-chiller applications should be assessed with this methodology. The characterization is not suited for multiple chillers projects or chillers equipped with variable speed drives (VSD)." ◾Since magnetic bearing chillers and variable speed direct drive chillers have integrated variable speed capacity, they are not fully characterized by the existing measure and savings methodology. Our team recommends that either the existing measure be updated to include VSD options or create a new measure to support these technologies.
| Variable speed direct drive chillers | New measure request |  | 4.4 C&I HVAC End Use | Angie Ziech-Malek | CLEAResult | Medium |  | Y | CLEAResult | N | CLEAResult | ◾Measure 4.4.6 (electric chillers) does not cover magnetic bearing chillers or variable speed direct drive chillers as the TAC suggests. The 4.4.6 measure description for electric chillers states "Only single-chiller applications should be assessed with this methodology. The characterization is not suited for multiple chillers projects or chillers equipped with variable speed drives (VSD)." ◾Since magnetic bearing chillers and variable speed direct drive chillers have integrated variable speed capacity, they are not fully characterized by the existing measure and savings methodology. Our team recommends that either the existing measure be updated to include VSD options or create a new measure to support these technologies.
| Smart Sockets | New measure request |  | 4.7 C&I Miscellaneous End Use | Cliff Zimmerman | Franklin Energy | Medium | Increased to medium as Ameren suggested interest. | Y | Franklin Energy | TAC | Franklin | ◾There is an existing evaluation entitled "ITECH evaluation on the SmartSocket"; not aware of any other evaluations ◾Savings dependent upon what appliance these are used in conjunction with/the standby power of the existing appliance. ◾If VEIC agrees that the above is sufficient material from which to build a workpaper, we can take on that effort. ◾Our SB EE Kits program will contain these devices (SS-15A1-WiFi from Simply Conserve/Intertek). We will be collecting survey data over the course of this year on how these are implemented by customers. | Ameren | 3
| New Measure: Energy Efficient UPS or Rectifier | New measure request |  | 4.7 C&I Miscellaneous End Use | Dan Minarcik | Franklin Energy | Medium | Upgraded as Navigant and Franklin expressed interest. | Y | Franklin Energy | TAC | Navigant | This is different from a work truck battery charger. ENERGY STAR has a certification for this product in a variety of applications. One of the applications, Telecom, is being piloted by ComEd, though I'm not sure if this measure is included. Given the increasing ubiquity of data centers, perhaps this measure shoud be higher priority. | Franklin | This measure is for Telecommunications and Data Centers. There is an ENERGY STAR certification for UPS applications. Rectifiers have higher efficiency opportunities, and replacements are seen frequently. (Also refer to Rick Berry's reply)
| New Measure: Switch Peripheral Equipment Consolidation | New measure request |  | 4.7 C&I Miscellaneous End Use | Dan Minarcik | Franklin Energy | Medium | Possible high volume? | Y | Franklin Energy | N | Franklin | A standard method is currently being used for processing a large quantity of projects for a telecommunications program. Making a standard calculation method that could be handled prescriptively would allow for applications to be processed quicker, and other potential measures to be investigated thoroughly.
| Add new measure for reducing compressed air setpoint | New measure request |  |  | Elder Calderon | ComEd | Medium | Behavioral measure - policy implications? How do you ensure this turn down continues? | Y | ComEd | TAC | ComEd | Depending on system size and potential savings, verification through usage data (via Business Energy Analyzer) is done to confirm set point change. Otherwise, a picture of the set point change will suffice in proving the change.
| Add Commercial Energy Management System Gas measure | New measure request |  | 4.4 C&I HVAC End Use | Kevin Grabner | Guidehouse | Medium | If evaluation data allows for appropriate Rx measure. | Y | Guidehouse | TAC | Ameren | 9
| Hydronic Heating Radiator Replacements | New measure request |  | 4.4 C&I HVAC End Use | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | Medium | Upgraded as Nivor expressed interest. | Y | Nicor Gas/GTI | TAC | Nicor | ◦Nicor Gas recommends increasing priority to medium. ◦This is related to residential/nonresidential boiler systems, which you have identified as medium impact. ◦You guess that it might have cost-effectiveness issues, but Nicor Gas Emerging Technology research indicates that these are cost effective. VEIC should not be using their impression of cost-effectiveness as a screening criterion in this stage.
| Commercial Boiler Descaling | New measure request |  | 4.4 C&I HVAC End Use | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | Medium | VEIC now understand this is a much more lengthy and effective measure than a regular tune up. | Y | Nicor Gas/GTI | N | Nicor | ◦Nicor Gas recommends increasing priority to high. ◦Boiler descaling is not a simple component of a boiler tune up. It is a much more comprehensive and aggressive savings strategy, requiring 1-2 days of effort using a certified boiler engineer, compared to 1-2 hours of effort using a technician for a boiler tune up. Savings are also additive to savings that would be achieved through a boiler tune up (i.e., not a subset of tune-up savings). ◦If the constant efficiency assumption for new/replaced boilers is an issue, then we should revisit that assumption for the new units as well as the old units being replaced. ◦Impacts for this measure should be at least as high as nonresidential boiler tune ups, which you have identified as high impact.
| Switch reluctance motors | New measure request |  | 4.7 C&I Miscellaneous End Use | Angie Ziech-Malek | CLEAResult | Low |  | Y | CLEAResult | TAC | CLEAResult | ◾Our team believes this technology offers potential beyond just niche applications and could have significant impact, particularly to small business and retail energy use. ComEd has invested resources into further studying the application of the technology and we believe this measure should be given a higher priority. Our team can provide additional information to develop this measure as our research on this technology continues.
| Thermostatic Radiator Valves | New measure request |  | 4.4 C&I HVAC End Use | Cliff Zimmerman | Franklin Energy | Low | Behavior measure? On its own this does not save energy. Note - Franklin appear to withdraw the request - does Nicor want to take this on? | Y | Nicor? | TAC | Nicor | ◦Nicor Gas recommends increasing priority to medium. ◦This is related to residential boiler systems, which you have identified as medium impact. ◦This is not a behavior measure. It is a thermostat control that would replace a manual or open valve. It has demonstrable savings as documented in the NY TRM. ◦Nicor Gas is interested in pursuing this as a measure in multifamily programs. ◦Since savings are fully developed in NY TRM, effort to finalize new measure should be minimal. | Franklin | ◾After further review, from Thermostatic Radiator Valve Evaluation by DOE, most experts advise that other means of improving heat delivery should take precedence, to be followed by installation of TRVs, in buildings where overheating is taking place. ◾Not sure how to resolve the above into a TRM measure with deemed savings, so would welcome others to take on this effort/workpaper if so inclined.
| Wireless Pneumatic Thermostats (WPT) | New measure request |  | 4.4 C&I HVAC End Use | Cliff Zimmerman | Franklin Energy | Low | How different to the commercial thermostat measure? | Y | Franklin Energy | TAC | Franklin | ◾Installation of WPT with a central controller allows for the implementation of a building setback schedule which would not otherwise be possible. So, savings may be similar to commercial thermostat measure – more analysis would be needed, see below. ◾There is an existing ComEd calculator for WPT savings based on Wireless Pneumatic Thermostat Evaluation, Ronald Reagan Building and International Trade Center, Washington, DC (March 2015, Accessed 11-24-15). ◾Would like to use the above materials and/or collaborate with others at ComEd to create a workpaper. ◾Our PM foresees approximately 40 new WPT projects being processed this Program Year, so we see this deserving higher priority.
| New Measure: Swine Heat Pads | New measure request |  | 4.1 C&I Agricultural End Use | Dan Minarcik | Franklin Energy | Low | Likely to be low savings measure | Y | Franklin Energy | TAC
| New Measure: Dairy Farm Long Daylight | New measure request |  | 4.1 C&I Agricultural End Use | Dan Minarcik | Franklin Energy | Low | Add appropriate HOU and loadshape if possible | Y | Franklin Energy | N | Franklin | For the prescriptive programs we are restricted to the hours listed in the IL TRM for Lighting End Use 4.5. Currently there are no Agriculutural facility types, so we have to use other options that provide the closest hours and HVAC factors. Allowing for default hours that match agriculture facility types would benenfit the program with more accurate savings. We would like to use the information from these measures to support the developments of Loadshapes as well.​
| New Measure: Poultry Farm LED Lighting | New measure request |  | 4.1 C&I Agricultural End Use | Dan Minarcik | Franklin Energy | Low | Add appropriate HOU and loadshape if possible | Y | Franklin Energy | N | Franklin | For the prescriptive programs we are restricted to the hours listed in the IL TRM for Lighting End Use 4.5. Currently there are no Agriculutural facility types, so we have to use other options that provide the closest hours and HVAC factors. Allowing for default hours that match agriculture facility types would benenfit the program with more accurate savings. We would like to use the information from these measures to support the developments of Loadshapes as well.​
| Add new measure to repair a broken photocell | New measure request |  |  | Elder Calderon | ComEd | Low | If this isn't required by code, could be ok as long as savings aren't double counted with initial install. | Y | ComEd | TAC | ComEd | This is not required by code and can include photocells or timers that are not operational. Chance of conflicting with existing measures is low, as most likely a failed photocell or timer has passed its EUL. Additionally, a majority of these measures are for metal halide/HPS lighting, which indicates incentives were not previously applied for on this fixture.
| Computer Power Management Features | New measure request |  |  | Elder Calderon | ComEd | Low | Expect to have questions about measure life. | Y | ComEd | N | ComEd | This is not related to 4.8.3, Computer Management Software, but individual built-in power management features on desktops and laptops. These computers have the ability to go into power-saving mode, but do not have the feature enabled.
| Demand Response Water Heater | New measure request | 4.3.1 C&I Storage Water Heater |  | Cliff Zimmerman | Franklin Energy | Not progressing | Can this not already be implemented through the current measure 4.3.1 | N/A |  | N
| Advanced Power Strip for home office | New measure request |  | 5.2 Residential Consumer Electronics End Use | Cliff Zimmerman | Franklin Energy | Not progressing | Tier 1 APS already applies for office. All studies we are aware of for Tier 2 relate to APS in entertainment. | N/A |  | N
| Add New Measure for Building Schedule Optimization | New measure request |  | 4.4 C&I HVAC End Use | Elder Calderon | ComEd | Not progressing | How different to the commercial thermostat measure? | N/A |  | N
| New measure request to Manually Turn Off Lighting | New measure request |  |  | Elder Calderon | ComEd | Not progressing | Behavioral measure - policy implications? | N/A |  | N
| A new measure: Air Deflector for Unit Ventilator | New measure request |  | 4.4 C&I HVAC End Use | Hardik Shah | GTI | Not progressing | Provisional measure from v8. As per GTI, weather did not allow progress so will keep measure and reasses next year. | N/A |  | TAC | GTI / Nicor | VEIC and GTI had a call and GTI explained that due to unusually warm weather over the winter, they were not provided sufficient time to increase data collection. Will be continued during the next winter.
| Electric Vehicles | New measure request |  |  | Jim Fay | ComEd | Not progressing | Have policy issues been resolved? Claiming savings for gasoline? | N/A |  | N

## Reliability Review
Measure # | Measure Name | Measure Code | Review Deadline | Priority | Reason
4.2.16 | Kitchen Demand Ventilation Controls | CI-FSE-VENT-V03-160601 | 2021-01-01 | High | Low Impact but 5 years since review
4.4.4 | Boiler Lockout/Reset Controls | CI-HVC-BLRC-V03-150601 | 2021-01-01 | High | Low Impact but 5+ years since review
4.4.10 | High Efficiency Boiler | CI-HVC-BOIL-V07-200101 | 2021-01-01 | High | Standard change
4.4.28 | Stack Economizer for Boilers Serving HVAC Loads | CI-HVC-BECO-V01-150601 | 2021-01-01 | High | Low Impact but 5+ years since review
4.5.2 | Fluorescent Delamping | CI-LTG-DLMP-V02-140601 | 2021-01-01 | High | Low Impact but 5+ years since review
4.5.3 | High Performance and Reduced Wattage T8 Fixtures and Lamps | CI-LTG-T8FX-V09-200101 | 2021-01-01 | High | Discuss if measure should be retired?
4.5.4 | LED Bulbs and Fixtures | CI-LTG-LEDB-V10-200101 | 2021-01-01 | High | High impact measure
4.5.10 | Lighting Controls | CI-LTG-OSLC-V05-190101 | 2021-01-01 | High | High impact measure
4.5.12 | T5 Fixtures and Lamps | CI-LTG-T5FX-V08-200101 | 2021-01-01 | High | Discuss if measure should be retired?
5.3.6 | Gas High Efficiency Boiler | RS-HVC-GHEB-V07-190101 | 2021-01-01 | High | Standard change
5.3.7 | Gas High Efficiency Furnace | RS-HVC-GHEF-V09-200101 | 2021-01-01 | High | High impact measure
5.5.6 | LED Specialty Lamps | RS-LTG-LEDD-V10-200101 | 2021-01-01 | High | High impact measure.
5.5.8 | LED Screw Based Omnidirectional Bulbs | RS-LTG-LEDA-V08-200101 | 2021-01-01 | High | High impact measure.
4.4.45 | Adsorbent Air Cleaning – Provisional Measure | CI-HVC-ADAC-V02-200101 | 2021-01-01 | High | Provisional measure from v8
4.4.47 | Air Deflectors for Unit Ventilators – Provisional Measure | CI-HVC-ADUV-V01-200101 | 2021-01-01 | High | Provisional measure from v8
4.4.48 | Small Commercial Thermostats – Provisional Measure | CI-HVC-THST-V01-200101 | 2021-01-01 | High | Provisional measure from v8
4.7.6 | Vortex Tube Thermostat - Provisional Measure | CI-CPA-VTEX-V01-200101 | 2021-01-01 | High | Provisional measure from v8
5.3.16 | Advanced Thermostats | RS-HVC-ADTH-V04-200101 | 2021-01-01 | High | High impact measure.
5.3.18 | Furnace Filter Alarm – Provisional Measure | RS-HVC-FUWH-V01-200101 | 2021-01-01 | High | Provisional measure from v8
4.3.6 | Ozone Laundry | CI-HWE-OZLD-V04-200101 | 2021-01-01 | Medium | Low Impact, other suggested changes on Tracker
4.4.1 | Air Conditioner Tune-up | CI-HVC-ACTU-V05-180101 | 2021-01-01 | Medium | Low Impact, 2 years since review
4.4.27 | Energy Recovery Ventilator | CI-HVC-ERVE-V04-200101 | 2020-01-01 | Medium | Low impact measure, minor edit last year
4.4.34 | Destratification Fan | CI-HVC-DSFN-V04-200101 | 2021-01-01 | Medium | Low impact measure, minor edit last year
4.4.44 | Commercial Ground Source and Ground Water Source Heat Pump | CI-HVC-GSHP-V03-200101 | 2021-01-01 | Medium | Low impact measure, minor edit last year
4.8.2 | Roof Insulation for C&I Facilities | CI-MSC-RINS-V04-200101 | 2021-01-01 | Medium | Medium impact measure
5.1.10 | ENERGY STAR Clothes Dryer | RS-APL-ESDR-V03-200101 | 2021-01-01 | Medium | Low impact measure.
5.3.1 | Air Source Heat Pump | RS-HVC-ASHP-V09-200101 | 2021-01-01 | Medium | Medium impact measure
5.3.3 | Central Air Conditioning | RS-HVC-CAC1-V08-190101 | 2021-01-01 | Medium | Medium impact measure
5.3.10 | HVAC Tune Up (Central Air Conditioning or Air Source Heat Pump) | RS-HVC-TUNE-V05-200101 | 2021-01-01 | Medium | Low impact measure
5.3.13 | Residential Furnace Tune-Up | RS-HVC-FTUN-V05-200101 | 2021-01-01 | Medium | Low impact measure
5.3.14 | Boiler Reset Controls | RS-HVC-BREC-V02-190101 | 2021-01-01 | Medium | Low impact measure. Other suggested change on Tracker
5.5.12 | Connected LED Lamps | RS-LTG-LEDC-V01-200101 | 2021-01-01 | Medium | Low but growing impact measure. Review for any additional evaluations
4.5.8 | Miscellaneous Commercial/Industrial Lighting | CI-LTG-MSCI-V03-190101 | 2021-01-01 | Low | Unlikely to be any changes
4.5.9 | Multi-Level Lighting Switch | CI-LTG-MLLC-V04-190101 | 2021-01-01 | Low | Unlikely to be any changes
4.5.13 | Occupancy Controlled Bi-Level Lighting Fixtures | CI-LTG-OCBL-V03-190101 | 2021-01-01 | Low | Unlikely to be any changes
4.8.5 | High Speed Clothes Washer | CI-MSC-HSCW-V01-180101 | 2021-01-01 | Low | Low impact measure. Unlikely to be any changes
4.8.8 | High Efficiency Transformer | CI-MSC-TRNS-V01-180101 | 2021-01-01 | Low | Low impact measure. Relatively new measure
4.8.9 | High Frequency Battery Chargers | CI-MSC-BACH-V01-180101 | 2021-01-01 | Low | Low impact measure. Relatively new measure
5.1.5 | ENERGY STAR Freezer | RS-APL-ESFR-V03-190101 | 2021-01-01 | Low | Low impact measure. Unlikely to be any changes
5.1.6 | ENERGY STAR and CEE Tier 2 Refrigerator | RS-APL-ESRE-V07-200101 | 2021-01-01 | Low | Low impact measure. Unlikely to be any changes
5.3.11 | Programmable Thermostats | RS-HVC-PROG-V06-200101 | 2021-01-01 | Low | Low impact measure. Are these still supported?
5.3.12 | Ductless Heat Pumps | RS-HVC-DHP-V07-190101 | 2021-01-01 | Low | Low impact measure
5.3.15 | ENERGY STAR Ceiling Fan | RS-HVC-CFAN-V03-200101 | 2021-01-01 | Low | Low impact measure.
5.4.9 | Shower Timer | RS-DHW-SHTM-V03-190101 | 2021-01-01 | Low | Low impact measure. Unlikely to be any changes
5.7.1 | High Efficiency Pool Pumps | RS-MSC-RPLP-V02-190101 | 2021-01-01 | Low | Low impact measure. Unlikely to be any changes

## Tracker (hidden)
Request Summary | Request Type | Measure Code (existing measure) | Measure Section (for new measures only) | Requester Name | Requester Company | Work Paper Completed | Status | Input Priority | Proposed Measure Priority | Reason | Workpaper Required | Responsible company
Energy efficient hydraulic oils | New measure request |  |  | Adam McMurtrey | ExxonMobil | TRUE | Open | (2) Medium | Low | Not clear of utility planning to implement the measure | Y | ExxonMobil
Energy Efficient Gear Oils | New measure request |  | 4.7 C&I Miscellaneous End Use | Adam McMurtrey | ExxonMobil | FALSE | Open | (2) Medium | Low | Not clear of utility planning to implement the measure | Y | ExxonMobil
Update Baseline Wattage Tables | Change to existing measure | 4.5.4 C&I LED Bulbs and Fixtures | 4.5 C&I Lighting End Use | Andrey Gribovich | DNV GL | FALSE | Open | (1) High | High | High impact measure | Y | DNV GL
Add measure for installing new or retrofitting existing coolers/freezers with doors | New measure request |  | 4.6 C&I Refrigeration End Use | Andrey Gribovich | DNV GL / ICF | FALSE | Open | (2) Medium | High | Potential high savings - has been worked on for two years and should get resolved | Y | DNV GL / ICF
Infrared Heaters | Change to existing measure | 4.4.12 C&I Infrared Heaters (all sizes), Low Inte |  | Angie Ziech-Malek | CLEAResult | TRUE | Open | (2) Medium | Medium | Low impact measure but straightforward change | Y | CLEAResult
Lighting Controls | Change to existing measure | 4.5.10 C&I Occupancy Sensor Lighting Controls |  | Angie Ziech-Malek | CLEAResult | TRUE | Open | (2) Medium | Medium | Medium impact measure and simple update | Y | CLEAResult
Baseline efficiency for fuel conversion | Change to existing measure | 5.3.12 RES Ductless Heat Pumps |  | Angie Ziech-Malek | CLEAResult | FALSE | Open | (2) Medium | Low | Measure already provides defaults. Not sure of ask here | ? | CLEAResult
Tank Insulation | New measure request |  | 4.3 C&I Hot Water | Angie Ziech-Malek | CLEAResult | TRUE | Open | (2) Medium | Medium | Not likely a high impact measure | Y | CLEAResult
Switch reluctance motors | New measure request |  | 4.7 C&I Miscellaneous End Use | Angie Ziech-Malek | CLEAResult | FALSE | Open | (2) Medium | Low | Potentially a niche product with low potential? | Y | CLEAResult
Magnetic bearing chillers | New measure request |  | 4.4 C&I HVAC End Use | Angie Ziech-Malek | CLEAResult | FALSE | Open | (2) Medium | Not progressing | Not clear why the current measure 4.4.6 does not cover this? | N/A
Variable speed direct drive chillers | New measure request |  | 4.4 C&I HVAC End Use | Angie Ziech-Malek | CLEAResult | FALSE | Open | (2) Medium | Not progressing | Not clear why the current measure 4.4.6 does not cover this? | N/A
Question Regarding ECMs | Question/Clarification | 5.3.5 RES Furnace Blower Motor |  | Angie Ziech-Malek | CLEAResult | FALSE | Open | (2) Medium | High | Quick question response (answer is yes!) | N | VEIC
Heat Pump Consolidation | Question/Clarification |  |  | Angie Ziech-Malek | CLEAResult | FALSE | Open | (2) Medium | Not progressing | Prefer not to consolidate as DMSHP tend to relate to displacing some of load v ASHP being whole home. We have discussed fuel switching before and we do not believe there is the policy support for this. | N/A
Update APS In-Service Rate | Change to existing measure |  |  | Ariel Crowley | Guidehouse | FALSE | Open | (2) Medium | High | Medium impact measure, key input with questionable existing assumption | Y | Guidehouse
Air & Water Source Heat Pump Systems | Change to existing measure | 4.4.9 C&I Heat Pump Systems |  | Brian Yeung | Slipstream | FALSE | Open | (3) Low | Low | Likely a low impact change | Y | Slipstream
Adsorption Air Cleaning Revision | Change to existing measure | 4.4.45 Adsorbant Air Cleaning |  | Brian Yeung | Slipstream | FALSE | Open | (2) Medium | High | Provisional measure from v8 | Y | Slipstream
Luminaire Level Lighting Controls | New measure request |  | 4.5 C&I Lighting End Use | Brian Yeung | Slipstream | FALSE | Open | (2) Medium | High | Growing and potential high impact measure | Y | Slipstream
HER Persistence Factor Updates | Change to existing measure | 6.1.1 Adjustments to Behavior Savings to Account for Persistence |  | Carly Olig | Guidehouse | FALSE | Open | (2) Medium | High | High impact measure, key assumption for CPAS. | Y | Guidehouse
Add other heating systems to the heating penalty | Change to existing measure | 5.3.5 RES Furnace Blower Motor |  | Cassandra Wright | Guidehouse | FALSE | Open | (2) Medium | Low | The ASHP savings includes the heating penalty. Electric furnace likely very low impact. | Y | Guidehouse
Possible Errata: EFLH for MF High Rise - Common Area | Correction of TRM mistake | 4.4 C&I HVAC End Use |  | Charles Ampong | Guidehouse | FALSE | Open | (2) Medium | High | VEIC will review. | N | VEIC
Revise DHW efficiency factor to reflect actual savings | Change to existing measure | 4.3.1 C&I Storage Water Heater |  | Cliff Zimmerman | Franklin Energy | FALSE | Open | (2) Medium | Medium | Easy fix, though not sure why anyone would use different draw patterns for base v efficient? | N | VEIC
Revise DHW efficiency factor to reflect actual savings | Change to existing measure | 5.4.2 RES Gas Water Heater |  | Cliff Zimmerman | Franklin Energy | FALSE | Open | (2) Medium | Medium | Medium impact measure. Requester raises some concerns on methodology. | Y | Franklin Energy
Recommend a new Measure Cost | Change to existing measure | 4.3.6 C&I Ozone Laundry |  | Cliff Zimmerman | Franklin Energy | FALSE | Open | (1) High | High | Low impact measure, but easy update that may have significant impact on cost effectiveness screening. | Y | Franklin Energy
Smart Sockets | New measure request |  | 4.7 C&I Miscellaneous End Use | Cliff Zimmerman | Franklin Energy | FALSE | Open | (2) Medium | Low | Are there any decent evaluation studies? | Y | Franklin Energy
Thermostatic Radiator Valves | New measure request |  | 4.4 C&I HVAC End Use | Cliff Zimmerman | Franklin Energy | FALSE | Open | (2) Medium | Low | Behavior measure? On its own this does not save energy. | Y | Franklin Energy
Wireless Pneumatic Thermostats (WPT) | New measure request |  | 4.4 C&I HVAC End Use | Cliff Zimmerman | Franklin Energy | FALSE | Open | (2) Medium | Low | How different to the commercial thermostat measure? | Y | Franklin Energy
Demand Response Water Heater | New measure request | 4.3.1 C&I Storage Water Heater |  | Cliff Zimmerman | Franklin Energy | FALSE | Open | (2) Medium | Not progressing | Can this not already be implemented through the current measure 4.3.1 | N/A
Advanced Power Strip for home office | New measure request |  | 5.2 Residential Consumer Electronics End Use | Cliff Zimmerman | Franklin Energy | FALSE | Open | (2) Medium | Not progressing | Tier 1 APS already applies for office. All studies we are aware of for Tier 2 relate to APS in entertainment. | N/A
Changes to 4.1.11 Commercial LED Grow Lighting | Change to existing measure | 4.1 C&I Agricultural End Use |  | Dan Minarcik | Franklin Energy | FALSE | Open | (1) High | Medium | Low but growing impact measure. Appears to be easy update. | Y | Franklin Energy
Agricultural measure minor errors | Correction of TRM mistake |  |  | Dan Minarcik | Franklin Energy | FALSE | Open | (2) Medium | High | Quick updates | N | VEIC
New Measure: Energy Efficient UPS or Rectifier | New measure request |  | 4.7 C&I Miscellaneous End Use | Dan Minarcik | Franklin Energy | FALSE | Open | (2) Medium | Low | Is this different to 4.8.9 High Frequency Battery Chargers | Y | Franklin Energy
New Measure: Dairy Farm Long Daylight | New measure request |  | 4.1 C&I Agricultural End Use | Dan Minarcik | Franklin Energy | FALSE | Open | (2) Medium | Not progressing | VEIC believe that the current lighting measures should be used for these applications, using a custom input for appropriate HOU. | N/A
New Measure: Poultry Farm LED Lighting | New measure request |  | 4.1 C&I Agricultural End Use | Dan Minarcik | Franklin Energy | FALSE | Open | (2) Medium | Not progressing | VEIC believe that the current lighting measures should be used for these applications, using a custom input for appropriate HOU. | N/A
New Measure: Swine Heat Pads | New measure request |  | 4.1 C&I Agricultural End Use | Dan Minarcik | Franklin Energy | FALSE | Open | (2) Medium | Low | Likely to be low savings measure | Y | Franklin Energy
New Measure: Switch Peripheral Equipment Consolidation | New measure request |  | 4.7 C&I Miscellaneous End Use | Dan Minarcik | Franklin Energy | FALSE | Open | (2) Medium | Not progressing | May be more appropriate as custom measure? | N/A
Create Agricultural Loadshape(s) and Models | Question/Clarification |  | 4.5 C&I Lighting End Use | Dan Minarcik | Franklin Energy | FALSE | Open | (1) High | Medium | Low but growing impact measures. Would be good to have loadshapes developed if there is data to base them upon. | Y | Franklin Energy
Add New Measure for Building Schedule Optimization | New measure request |  | 4.4 C&I HVAC End Use | Elder Calderon | ComEd | TRUE | Open | (2) Medium | Not progressing | How different to the commercial thermostat measure? | N/A
Add new measure to repair a broken photocell | New measure request |  |  | Elder Calderon | ComEd | FALSE | Open | (2) Medium | Low | If this isn't required by code, could be ok as long as savings aren't double counted with initial install. | Y | ComEd
Add new measure for reducing compressed air setpoint | New measure request |  |  | Elder Calderon | ComEd | FALSE | Open | (2) Medium | Low | Behavioral measure - policy implications? How do you ensure this turn down continues? | Y | ComEd
Computer Power Management Features | New measure request |  |  | Elder Calderon | ComEd | FALSE | Open | (2) Medium | Not progressing | We already have measure 4.8.3 Computer Management Software | N/A
New measure request to Manually Turn Off Lighting | New measure request |  |  | Elder Calderon | ComEd | FALSE | Open | (2) Medium | Not progressing | Behavioral measure - policy implications? | N/A
Modified Blower Door Subtraction reference link | Change to existing measure | 5.3.4 RES Duct Insulation and Sealing |  | Haley Keegan | Resource Innovations | FALSE | Open | (2) Medium | High | High impact measure and quick update | N | VEIC
Inconsistency in Basement Sidewall Insulation algorithm | Correction of TRM mistake | 5.6.2 RES Basement Sidewall Insulation |  | Haley Keegan | Resource Innovations | FALSE | Open | (2) Medium | High | Very quick fix | N | VEIC
A new measure: Air Deflector for Unit Ventilator | New measure request |  | 4.4 C&I HVAC End Use | Hardik Shah | GTI | FALSE | Open | (1) High | High | Provisional measure from v8 | Y | GTI
Income Eligible Program Baseline Adjustments | Change to existing measure |  |  | Jacob Stoll | ComEd | FALSE | Open | (3) Low | Medium | Consider working group to discuss and plan | ?
WAML calculation for lighting for 2020 IL-TRM | Question/Clarification |  |  | Jacob Stoll | ComEd | FALSE | Open | (1) High | High | Will discuss in Lighting Working group. May be a moot point with new calculation methodology | N | VEIC
Typo / Quick fixes |  |  |  | Jake Ahrens | VEIC | FALSE | Open | (2) Medium | Medium | Multiple low impact quick fixes | N | VEIC
Federal Standard update for ENERGY STAR computers | Change to existing measure |  |  | Jake Ahrens | VEIC | FALSE | Open | (2) Medium | High | Low impact measure but updating standards. | Y | VEIC
Resdiential sized Boiler Federal Standard update (Commercial measure) | Change to existing measure | 4.4.10 C&I High Efficiency Boiler |  | Jake Ahrens | VEIC | FALSE | Open | (2) Medium | High | Medium impact measure and standard update | Y | VEIC
Update RES Advanced Tstat Cooling Savings Factor | Change to existing measure | 5.3.16 Advanced Thermostats |  | Jason Lai | Guidehouse | FALSE | Open | (2) Medium | High | High impact measure. Key assumption | Y | Guidehouse
Possible Errata: ENERGY STAR Clothes Washers | Correction of TRM mistake | 5.1.2 RES ENERGY STAR and CEE Tier 2 and 3 Clothe |  | Jennifer Ma | Guidehouse | FALSE | Open | (2) Medium | Medium | Medium impact measure. Likely simply a rounding issue. | N | VEIC
Update IC for water temp setback | Change to existing measure | 5.4.6 RES Water Heater Temperature Setback |  | Jennifer Morris | ICC Staff | FALSE | Open | (1) High | Medium | Low impact measure but quick fix | N | VEIC
Voltage Optimization Measure | New measure request |  |  | Jennifer Morris | ICC Staff | FALSE | Open | (1) High | High | High priority measure for utilities | Y | ICC Staff
Electric Vehicles | New measure request |  |  | Jim Fay | ComEd | FALSE | Open | (2) Medium | Not progressing | Have policy issues been resolved? Claiming savings for gasoline? | N/A
Update the LED Baseline Descriptions in 4.5.4 | Change to existing measure | 4.5.4 C&I LED Bulbs and Fixtures |  | Julie Barstow | Guidehouse | FALSE | Open | (2) Medium | High | High impact measure, quick update. Believe this is a typo. | N | VEIC
Update EUL: LED Streetlighting and Lighting Controls | Change to existing measure | 4.5 C&I Lighting End Use |  | Karen Maoz | Guidehouse | FALSE | Open | (2) Medium | High | High impact measure. Key CPAS assumption | Y | Guidehouse
Update the "if unknown" assumptions for furnaces using Illinois program data | Change to existing measure | 5.3.7 RES Gas High Efficiency Furnace | 5.3 Residential HVAC End Use | Kevin Grabner | Guidehouse | FALSE | Open | (2) Medium | High | High impact measure. Key assumption | Y | Guidehouse
Provide default values as an option for custom efficiency inputs for Non-Residential process and space heating boiler tune-ups | Change to existing measure | 4.4 C&I HVAC End Use | 4.4 C&I HVAC End Use | Kevin Grabner | Guidehouse | FALSE | Open | (2) Medium | Medium | Low impact measure but key input. | Y | Guidehouse
Add an In-Service Rate for self install through kit distribution | Change to existing measure | 5.4.1 RES Domestic Hot Water Pipe Insulation | 5.4 Residential Hot Water End Use | Kevin Grabner | Guidehouse | FALSE | Open | (2) Medium | Medium | Medium impact measure, quick update. | Y | Guidehouse
Update the gas heating savings factor for small commercial standard programmable thermostats | Change to existing measure | 4.4.18 C&I Small Commercial Programmable Thermostats | 4.4 C&I HVAC End Use | Kevin Grabner | Guidehouse | FALSE | Open | (2) Medium | High | Provisional measure from v8. Note timing of results may not work for this update. | Y | Guidehouse
Refine the guidance for Pipe Insulation Thermal Regain Factors | Change to existing measure | 4.4.14 C&I Pipe Insulation |  | Kevin Grabner | Guidehouse | FALSE | Open | (2) Medium | Medium | Medium impact measure. | Y | Guidehouse
Add Commercial Energy Management System Gas measure | New measure request |  | 4.4 C&I HVAC End Use | Kevin Grabner | Guidehouse | FALSE | Open | (2) Medium | Medium | If evaluation data allows for appropriate Rx measure. | Y | Guidehouse
Correct equations for Covers and Gap Sealers | Correction of TRM mistake |  |  | Kristofer KIsyznski | Elevate Energy | FALSE | Open | (2) Medium | High | Low impact measure but if there is an error should be fixed. | Y | Elevate Energy
Steam Trap Replacement or Repair | Change to existing measure | 4.4.16 C&I Steam Trap Replacement or Repair |  | Kristofer Kiszynski | Elevate Energy | FALSE | Open | (2) Medium | High | High impact measure. | Y | Elevate Energy
NEW Residential Measure - Dirty Furnace Filter Whistle | New measure request |  | 5.3 Residential HVAC End Use | Lee Moran | Resource Action Programs (dba Franklin Energy Services) | FALSE | Open | (1) High | High | Provisional measure from v8 | Y | Resource Action Programs (dba Franklin Energy Services)
Standardize EUL language | Change to existing measure |  |  | Matt Drury | Opinion Dynamics | FALSE | Open | (2) Medium | Low | If time allows. | N | VEIC
Update measure results based on cooling data collected during 2019 | Change to existing measure | 4.4.45 Adsorbant Air Cleaning |  | Mike Frischmann | EcoMetric Consulting | FALSE | Open | (2) Medium | High | Provisional measure from v8 | Y | EcoMetric Consulting
EISA Extension for Income Eligible Customer | Change to existing measure | 5.5.8 RES LED Screw Based Omnidirectional Bulbs |  | Molly Lunn | ComEd | FALSE | Open | (2) Medium | High | Being discussed in Lighting Forecast group | N | VEIC
Update SCPT Cooling Savings Factor | Change to existing measure | 4.4.18 C&I Small Commercial Programmable Thermostats |  | Paul Higgins | Guidehouse | FALSE | Open | (2) Medium | High | Provisional measure from v8 | Y | Guidehouse
Drain Water Heat Recovery | New measure request |  | 4.7 C&I Miscellaneous End Use | Randy Opdyke | Nicor Gas | FALSE | Open | (2) Medium | High | Potential good measure for NC | Y | Nicor Gas
Revision to Pipe Insulation Workpaper | Change to existing measure | 4.4.14 C&I Pipe Insulation |  | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | FALSE | Open | (2) Medium | Medium | Medium impact measure | Y | Nicor Gas/GTI
Venturi Steam Traps | New measure request |  | 4.4 C&I HVAC End Use | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | FALSE | Open | (1) High | High | High impact measure. Suggest addition to existing measure with extended life and new cost assumption for these? | Y | Nicor Gas/GTI
Low-E Interior Storm Windows | New measure request |  | 4.7 C&I Miscellaneous End Use | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | FALSE | Open | (1) High | High | Potentially good measure. | Y | Nicor Gas/GTI
Commercial Boiler Descaling | New measure request |  | 4.4 C&I HVAC End Use | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | FALSE | Open | (1) High | Not progressing | VEIC consider this a part of boiler tune-up measure and do not think its appropriate to try and isolate this action. Further, the new boiler measure assumes a constant efficiency over its lifetime and we would consider this standard practice to maintaint the claimed efficiency. | Y | Nicor Gas/GTI
Hydronic Heating Radiator Replacements | New measure request |  | 4.4 C&I HVAC End Use | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | FALSE | Open | (1) High | Low | Potentially low impact measure. Cost effectiveness issues as retrofit. | Y | Nicor Gas/GTI
For v9 - adding PJM Winter Peak | Change to existing measure |  |  | Rick Berry | Navigant | FALSE | Open | (2) Medium | Medium | Discuss selection of a select number of high impact measures that could have a winter CF developed. | ?
Add Default Motor Size to 4.6.4 (EC Evap Fans) | Change to existing measure | 4.6.4 C&I Electronically Commutated Motors (ECM) |  | Rick Berry | Guidehouse | FALSE | Open | (2) Medium | Medium | Medium impact measure. Quick update | Y | Guidehouse
Update ENERGY STAR Air Cleaner Measure | Change to existing measure | 5.1.1 RES ENERGY STAR Air Purifier/Cleaner |  | Rick Berry | Guidehouse | FALSE | Open | (2) Medium | High | Medium impact measure and standard update | Y | Guidehouse
Update ENERGY STAR Refrigerated Beverage Vending Machine Measure | Change to existing measure | 4.6.5 C&I ENERGY STAR Refrigerated Beverage Vendi |  | Rick Berry | Guidehouse | FALSE | Open | (2) Medium | High | Low impact measure but standard update | Y | Guidehouse
Update the LED Case Lighting Wattages | Change to existing measure | 4.5.4 C&I LED Bulbs and Fixtures |  | Rick Berry | Guidehouse | FALSE | Open | (2) Medium | Medium | Lower impact type in high impact measure | Y | Guidehouse
Account for Sensors in HOU in Lighting Algorithm | Change to existing measure | 4.5.4 C&I LED Bulbs and Fixtures |  | Rick Berry | Guidehouse | FALSE | Open | (2) Medium | High | High impact measure | Y | Guidehouse
Add Dew Point Demand Control Measure | New measure request |  |  | Rick Berry | Guidehouse | FALSE | Open | (2) Medium | High | Potentially good savings measure. | Y | Guidehouse
Add Compressed Air Heat Recovery Measure | New measure request |  |  | Rick Berry | Guidehouse | FALSE | Open | (2) Medium | High | Potentially good savings measure | Y | Guidehouse
Clarify the intended application of daylight sensors | Question/Clarification | 4.5.10 C&I Occupancy Sensor Lighting Controls |  | Rick Berry | Guidehouse | FALSE | Open | (2) Medium | High | Quick update. Should discuss whether exterior photo cell should be added. | N | VEIC
Clarify Drug Store/Pharmacy Classification | Question/Clarification |  |  | Rick Berry | Guidehouse | FALSE | Open | (2) Medium | High | Quick update. | N | VEIC
Residential Tankless Water Heater De-Rating | Question/Clarification | 5.4.2 RES Gas Water Heater |  | Rick Berry | Guidehouse | FALSE | Open | (2) Medium | Medium | Medium impact measure. | N | VEIC
Peak Savings from Furnace Blower Motors | Question/Clarification | 5.3.5 RES Furnace Blower Motor |  | Rick Berry | Guidehouse | FALSE | Open | (2) Medium | Medium | Quick clarification | N | VEIC
Clarification on "actual hours" in VSD measures | Question/Clarification | 4.4.17 C&I Variable Speed Drives for HVAC |  | Rick Berry | Guidehouse | FALSE | Open | (2) Medium | Medium | Medium impact measure | N | VEIC
Discuss whether we can remove IECC 2012 assumptions for New Construction projects |  |  |  | Sam Dent | VEIC | FALSE | Open | (2) Medium | Low | No impact to measures, but good to clean up if appropriate | N | VEIC
Update discount rate in section 3.9, volume 1 | Change to existing measure |  |  | Sam Dent | VEIC | FALSE | Open | (2) Medium | High | Required update | N | VEIC
For v9 - review requirement for field testing for APS | Change to existing measure | 5.2.2 Tier 2 Advanced Power Strips (APS) - Residential Audio Visual |  | Sam Dent | VEIC | FALSE | Open | (2) Medium | Medium | Medium impact measure. Contentious issue. | N | VEIC
ESTAR Most Efficient Dehumidifier critiera update | Change to existing measure | 5.1.3 RES ENERGY STAR Dehumidifier |  | Sam Dent | VEIC | FALSE | Open | (2) Medium | High | Medium impact measure and standard update | Y | VEIC
ENERGY STAR Water Coolers | Change to existing measure |  |  | Sam Dent | VEIC | FALSE | Open | (2) Medium | Low | Low impact measure. Standard update but unlikely to impact 2021 | Y | VEIC
Review lifetime and mid-life assumptions for Boiler Reset Controls | Change to existing measure | 5.3.14 RES Boiler Reset Controls |  | Sam Dent | VEIC | FALSE | Open | (2) Medium | Medium | Low impact measure but potential inappropriate use of midlife adjustment. | Y | VEIC
Upcoming fedeal standard change for residential boilers | Change to existing measure | 5.3.6 RES Gas High Efficiency Boiler |  | Sam Dent | VEIC | FALSE | Open | (2) Medium | High | Medium impact measure and standard update | Y | VEIC
Review proposed 2020 lighting standards | Question/Clarification |  |  | Sam Dent | VEIC | FALSE | Open | (2) Medium | High | Lighting forecast working group | N | VEIC
Vortex Tube Thermostat | Question/Clarification |  |  | Sam Dent | VEIC | FALSE | Open | (2) Medium | High | Provisional measure from v8. Any new information? | Y | VEIC
Review Linear Fixture assumptions | Question/Clarification | 4.5.4 C&I LED Bulbs and Fixtures |  | Sam Dent | VEIC | FALSE | Open | (2) Medium | High | Lighting forecast working group | N | VEIC
Add measure for Compressed Air Storage Receiver Tank | New measure request |  | 4.7 C&I Miscellaneous End Use | Sean Lanners | Nexant | FALSE | Open | (2) Medium | High | Potentially good savings measure | Y | Nexant
Add definition of "Public Sector" | Correction of TRM mistake |  |  | Simon Nowak | 360 Energy Group | FALSE | Open | (1) High | Medium | No impact but good to have | N | VEIC
Divide "Public Sector" building type into various building types | Correction of TRM mistake |  |  | Simon Nowak | 360 Energy Group | FALSE | Open | (1) High | Not progressing | Discussed last year. We can only divide where we have good data to base it upon. | N | VEIC
Add "Public Sector" building type for VSD Measure | Change to existing measure | 4.4.17 C&I Variable Speed Drives for HVAC |  | Stephanie Scheel | Willdan | TRUE | Open | (2) Medium | Medium | VEIC will review. | N | VEIC
Add "Public Sector" building type for Advanced Rooftop Controls (ARC) | Change to existing measure | 4.4.41 Advanced Rooftop Controls |  | Stephanie Scheel | Willdan | TRUE | Open | (2) Medium | Medium | VEIC will review. | N | VEIC
Clarify savings allocation between gas and electric utilities | Change to existing measure | 4.4.32 C&I Combined Heat and Power |  | Thomas Manjarres | Franklin Energy | FALSE | Open | (1) High | Medium | Franklin work with Chris Neme to clarify. | Y | Franklin Energy
Correct error in hot water per load in 5.1.12 Ozone Laundry (residential) | Correction of TRM mistake |  |  | Thomas Manjarres | Franklin Energy | FALSE | Open | (2) Medium | Medium | Low impact measure but potential error. | N | VEIC
Discuss Possibility of Deeming ISR for Water Heater Temperature Setbacks in Kits | Change to existing measure | 5.4.6 RES Water Heater Temperature Setback |  | Zach Ross | Opinion Dynamics | FALSE | Open | (2) Medium | Medium | Low impact measure but will help streamline implementation | Y | Opinion Dynamics
Add default value or guidance for HSPF adjustment | Change to existing measure | 5.3.1 RES Air Source Heat Pump |  | Zach Ross | Opinion Dynamics | FALSE | Open | (2) Medium | Medium | Medium impact measure | Y | Opinion Dynamics
Streetlighting Measure Update | Change to existing measure | 4.5.16 LED Streetlighting |  | Zach Ross | Opinion Dynamics | FALSE | Open | (2) Medium | High | High impact measure | Y | Opinion Dynamics
Remove "custom analysis" language from 4.4.26 | Correction of TRM mistake | 4.4.26 C&I Variable Speed Drivers for HVAC Supply and Return Fans |  | Zach Ross | Opinion Dynamics | FALSE | Open | (2) Medium | High | Quick update - not sure it needs to be an errata as doesn't impact savings calculations. | N | VEIC
Add Clarification to kW Calculation for Water-Saving Measures with Secondary kWh Impacts | Question/Clarification | 5.4 RES Hot Water End Use |  | Zach Ross | Opinion Dynamics | FALSE | Open | (2) Medium | High | Impacts many measures. | N | VEIC

## Measure Impact Summary
Electric | High (up to 80% of PF) | Residential LED | Gas | High (up to 80% PF) | Residential Advanced Thermostat
|  | Commercial LED |  |  | Residential Showerhead
|  | LED Streetlighting |  |  | SEM
|  | Home Energy Reports |  |  | Residential Kitchen Aerator
|  | Refrigerator Recycling |  |  | Building Energy Management System
|  | Smart Thermostat |  |  | Residential Shower Timer
|  | Leak Repair |  |  | Steam Trap Replacement or Repair
|  | Building Energy Management System |  |  | Wall and Ceiling/Attic Insulation
| Medium (80-95%) | VSD on hvac fan or pump |  |  | Residential Furnace
|  | Data Centers |  |  | Non-Res Boiler Tune Up
|  | Res Furnace fan |  |  | Home Energy Report
|  | EC Motor for Reach-in Cooler or Freezer |  |  | Residential Pipe insulation
|  | Advanced Power Strip POS 7 |  |  | Residential Air sealing
|  | EC Motor with Evaporator Fan Controls for Walk-in Cooler and Freezer |  | Medium (80-95%) | Residential Bathroom Aerator
|  | Water-Cooled Chiller |  |  | Residential Ductless Mini Split HP
|  | Air Purifier |  |  | Commercial weather stripping
|  | Anti-Sweat Heater Controls for Glass Door Cooler or Refrigerator |  |  | Economizer with DCV (Gas heating)
|  | Freezer Recycling |  |  | Residential Clothes Washer
|  | Dehumidifier |  |  | Residential Boiler
|  | Air Compressor(s) with Integrated VSD <=200 HP |  |  | Residential Programmable Thermostat
|  | Residential central AC |  |  | Floor Insulation Above Crawl Space
|  | Occupancy Sensors |  |  | Non res Pipe insulation
|  | VSD Air Compressor |  |  | Non res Boiler
|  | Non-programmable thermostat to Smart or Advanced Thermostat |  |  | Residential High Efficiency Water Heater
|  | Remote mounted Occupancy Sensor |  |  | Non Residential Insulation
|  | Air Nozzles |  | Low | All others
Residential Showerhead
Residential Clothes Washer
Variable Speed Drives for HVAC Pumps and Cooling Tower Fans
Wall and Ceiling/Attic Insulation
Door Heater Controls for Cooler or Freezer
Residential Air Source Heat Pump
T5 Fixtures and Lamps
| Low | All others

## Draft Prioritized Items
Request Summary | Request Type | Measure Code (existing measure) | Measure Section (for new measures only) | Requester Name | Requester Company | Proposed Measure Priority | Reason | Work paper Required | Workpaper Responsible Company | Potential TAC or Working Group (WG) Discussion
Update Baseline Wattage Tables | Change to existing measure | 4.5.4 C&I LED Bulbs and Fixtures | 4.5 C&I Lighting End Use | Andrey Gribovich | DNV GL | High | High impact measure | Y | DNV GL | N
Question Regarding ECMs | Question/Clarification | 5.3.5 RES Furnace Blower Motor |  | Angie Ziech-Malek | CLEAResult | High | Quick question response (answer is yes!) | N | N/A | N
Update APS In-Service Rate | Change to existing measure | 5.2.2 Tier 2 Advanced Power Strips (APS) - Residential Audio Visual |  | Ariel Crowley | Guidehouse | High | Medium impact measure, key input with questionable existing assumption | Y | Guidehouse | N
Adsorption Air Cleaning Revision | Change to existing measure | 4.4.45 Adsorbant Air Cleaning |  | Brian Yeung | Slipstream | High | Provisional measure from v8 | Y | Slipstream | TAC
HER Persistence Factor Updates | Change to existing measure | 6.1.1 Adjustments to Behavior Savings to Account for Persistence |  | Carly Olig | Guidehouse | High | High impact measure, key assumption for CPAS. | Y | Guidehouse | WG
Possible Errata: EFLH for MF High Rise - Common Area | Correction of TRM mistake | 4.4 C&I HVAC End Use |  | Charles Ampong | Guidehouse | High | VEIC will review. | N | N/A | N
Recommend a new Measure Cost | Change to existing measure | 4.3.6 C&I Ozone Laundry |  | Cliff Zimmerman | Franklin Energy | High | Low impact measure, but easy update that may have significant impact on cost effectiveness screening. | Y | Franklin Energy | N
Agricultural measure minor errors | Correction of TRM mistake |  |  | Dan Minarcik | Franklin Energy | High | Quick updates | N | N/A | N
Modified Blower Door Subtraction reference link | Change to existing measure | 5.3.4 RES Duct Insulation and Sealing |  | Haley Keegan | Resource Innovations | High | High impact measure and quick update | N | N/A | N
Inconsistency in Basement Sidewall Insulation algorithm | Correction of TRM mistake | 5.6.2 RES Basement Sidewall Insulation |  | Haley Keegan | Resource Innovations | High | Very quick fix | N | N/A | N
WAML calculation for lighting for 2020 IL-TRM | Question/Clarification |  |  | Jacob Stoll | ComEd | High | Will discuss in Lighting Working group. May be a moot point with new calculation methodology | N | N/A | WG
Federal Standard update for ENERGY STAR computers | Change to existing measure | 4.8.6 ENERGY STAR Computers |  | Jake Ahrens | VEIC | High | Low impact measure but updating standards. | Y | VEIC | N
Resdiential sized Boiler Federal Standard update (Commercial measure) | Change to existing measure | 4.4.10 C&I High Efficiency Boiler |  | Jake Ahrens | VEIC | High | Medium impact measure and standard update | Y | VEIC | N
Update RES Advanced Tstat Cooling Savings Factor | Change to existing measure | 5.3.16 Advanced Thermostats |  | Jason Lai | Guidehouse | High | High impact measure. Key assumption | Y | Guidehouse | WG
Update the LED Baseline Descriptions in 4.5.4 | Change to existing measure | 4.5.4 C&I LED Bulbs and Fixtures |  | Julie Barstow | Guidehouse | High | High impact measure, quick update. Believe this is a typo. | N | N/A | N
Update EUL: LED Streetlighting and Lighting Controls | Change to existing measure | 4.5 C&I Lighting End Use |  | Karen Maoz | Guidehouse | High | High impact measure. Key CPAS assumption | Y | Guidehouse | N
Update the "if unknown" assumptions for furnaces using Illinois program data | Change to existing measure | 5.3.7 RES Gas High Efficiency Furnace | 5.3 Residential HVAC End Use | Kevin Grabner | Guidehouse | High | High impact measure. Key assumption | Y | Guidehouse | TAC
Update the gas heating savings factor for small commercial standard programmable thermostats | Change to existing measure | 4.4.18 C&I Small Commercial Programmable Thermostats | 4.4 C&I HVAC End Use | Kevin Grabner | Guidehouse | High | Provisional measure from v8. Note timing of results may not work for this update. | Y | Guidehouse | TAC
Correct equations for Covers and Gap Sealers | Correction of TRM mistake | 4.4.38 Covers and Gap Sealers for Room Air Conditioners |  | Kristofer KIsyznski | Elevate Energy | High | Low impact measure but if there is an error should be fixed. | Y | Elevate Energy | N
Steam Trap Replacement or Repair | Change to existing measure | 4.4.16 C&I Steam Trap Replacement or Repair |  | Kristofer Kiszynski | Elevate Energy | High | High impact measure. | Y | Elevate Energy | TAC
Update measure results based on cooling data collected during 2019 | Change to existing measure | 4.4.45 Adsorbant Air Cleaning |  | Mike Frischmann | EcoMetric Consulting | High | Provisional measure from v8 | Y | EcoMetric Consulting | TAC
EISA Extension for Income Eligible Customer | Change to existing measure | 5.5.8 RES LED Screw Based Omnidirectional Bulbs |  | Molly Lunn | ComEd | High | Being discussed in Lighting Forecast group | N | N/A | WG
Update SCPT Cooling Savings Factor | Change to existing measure | 4.4.18 C&I Small Commercial Programmable Thermostats |  | Paul Higgins | Guidehouse | High | Provisional measure from v8 | Y | Guidehouse | TAC
Update ENERGY STAR Air Cleaner Measure | Change to existing measure | 5.1.1 RES ENERGY STAR Air Purifier/Cleaner |  | Rick Berry | Guidehouse | High | Medium impact measure and standard update | Y | Guidehouse | N
Update ENERGY STAR Refrigerated Beverage Vending Machine Measure | Change to existing measure | 4.6.5 C&I ENERGY STAR Refrigerated Beverage Vendi |  | Rick Berry | Guidehouse | High | Low impact measure but standard update | Y | Guidehouse | N
Account for Sensors in HOU in Lighting Algorithm | Change to existing measure | 4.5.4 C&I LED Bulbs and Fixtures |  | Rick Berry | Guidehouse | High | High impact measure | Y | Guidehouse | TAC
Clarify the intended application of daylight sensors | Question/Clarification | 4.5.10 C&I Occupancy Sensor Lighting Controls |  | Rick Berry | Guidehouse | High | Quick update. Should discuss whether exterior photo cell should be added. | N | N/A | TAC
Clarify Drug Store/Pharmacy Classification | Question/Clarification |  |  | Rick Berry | Guidehouse | High | Quick update. | N | N/A | N
Update discount rate in section 3.9, volume 1 | Change to existing measure |  |  | Sam Dent | VEIC | High | Required update | N | N/A | TAC
ESTAR Most Efficient Dehumidifier critiera update | Change to existing measure | 5.1.3 RES ENERGY STAR Dehumidifier |  | Sam Dent | VEIC | High | Medium impact measure and standard update | Y | VEIC | N
Upcoming fedeal standard change for residential boilers | Change to existing measure | 5.3.6 RES Gas High Efficiency Boiler |  | Sam Dent | VEIC | High | Medium impact measure and standard update | Y | VEIC | N
Review proposed 2020 lighting standards | Question/Clarification |  |  | Sam Dent | VEIC | High | Lighting forecast working group | N | N/A | WG
Vortex Tube Thermostat | Question/Clarification | 4.7.6 Vortex Tube Thermostat - Provisional Measure |  | Sam Dent | VEIC | High | Provisional measure from v8. Any new information? | Y | VEIC | TAC
Review Linear Fixture assumptions | Question/Clarification | 4.5.4 C&I LED Bulbs and Fixtures |  | Sam Dent | VEIC | High | Lighting forecast working group | N | N/A | WG
Streetlighting Measure Update | Change to existing measure | 4.5.16 LED Streetlighting |  | Zach Ross | Opinion Dynamics | High | High impact measure | Y | Opinion Dynamics | TAC
Remove "custom analysis" language from 4.4.26 | Correction of TRM mistake | 4.4.26 C&I Variable Speed Drivers for HVAC Supply and Return Fans |  | Zach Ross | Opinion Dynamics | High | Quick update - not sure it needs to be an errata as doesn't impact savings calculations. | N | N/A | N
Add Clarification to kW Calculation for Water-Saving Measures with Secondary kWh Impacts | Question/Clarification | 5.4 RES Hot Water End Use |  | Zach Ross | Opinion Dynamics | High | Impacts many measures. | N | N/A | TAC
Infrared Heaters | Change to existing measure | 4.4.12 C&I Infrared Heaters (all sizes), Low Inte |  | Angie Ziech-Malek | CLEAResult | Medium | Low impact measure but straightforward change | Y | CLEAResult | N
Lighting Controls | Change to existing measure | 4.5.10 C&I Occupancy Sensor Lighting Controls |  | Angie Ziech-Malek | CLEAResult | Medium | Medium impact measure and simple update | Y | CLEAResult | N
Revise DHW efficiency factor to reflect actual savings | Change to existing measure | 4.3.1 C&I Storage Water Heater |  | Cliff Zimmerman | Franklin Energy | Medium | Easy fix, though not sure why anyone would use different draw patterns for base v efficient? | N | N/A | N
Revise DHW efficiency factor to reflect actual savings | Change to existing measure | 5.4.2 RES Gas Water Heater |  | Cliff Zimmerman | Franklin Energy | Medium | Medium impact measure. Requester raises some concerns on methodology. | Y | Franklin Energy | TAC
Changes to 4.1.11 Commercial LED Grow Lighting | Change to existing measure | 4.1 C&I Agricultural End Use |  | Dan Minarcik | Franklin Energy | Medium | Low but growing impact measure. Appears to be easy update. | Y | Franklin Energy | N
Create Agricultural Loadshape(s) and Models | Question/Clarification |  | 4.5 C&I Lighting End Use | Dan Minarcik | Franklin Energy | Medium | Low but growing impact measures. Would be good to have loadshapes developed if there is data to base them upon. | Y | Franklin Energy | TAC
Income Eligible Program Baseline Adjustments | Change to existing measure |  |  | Jacob Stoll | ComEd | Medium | Consider working group to discuss and plan | ? |  | TAC
Typo / Quick fixes |  |  |  | Jake Ahrens | VEIC | Medium | Multiple low impact quick fixes | N | N/A | N
Possible Errata: ENERGY STAR Clothes Washers | Correction of TRM mistake | 5.1.2 RES ENERGY STAR and CEE Tier 2 and 3 Clothe |  | Jennifer Ma | Guidehouse | Medium | Medium impact measure. Likely simply a rounding issue. | N | N/A | N
Update IC for water temp setback | Change to existing measure | 5.4.6 RES Water Heater Temperature Setback |  | Jennifer Morris | ICC Staff | Medium | Low impact measure but quick fix | N | N/A | N
Provide default values as an option for custom efficiency inputs for Non-Residential process and space heating boiler tune-ups | Change to existing measure | 4.4 C&I HVAC End Use | 4.4 C&I HVAC End Use | Kevin Grabner | Guidehouse | Medium | Low impact measure but key input. | Y | Guidehouse | N
Add an In-Service Rate for self install through kit distribution | Change to existing measure | 5.4.1 RES Domestic Hot Water Pipe Insulation | 5.4 Residential Hot Water End Use | Kevin Grabner | Guidehouse | Medium | Medium impact measure, quick update. | Y | Guidehouse | N
Refine the guidance for Pipe Insulation Thermal Regain Factors | Change to existing measure | 4.4.14 C&I Pipe Insulation |  | Kevin Grabner | Guidehouse | Medium | Medium impact measure. | Y | Guidehouse | TAC
Revision to Pipe Insulation Workpaper | Change to existing measure | 4.4.14 C&I Pipe Insulation |  | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | Medium | Medium impact measure | Y | Nicor Gas/GTI | N
For v9 - adding PJM Winter Peak | Change to existing measure |  |  | Rick Berry | Navigant | Medium | Discuss selection of a select number of high impact measures that could have a winter CF developed. | ? |  | TAC
Add Default Motor Size to 4.6.4 (EC Evap Fans) | Change to existing measure | 4.6.4 C&I Electronically Commutated Motors (ECM) |  | Rick Berry | Guidehouse | Medium | Medium impact measure. Quick update | Y | Guidehouse | N
Update the LED Case Lighting Wattages | Change to existing measure | 4.5.4 C&I LED Bulbs and Fixtures |  | Rick Berry | Guidehouse | Medium | Lower impact type in high impact measure | Y | Guidehouse | N
Residential Tankless Water Heater De-Rating | Question/Clarification | 5.4.2 RES Gas Water Heater |  | Rick Berry | Guidehouse | Medium | Medium impact measure. | N | N/A | N
Peak Savings from Furnace Blower Motors | Question/Clarification | 5.3.5 RES Furnace Blower Motor |  | Rick Berry | Guidehouse | Medium | Quick clarification | N | N/A | TAC
Clarification on "actual hours" in VSD measures | Question/Clarification | 4.4.17 C&I Variable Speed Drives for HVAC |  | Rick Berry | Guidehouse | Medium | Medium impact measure | N | N/A | TAC
For v9 - review requirement for field testing for APS | Change to existing measure | 5.2.2 Tier 2 Advanced Power Strips (APS) - Residential Audio Visual |  | Sam Dent | VEIC | Medium | Medium impact measure. Contentious issue. | N | N/A | TAC
Review lifetime and mid-life assumptions for Boiler Reset Controls | Change to existing measure | 5.3.14 RES Boiler Reset Controls |  | Sam Dent | VEIC | Medium | Low impact measure but potential inappropriate use of midlife adjustment. | Y | VEIC | TAC
Add definition of "Public Sector" | Correction of TRM mistake |  |  | Simon Nowak | 360 Energy Group | Medium | No impact but good to have | N | N/A | N
Add "Public Sector" building type for VSD Measure | Change to existing measure | 4.4.17 C&I Variable Speed Drives for HVAC |  | Stephanie Scheel | Willdan | Medium | VEIC will review. | N | N/A | N
Add "Public Sector" building type for Advanced Rooftop Controls (ARC) | Change to existing measure | 4.4.41 Advanced Rooftop Controls |  | Stephanie Scheel | Willdan | Medium | VEIC will review. | N | N/A | N
Clarify savings allocation between gas and electric utilities | Change to existing measure | 4.4.32 C&I Combined Heat and Power |  | Thomas Manjarres | Franklin Energy | Medium | Franklin work with Chris Neme to clarify. | Y | Franklin Energy | TAC
Correct error in hot water per load in 5.1.12 Ozone Laundry (residential) | Correction of TRM mistake | 5.1.12 Ozone Laundry |  | Thomas Manjarres | Franklin Energy | Medium | Low impact measure but potential error. | N | N/A | N
Discuss Possibility of Deeming ISR for Water Heater Temperature Setbacks in Kits | Change to existing measure | 5.4.6 RES Water Heater Temperature Setback |  | Zach Ross | Opinion Dynamics | Medium | Low impact measure but will help streamline implementation | Y | Opinion Dynamics | TAC
Add default value or guidance for HSPF adjustment | Change to existing measure | 5.3.1 RES Air Source Heat Pump |  | Zach Ross | Opinion Dynamics | Medium | Medium impact measure | Y | Opinion Dynamics | TAC
Baseline efficiency for fuel conversion | Change to existing measure | 5.3.12 RES Ductless Heat Pumps |  | Angie Ziech-Malek | CLEAResult | Low | Measure already provides defaults. Not sure of ask here | ? | CLEAResult | N
Air & Water Source Heat Pump Systems | Change to existing measure | 4.4.9 C&I Heat Pump Systems |  | Brian Yeung | Slipstream | Low | Likely a low impact change | Y | Slipstream | N
Add other heating systems to the heating penalty | Change to existing measure | 5.3.5 RES Furnace Blower Motor |  | Cassandra Wright | Guidehouse | Low | The ASHP savings includes the heating penalty. Electric furnace likely very low impact. | Y | Guidehouse | N
Standardize EUL language | Change to existing measure |  |  | Matt Drury | Opinion Dynamics | Low | If time allows. | N | N/A | N
Discuss whether we can remove IECC 2012 assumptions for New Construction projects |  |  |  | Sam Dent | VEIC | Low | No impact to measures, but good to clean up if appropriate | N | N/A | TAC
ENERGY STAR Water Coolers | Change to existing measure | 5.1.11 ENERGY STAR Water Coolers |  | Sam Dent | VEIC | Low | Low impact measure. Standard update but unlikely to impact 2021 | Y | VEIC | N
Heat Pump Consolidation | Question/Clarification |  |  | Angie Ziech-Malek | CLEAResult | Not progressing | Prefer not to consolidate as DMSHP tend to relate to displacing some of load v ASHP being whole home. We have discussed fuel switching before and we do not believe there is the policy support for this. | N/A | N/A | N
Divide "Public Sector" building type into various building types | Correction of TRM mistake |  |  | Simon Nowak | 360 Energy Group | Not progressing | Discussed last year. We can only divide where we have good data to base it upon. | N | N/A | N
Add measure for installing new or retrofitting existing coolers/freezers with doors | New measure request |  | 4.6 C&I Refrigeration End Use | Andrey Gribovich | DNV GL / ICF | High | Potential high savings - has been worked on for two years and should get resolved | Y | DNV GL / ICF | TAC
Luminaire Level Lighting Controls | New measure request |  | 4.5 C&I Lighting End Use | Brian Yeung | Slipstream | High | Growing and potential high impact measure | Y | Slipstream | TAC
A new measure: Air Deflector for Unit Ventilator | New measure request |  | 4.4 C&I HVAC End Use | Hardik Shah | GTI | High | Provisional measure from v8 | Y | GTI | TAC
Voltage Optimization Measure | New measure request |  |  | Jennifer Morris | ICC Staff | High | High priority measure for utilities | Y | ICC Staff | TAC
NEW Residential Measure - Dirty Furnace Filter Whistle | New measure request |  | 5.3 Residential HVAC End Use | Lee Moran | Resource Action Programs (dba Franklin Energy Services) | High | Provisional measure from v8 | Y | Resource Action Programs (dba Franklin Energy Services) | TAC
Drain Water Heat Recovery | New measure request |  | 4.7 C&I Miscellaneous End Use | Randy Opdyke | Nicor Gas | High | Potential good measure for NC | Y | Nicor Gas | TAC
Venturi Steam Traps | New measure request |  | 4.4 C&I HVAC End Use | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | High | High impact measure. Suggest addition to existing measure with extended life and new cost assumption for these? | Y | Nicor Gas/GTI | TAC
Low-E Interior Storm Windows | New measure request |  | 4.7 C&I Miscellaneous End Use | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | High | Potentially good measure. | Y | Nicor Gas/GTI | TAC
Add Dew Point Demand Control Measure | New measure request |  |  | Rick Berry | Guidehouse | High | Potentially good savings measure. | Y | Guidehouse | TAC
Add Compressed Air Heat Recovery Measure | New measure request |  |  | Rick Berry | Guidehouse | High | Potentially good savings measure | Y | Guidehouse | TAC
Add measure for Compressed Air Storage Receiver Tank | New measure request |  | 4.7 C&I Miscellaneous End Use | Sean Lanners | Nexant | High | Potentially good savings measure | Y | Nexant | TAC
Tank Insulation | New measure request |  | 4.3 C&I Hot Water | Angie Ziech-Malek | CLEAResult | Medium | Not likely a high impact measure | Y | CLEAResult | TAC
Add Commercial Energy Management System Gas measure | New measure request |  | 4.4 C&I HVAC End Use | Kevin Grabner | Guidehouse | Medium | If evaluation data allows for appropriate Rx measure. | Y | Guidehouse | TAC
Energy efficient hydraulic oils | New measure request |  |  | Adam McMurtrey | ExxonMobil | Low | Not clear of utility planning to implement the measure | Y | ExxonMobil | TAC
Energy Efficient Gear Oils | New measure request |  | 4.7 C&I Miscellaneous End Use | Adam McMurtrey | ExxonMobil | Low | Not clear of utility planning to implement the measure | Y | ExxonMobil | TAC
Switch reluctance motors | New measure request |  | 4.7 C&I Miscellaneous End Use | Angie Ziech-Malek | CLEAResult | Low | Potentially a niche product with low potential? | Y | CLEAResult | TAC
Smart Sockets | New measure request |  | 4.7 C&I Miscellaneous End Use | Cliff Zimmerman | Franklin Energy | Low | Are there any decent evaluation studies? | Y | Franklin Energy | TAC
Thermostatic Radiator Valves | New measure request |  | 4.4 C&I HVAC End Use | Cliff Zimmerman | Franklin Energy | Low | Behavior measure? On its own this does not save energy. | Y | Franklin Energy | TAC
Wireless Pneumatic Thermostats (WPT) | New measure request |  | 4.4 C&I HVAC End Use | Cliff Zimmerman | Franklin Energy | Low | How different to the commercial thermostat measure? | Y | Franklin Energy | TAC
New Measure: Energy Efficient UPS or Rectifier | New measure request |  | 4.7 C&I Miscellaneous End Use | Dan Minarcik | Franklin Energy | Low | Is this different to 4.8.9 High Frequency Battery Chargers | Y | Franklin Energy | TAC
New Measure: Swine Heat Pads | New measure request |  | 4.1 C&I Agricultural End Use | Dan Minarcik | Franklin Energy | Low | Likely to be low savings measure | Y | Franklin Energy | TAC
Add new measure to repair a broken photocell | New measure request |  |  | Elder Calderon | ComEd | Low | If this isn't required by code, could be ok as long as savings aren't double counted with initial install. | Y | ComEd | TAC
Add new measure for reducing compressed air setpoint | New measure request |  |  | Elder Calderon | ComEd | Low | Behavioral measure - policy implications? How do you ensure this turn down continues? | Y | ComEd | TAC
Hydronic Heating Radiator Replacements | New measure request |  | 4.4 C&I HVAC End Use | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | Low | Potentially low impact measure. Cost effectiveness issues as retrofit. | Y | Nicor Gas/GTI | TAC
Magnetic bearing chillers | New measure request |  | 4.4 C&I HVAC End Use | Angie Ziech-Malek | CLEAResult | Not progressing | Not clear why the current measure 4.4.6 does not cover this? | N/A |  | N
Variable speed direct drive chillers | New measure request |  | 4.4 C&I HVAC End Use | Angie Ziech-Malek | CLEAResult | Not progressing | Not clear why the current measure 4.4.6 does not cover this? | N/A |  | N
Demand Response Water Heater | New measure request | 4.3.1 C&I Storage Water Heater |  | Cliff Zimmerman | Franklin Energy | Not progressing | Can this not already be implemented through the current measure 4.3.1 | N/A |  | N
Advanced Power Strip for home office | New measure request |  | 5.2 Residential Consumer Electronics End Use | Cliff Zimmerman | Franklin Energy | Not progressing | Tier 1 APS already applies for office. All studies we are aware of for Tier 2 relate to APS in entertainment. | N/A |  | N
New Measure: Dairy Farm Long Daylight | New measure request |  | 4.1 C&I Agricultural End Use | Dan Minarcik | Franklin Energy | Not progressing | VEIC believe that the current lighting measures should be used for these applications, using a custom input for appropriate HOU. | N/A |  | N
New Measure: Poultry Farm LED Lighting | New measure request |  | 4.1 C&I Agricultural End Use | Dan Minarcik | Franklin Energy | Not progressing | VEIC believe that the current lighting measures should be used for these applications, using a custom input for appropriate HOU. | N/A |  | N
New Measure: Switch Peripheral Equipment Consolidation | New measure request |  | 4.7 C&I Miscellaneous End Use | Dan Minarcik | Franklin Energy | Not progressing | May be more appropriate as custom measure? | N/A |  | N
Add New Measure for Building Schedule Optimization | New measure request |  | 4.4 C&I HVAC End Use | Elder Calderon | ComEd | Not progressing | How different to the commercial thermostat measure? | N/A |  | N
Computer Power Management Features | New measure request |  |  | Elder Calderon | ComEd | Not progressing | We already have measure 4.8.3 Computer Management Software | N/A |  | N
New measure request to Manually Turn Off Lighting | New measure request |  |  | Elder Calderon | ComEd | Not progressing | Behavioral measure - policy implications? | N/A |  | N
Electric Vehicles | New measure request |  |  | Jim Fay | ComEd | Not progressing | Have policy issues been resolved? Claiming savings for gasoline? | N/A |  | N
Commercial Boiler Descaling | New measure request |  | 4.4 C&I HVAC End Use | Randy Opdyke/Hardik Shah | Nicor Gas/GTI | Not progressing | VEIC consider this a part of boiler tune-up measure and do not think its appropriate to try and isolate this action. Further, the new boiler measure assumes a constant efficiency over its lifetime and we would consider this standard practice to maintaint the claimed efficiency. | N/A |  | N