## Sheet1
Review of PY2 Single Family Evaluation Analysis
ComEd Single Family Direct installs |  | ComEd Analysis | [5 empty] | Navigant Analysis
| measures | ComEd Ex Ante kWh/unit | Ex ante Gross Measure MWh | ComEd assumed Ex ante RR | Ex ante Gross MWh | ComEd assumed Ex ante NTG | Ex ante Net MWh | Ex Post RR (Table 3-11) | Ex Post Gross MWH | Ex Post NTG (Table 3-19 & Table 3-20) | EX Post Net MWh
CFL | 709
unknown | 24 | 39.9 | 0.9576 | 0.9 | 0.86184 | 0.85 | 0.73256 | 0.97 | 0.92887 | 0.72378 | 0.67229
11W | 175 | 24.8 | 4.34 | 0.9 | 3.906 | 0.85 | 3.3201 | 0.97 | 4.2098 | 0.72378 | 3.0469
13W | 1059 | 23.1 | 24.4629 | 0.9 | 22.0166 | 0.85 | 18.7141 | 0.97 | 23.729 | 0.72378 | 17.1745
14W | 271 | 39.3 | 10.6503 | 0.9 | 9.5853 | 0.85 | 8.1475 | 0.97 | 10.3308 | 0.72378 | 7.4772
15W | 1381 | 38.4 | 53.0304 | 0.9 | 47.7274 | 0.85 | 40.5683 | 0.97 | 51.4395 | 0.72378 | 37.2306
20W | 3216 | 47 | 151.152 | 0.9 | 136.0368 | 0.85 | 115.6313 | 0.97 | 146.6174 | 0.72378 | 106.1181
Kitchen Aerators | 472 | 137 | 64.664 | 0.9 | 58.1976 | 0.85 | 49.468 | 0.92 | 59.4909 | 0.97 | 57.7062
Bathroom Aerators | 681 | 103 | 70.143 | 0.9 | 63.1287 | 0.85 | 53.6594 | 0.67 | 46.9958 | 0.97 | 45.5859
Showerheads | 622 | 348 | 216.456 | 0.9 | 194.8104 | 0.85 | 165.5888 | 0.81 | 175.3294 | 0.925 | 162.1797
Pipe Insulation | 622 | 122 | 75.884 | 0.9 | 68.2956 | 0.85 | 58.0513 | 1 | 75.884 | 1.02 | 77.4017
Direct Install Total |  |  | 671.7402 | 0.9 | 604.5662 | 0.85 | 513.8813 | 0.88569 | 594.9555 | 0.86493 | 514.593
CFL NTG shown as ratio of Navigant's results- very close to calculation from tables
CFL NTG calculation range | 0.724 | 0.72319 | (from footnote Table 3-20)
Calculated for Illustrative Purposes - RR & NTG values are portfolio based
Values reported by ComEd
Values reported by Navigant
Note on B6: Julie A Hollensbe: from Table 3-5, pg 21
Note on B7: Julie A Hollensbe: from Table 3-6, pg 22
Note on B13: Julie A Hollensbe: from Table 3-5, pg 21