## GPY4 Peoples Gas HIM
TRM v3.0 Section | TRM Measure Name | Peoples Gas Portfolio Sector | Program Measure Name | Measure Life | First Year Verified Gross Therm Savings | Lifetime Verified Gross Therm Savings
4.4.16 | Steam Trap Replacement or Repair | Non-Residential | Steam Traps - HVAC Repair/Rep | 6 | 524413.7474 | 3146482.4842
4.4.16 | Steam Trap Replacement or Repair | Non-Residential | Steam Traps - Industrial Rep. | 6 | 354057.63 | 2124345.78
4.2.16 | Kitchen Demand Ventilation Controls | Non-Residential | DCV - Kitchen | 15 | 121006.7176 | 1815100.7645
4.4.2 | Space Heating Boiler Tune-up | Non-Residential | Boiler Tune Up | 3 | 88741.1143 | 266223.3428
4.4.14 | Pipe Insulation | Non-Residential | Pipe Insulation (DHW) | 15 | 66599.902 | 998998.5303
NA | NA | Non-Residential | Energy Recovery Ventilator | 15 | 43428.8124 | 651432.1862
4.4.16 | Steam Trap Replacement or Repair | Non-Residential | Steam Trap (Dry Cleaner) | 6 | 43170.3956 | 259022.3737
4.4.14 | Pipe Insulation | Non-Residential | Pipe Insulation - Steam | 15 | 21991.0885 | 329866.3269
4.4.10 | High Efficiency Boiler | Non-Residential | Boiler - HW >=300MBtu, >88% TE | 20 | 20392.2819 | 407845.6379
4.4.10 | High Efficiency Boiler | Non-Residential | Boiler - Steam >=300MBH, >=82% TE | 20 | 17709.2052 | 354184.1037
4.3.3 | Low Flow Showerheads | Non-Residential | Showerheads | 10 | 12977.5902 | 129775.9018
4.4.18 | Small Commercial Programmable Thermostat | Non-Residential | Programmable Thermostat | 4 | 9056.6907 | 36226.7627
4.3.2 | Low Flow Faucet Aerators | Non-Residential | Bathroom Aerator | 9 | 7442.0536 | 66978.4827
4.2.11 | High-Efficiency Pre-Rinse Spray Valve | Non-Residential | Pre Rinse Sprayer | 5 | 5953.545 | 29767.725
4.4.11 | High Efficiency Furnace | Non-Residential | Furnace > 95% AFUE | 16.5 | 4452.5455 | 73467.0007
4.2.7 | ENERGY STAR Fryer | Non-Residential | Energy Star Fryer | 15 | 4040.6897 | 60610.3448
4.4.4 | Boiler Lockout/Reset Controls | Non-Residential | Boiler Reset Controls | 20 | 2791.2 | 55824
4.4.18 | Small Commercial Programmable Thermostat | Non-Residential | Reprogramming Thermostat | 2 | 1759.3603 | 3518.7205
4.3.1 | Storage Water Heater | Non-Residential | Large Gas Water Heater | 15 | 933.72 | 14005.8
4.3.2 | Low Flow Faucet Aerators | Non-Residential | Kitchen Aerator | 9 | 823.3246 | 7409.9212
5.3.2 | Boiler Pipe Insulation | Residential | Pipe Insulation - Steam | 15 | 1467789.5528 | 22016843.2922
5.4.5 | Low Flow Showerheads | Residential | Showerheads | 10 | 438551.6231 | 4385516.2312
5.3.7 | Gas High Efficiency Furnace | Residential | Furnace > 95% AFUE | 20 | 269540.7936 | 5390815.8723
5.3.11 | Programmable Thermostats | Residential | Programmable Thermostat | 5 | 226971.3037 | 1134856.5184
NA | NA | Residential | Single-Pipe Steam Boiler Averaging Controls | 10 | 135525.72 | 1355257.2
5.3.7 | Gas High Efficiency Furnace | Residential | Furnace - Early Replace | 20 | 128018.7563 | 2560375.1251
4.4.16 | Steam Trap Replacement or Repair | Residential | Steam Traps | 6 | 111670.3642 | 670022.185
5.4.4 | Low Flow Faucet Aerators | Residential | Kitchen Aerators | 9 | 109920.4342 | 989283.9078
5.3.2 | Boiler Pipe Insulation | Residential | Pipe Insulation -HW | 15 | 95654.8383 | 1434822.5739
4.4.10 | Space Heating Boiler Tune-up | Residential | Boiler - HW | 21.6667 | 93765.3141 | 2031581.8053
5.4.1 | Domestic Hot Water Pipe Insulation | Residential | Pipe Insulation - DHW | 15 | 92639.348 | 1389590.2194
4.4.10 | Space Heating Boiler Tune-up | Residential | Boiler - Steam | 20 | 83334.4081 | 1666688.1623
NA | NA | Residential | Single-Pipe Steam System Balancing w/Venting | 10 | 75285.98 | 752859.8
5.6.1 | Air Sealing | Residential | Air Sealing | 15 | 73509.6516 | 1102644.7745
5.3.11 | Programmable Thermostats | Residential | Reprogramming Thermostat | 2 | 67807.4701 | 135614.9402
4.4.4 | Boiler Lockout/Reset Controls | Residential | Boiler Reset Controls | 20 | 64073.04 | 1281460.8
5.6.4 | Wall and Ceiling/Attic Insulation | Residential | Attic Insulation | 15 | 63126.4 | 946896
4.4.2 | Space Heating Boiler Tune-up | Residential | Boiler Tune-up | 3 | 58331.2248 | 174993.6744
5.4.4 | Low Flow Faucet Aerators | Residential | Bathroom Aerators | 9 | 29921.1532 | 269290.3792
5.3.6 | Gas High Efficiency Boiler | Residential | Boiler - HW Early Replace | 25 | 20799.6601 | 519991.5017
5.4.2 | Gas Water Heater | Residential | Water Heater 88% TE | 15 | 19567.6227 | 293514.3398
5.3.4 | Duct Insulation and Sealing | Residential | Duct Sealing | 20 | 10172.3398 | 203446.7966
NA | NA | Residential | Shower Timer | 2 | 7760 | 15520
5.4.6 | Water Heater Temperature Setback | Residential | Water Heater Set-Back | 2 | 2380 | 4760
5.4.2 | Gas Water Heater | Residential | Water Heater - Tankless | 13 | 2021.0523 | 26273.68
5.3.6 | Gas High Efficiency Boiler | Residential | Boiler - Steam Early Replace | 25 | 2010.267 | 50256.6742
5.3.6 | Gas High Efficiency Boiler | Residential | Boiler - DHW | 25 | 1076.0553 | 26901.3828
5.4.2 | Gas Water Heater | Residential | Water Heater (0.80 or 0.67 EF) | 15 | 385.4762 | 5782.1429
NA | NA | Residential | Indirect Water Heat | 15 | 253.1707 | 3797.561
4.2.11 | High-Efficiency Pre-Rinse Spray Valve | Residential | Pre Rinse Sprayer | 5 | 135.5556 | 677.7778
Note on A19: Karen Maoz: Per the eval report
Note on A31: Karen Maoz: MF
Note on A33: Karen Maoz: MF

## GPY4 North Shore Gas HIM
TRM v3.0 Section | TRM Measure Name | North Shore Gas Portfolio Sector | Program Measure Name | Measure Life | First Year Verified Gross Therm Savings | Lifetime Verified Gross Therm Savings
4.4.14 | Pipe Insulation | Non-Residential | Pipe Insulation - Steam | 15 | 64439.4851 | 966592.2768
4.4.16 | Steam Trap Replacement or Repair | Non-Residential | Steam Traps - HVAC Repair/Rep | 6 | 60724.5403 | 364347.2418
4.4.16 | Steam Trap Replacement or Repair | Non-Residential | Steam Traps - Industrial Rep. | 6 | 56055.56 | 336333.36
4.2.16 | Kitchen Demand Ventilation Controls | Non-Residential | DCV - Kitchen | 15 | 21996 | 329940
4.4.16 | Steam Trap Replacement or Repair | Non-Residential | Steam Trap (Dry Cleaner) | 6 | 19015.5314 | 114093.1884
4.4.18 | Small Commercial Programmable Thermostat | Non-Residential | Programmable Thermostat | 4 | 2249.1859 | 8996.7434
4.2.7 | ENERGY STAR Fryer | Non-Residential | Energy Star Fryer | 15 | 1515 | 22725
4.4.14 | Pipe Insulation | Non-Residential | Pipe Insulation (DHW) | 15 | 1443.5359 | 21653.0385
4.4.10 | High Efficiency Boiler | Non-Residential | Boiler - Steam >=300MBH, >=82% TE | 20 | 1211.0856 | 24221.7115
4.3.1 | Storage Water Heater | Non-Residential | Large Gas Water Heater | 15 | 602.4 | 9036
4.3.2 | Low Flow Faucet Aerators | Non-Residential | Bathroom Aerator | 9 | 555.5347 | 4999.8124
4.4.11 | High Efficiency Furnace | Non-Residential | High Efficient Furnace | 16.5 | 513.7552 | 8476.9616
4.2.14 | Infrared Salamander Broiler | Non-Residential | Infrared Salamnader Broiler | 15 | 478 | 7170
4.4.10 | High Efficiency Boiler | Non-Residential | Boiler - HW >=300MBtu, >88% TE | 20 | 339.5393 | 6790.7854
4.3.1 | Storage Water Heater | Non-Residential | Water Heater 0.67 EF | 15 | 296 | 4440
4.2.11 | High-Efficiency Pre-Rinse Spray Valve | Non-Residential | Pre Rinse Sprayer | 5 | 135.3538 | 676.7692
4.3.2 | Low Flow Faucet Aerators | Non-Residential | Kitchen Aerator | 9 | 130.3106 | 1172.7955
4.3.3 | Low Flow Showerheads | Non-Residential | Showerheads | 10 | 65.214 | 652.1402
5.3.7 | Gas High Efficiency Furnace | Residential | Furnace | 20 | 143943.75 | 2878875
5.3.7 | Gas High Efficiency Furnace | Residential | Furnace - Early Replace | 20 | 115843.75 | 2316875
5.4.5 | Low Flow Showerheads | Residential | Showerheads | 10 | 45875 | 458750
5.3.11 | Programmable Thermostats | Residential | Programmable Thermostat | 5 | 29230 | 146150
5.3.4 | Duct Insulation and Sealing | Residential | Duct Sealing | 20 | 23851.5287 | 477030.575
5.3.11 | Programmable Thermostats | Residential | Reprogramming Thermostat | 2 | 13418 | 26836
5.6.4 | Wall and Ceiling/Attic Insulation | Residential | Attic Insulation | 15 | 10534.66 | 158019.9
5.3.6 | Gas High Efficiency Boiler | Residential | Boiler - HW Early Replace | 25 | 9500 | 237500
5.4.1 | Domestic Hot Water Pipe Insulation | Residential | Pipe Insulation - DHW | 15 | 9127 | 136905
5.3.2 | Boiler Pipe Insulation | Residential | Pipe Insulation - HW | 15 | 8284 | 124260
5.4.4 | Low Flow Faucet Aerators | Residential | Kitchen Aerators | 9 | 7924 | 71316
5.6.1 | Air Sealing | Residential | Air Sealing | 15 | 4750.6287 | 71259.4312
5.4.4 | Low Flow Faucet Aerators | Residential | Bathroom Aerators | 9 | 3160 | 28440
NA | NA | Residential | Shower Timer | 2 | 2405 | 4810
5.4.2 | Gas Water Heater | Residential | Water Heater - Tankless | 13 | 1199.9 | 15598.7
4.4.2 | Space Heating Boiler Tune-up | Residential | Boiler Tune-up | 3 | 772.44 | 2317.32
5.3.2 | Boiler Pipe Insulation | Residential | Pipe Insulation - Steam | 15 | 701.409 | 10521.135
5.3.6 | Gas High Efficiency Boiler | Residential | Boiler - DHW | 25 | 677.5 | 16937.5
5.4.2 | Gas Water Heater | Residential | Large Gas Water Heater | 15 | 599.6533 | 8994.8
4.4.4 | Boiler Lockout/Reset Controls | Residential | Boiler Reset Controls | 20 | 490.36 | 9807.2
5.4.6 | Water Heater Temperature Setback | Residential | Water Heater Set-Back | 2 | 288 | 576
NA | NA | Residential | Indirect Water Heat | 15 | 126.75 | 1901.25
5.3.6 | Gas High Efficiency Boiler | Residential | Boiler - HW | 25 | 101.25 | 2531.25

## GPY4 Totals TRM v3.0 Measures
TRM v3.0 Section | TRM Measure Name | TRM Sector | Measure Life | Utilities Included | First Year Verified Gross Therm Savings | Lifetime Verified Gross Therm Savings
4.4.16 | Steam Trap Replacement or Repair | C&I | 6 | PGL & NSG | 1169107.7689 | 7014646.6132
4.4.10 | High Efficiency Boiler | C&I | 20 | PGL & NSG | 216751.8341 | 4491312.2062
4.4.14 | Pipe Insulation | C&I | 15 | PGL & NSG | 154474.0115 | 2317110.1725
4.4.2 | Space Heating Boiler Tune-up | C&I | 3 | PGL & NSG | 147844.7791 | 443534.3372
4.2.16 | Kitchen Demand Ventilation Controls | C&I | 15 | PGL & NSG | 143002.7176 | 2145040.7645
4.4.4 | Boiler Lockout/Reset Controls | C&I | 20 | PGL & NSG | 67354.6 | 1347092
4.4.18 | Small Commercial Programmable Thermostat | C&I | 4 | PGL & NSG | 13065.2368 | 48742.2267
4.3.3 | Low Flow Showerheads | C&I | 10 | PGL & NSG | 13042.8042 | 130428.0421
4.3.2 | Low Flow Faucet Aerators | C&I | 9 | PGL & NSG | 8951.2235 | 80561.0119
4.2.11 | High-Efficiency Pre-Rinse Spray Valve | C&I | 5 | PGL & NSG | 6224.4544 | 31122.272
4.2.7 | ENERGY STAR Fryer | C&I | 15 | PGL & NSG | 5555.6897 | 83335.3448
4.4.11 | High Efficiency Furnace | C&I | 16.5 | PGL & NSG | 4966.3007 | 81943.9624
4.3.1 | Storage Water Heater | C&I | 15 | PGL & NSG | 1832.12 | 27481.8
4.2.14 | Infrared Salamander Broiler | C&I | 15 | PGL & NSG | 478 | 7170
NA | Not in TRM v3 Single-Pipe Steam Boiler Averaging Controls | NA | 10 | PGL & NSG | 210811.7 | 2108117
NA | Not in TRM v3 Energy Recovery Ventilator | NA | 15 | PGL & NSG | 43428.8124 | 651432.1862
NA | Not in TRM v3 Shower Timer | NA | 2 | PGL & NSG | 10165 | 20330
NA | Not in TRM v3 Indirect Water Heat | NA | 15 | PGL & NSG | 379.9207 | 5698.811
5.3.2 | Boiler Pipe Insulation | Residential | 15 | PGL & NSG | 1572429.8001 | 23586447.0011
5.3.7 | Gas High Efficiency Furnace | Residential | 20 | PGL & NSG | 657347.0499 | 13146940.9974
5.4.5 | Low Flow Showerheads | Residential | 10 | PGL & NSG | 484426.6231 | 4844266.2312
5.3.11 | Programmable Thermostats | Residential | 5 | PGL & NSG | 337426.7738 | 1443457.4585
5.4.4 | Low Flow Faucet Aerators | Residential | 9 | PGL & NSG | 150925.5874 | 1358330.287
5.4.1 | Domestic Hot Water Pipe Insulation | Residential | 15 | PGL & NSG | 101766.348 | 1526495.2194
5.6.1 | Air Sealing | Residential | 15 | PGL & NSG | 78260.2804 | 1173904.2057
5.6.4 | Wall and Ceiling/Attic Insulation | Residential | 15 | PGL & NSG | 73661.06 | 1104915.9
5.3.6 | Gas High Efficiency Boiler | Residential | 25 | PGL & NSG | 34164.7323 | 854118.3087
5.3.4 | Duct Insulation and Sealing | Residential | 20 | PGL & NSG | 34023.8686 | 680477.3716
5.4.2 | Gas Water Heater | Residential | 15 | PGL & NSG | 23773.7045 | 350163.6627
5.4.6 | Water Heater Temperature Setback | Residential | 2 | PGL & NSG | 2668 | 5336