## Aggregated Results
Interest Rate | 5% |  |  |  |  | Utility Rates
Loan Term (yrs) | 10 |  |  |  |  | RES_elec | 0.089489 | [7 empty] | If under $1,000 = 5 year loan term, if not = 10 year loan term | [11 empty] | For comparison purposes only
Months | 12 |  |  |  |  | RES_gas | 0.914 | Monthly Savings |  |  |  | Monthly Payment
Baseline Measure | Efficient Measure | Dual Fuel TRC | kWh/unit | CCF/unit | Therm/unit | EUL | Installed Cost per Unit (Principal) | Monthly kWh Savings | Monthly Therm Savings | Total Monthly Savings | NPV Lifetime Savings | Interest | Principal | Total Payment | Lifetime Payment | Interest Paid | Include (Y/N) | Payback (Costs/Savings) Years | Incentive From Ameren | Federal incentives | Net Measure Cost/Savings Payback | Initial Cost less Ameren/Federal Incentives | Monthly Payment | Annual Payment | Include Y/N | Annual Payments | Total Payment | Total Interest Paid | Difference b/w Annual and Monthly total Payments |  | AIU Website Incentive
Standard can light | Airtight Can Lights | 1.6363 | 90.5431 | 13.6822 | 14.0105 | 15 | 592.2221 | 0.67522 | 1.0671 | 1.7424 | 220.3295 | -1.3056 | 9.8704 | -11.176 | -670.5577 | -78.3356 | NO | 3.0434 | 0 |  | 3.0434 | 592.2221 | -11.176 | -670.5577 | N | -136.7884 | -683.9419 | -91.7198 | -13.3842 | ASHP - SEER 14 | 110
SEER 13 | ASHP - SEER 14 | 3.5767 | 542.4678 | 0 | 0 | 15 | 2894.1919 | 4.0454 | 0 | 4.0454 | 511.5638 | -6.5791 | 24.1183 | -30.6974 | -3683.6874 | -789.4956 | NO | 7.2008 | 110 |  | 6.9858 | 2784.1919 | -29.5307 | -3543.681 | N | -374.8111 | -3748.1109 | -853.919 | -64.4235 | ASHP - SEER 15 | 110
SEER 13 | ASHP - SEER 15 | 3.3326 | 1010.888 | 0 | 0 | 15 | 3188.0001 | 7.5386 | 0 | 7.5386 | 953.2984 | -7.247 | 26.5667 | -33.8137 | -4057.6425 | -869.6424 | NO | 4.2564 | 110 |  | 4.141 | 3078.0001 | -32.647 | -3917.636 | N | -412.8606 | -4128.606 | -940.6059 | -70.9635 | ASHP - SEER 16 | 110
SEER 13 | ASHP - SEER 16 | 2.8026 | 1275.2049 | 0 | 0 | 15 | 3481.8084 | 9.5097 | 0 | 9.5097 | 1202.5573 | -7.9149 | 29.0151 | -36.93 | -4431.5976 | -949.7892 | NO | 3.6851 | 110 | 300 | 3.5937 | 3071.8084 | -32.5813 | -3909.7553 | N | -450.9101 | -4509.1012 | -1027.2928 | -77.5035 | ASHP - SEER 17 | 110
SEER 13 | ASHP - SEER 17 | 2.4283 | 1473.1976 | 0 | 0 | 15 | 3775.6166 | 10.9863 | 0 | 10.9863 | 1389.2705 | -8.5828 | 31.4635 | -40.0463 | -4805.5527 | -1029.936 | NO | 3.459 | 110 | 300 | 3.3799 | 3365.6166 | -35.6976 | -4283.7104 | N | -488.9596 | -4889.5963 | -1113.9796 | -84.0436 | ASHP - SEER 18 | 110
SEER 13 | ASHP - SEER 18 | 1.9967 | 1514.1785 | 0 | 0 | 15 | 4069.4249 | 11.2919 | 0 | 11.2919 | 1427.9167 | -9.2507 | 33.9119 | -43.1626 | -5179.5078 | -1110.0829 | NO | 3.6273 | 110 | 300 | 3.5503 | 3659.4249 | -38.8139 | -4657.6654 | N | -527.0091 | -5270.0914 | -1200.6665 | -90.5836 | Basement Wall Insulation | 660
No insulation | Basement Wall Insulation | 3.4351 | 305.4915 | 56.7194 | 58.0807 | 20 | 1104.2137 | 2.2782 | 4.4238 | 6.702 | 1015.5198 | -2.5101 | 9.2018 | -11.7119 | -1405.4279 | -301.2142 | NO | 1.3839 | 660 | 500 | 0.73404 | -55.7863 | 1.0528 | 63.1654 | Y | -143.0007 | -1430.0072 | -325.7935 | -24.5793 | Ceiling Fans | 20
Standard fans, 140 W/cfm | Ceiling Fans | 4.3999 | 362.1002 | 0.1559 | 0.15964 | 15 | 1650 | 2.7003 | 0.012159 | 2.7125 | 343.0092 | -3.7508 | 13.75 | -17.5008 | -2100.0972 | -450.0972 | NO | 6.1226 | 20 |  | 6.0643 | 1630 | -17.2887 | -2074.6415 | N | -213.6825 | -2136.8255 | -486.8255 | -36.7283 | Crawlspace Wall Insulation | 0
No insulation | Crawlspace Wall Insulation | 2.9138 | 178.3863 | 14.8378 | 15.1939 | 20 | 552.1068 | 1.3303 | 1.1573 | 2.4876 | 376.93 | -1.2172 | 9.2018 | -10.4189 | -625.1362 | -73.0294 | NO | 1.6585 | 0 |  | 1.6585 | 552.1068 | -10.4189 | -625.1362 | N | -127.5228 | -637.6138 | -85.507 | -12.4776 | DFHP - SEER 14 | 110
SEER 13; 78 AFUE | DFHP - SEER 14 | 4.3427 | 650.4117 | -5.1849 | -5.3093 | 15 | 2634.3586 | 4.8504 | -0.40439 | 4.446 | 562.2204 | -5.9885 | 21.953 | -27.9415 | -3352.9752 | -718.6166 | NO | 5.9638 | 110 |  | 5.7682 | 2524.3586 | -26.7747 | -3212.9687 | N | -341.1615 | -3411.6149 | -777.2563 | -58.6397 | DFHP - SEER 14 with 95 AFUE furnace | 200
SEER 13; 78 AFUE | DFHP - SEER 15 | 4.3781 | 1342.3939 | -16.2929 | -16.684 | 15 | 2912.2147 | 10.0108 | -1.2708 | 8.74 | 1105.2245 | -6.6201 | 24.2685 | -30.8886 | -3706.6267 | -794.4119 | NO | 3.3537 | 110 |  | 3.2542 | 2802.2147 | -29.7218 | -3566.6202 | N | -377.1451 | -3771.4513 | -859.2366 | -64.8246 | DFHP - SEER 15 | 110
SEER 13; 78 AFUE | DFHP - SEER 16 | 3.3039 | 1474.5025 | -9.9578 | -10.1968 | 15 | 3190.0709 | 10.996 | -0.77666 | 10.2193 | 1292.2887 | -7.2517 | 26.5839 | -33.8357 | -4060.2781 | -870.2073 | NO | 3.1419 | 110 |  | 3.0568 | 3080.0709 | -32.6689 | -3920.2716 | N | -413.1288 | -4131.2877 | -941.2169 | -71.0096 | DFHP - SEER 15 with 95 AFUE furnace | 200
SEER 13; 78 AFUE | DFHP - SEER 17 | 2.9717 | 1787.3659 | -15.5274 | -15.9001 | 15 | 3467.927 | 13.3291 | -1.2111 | 12.1181 | 1532.3968 | -7.8834 | 28.8994 | -36.7827 | -4413.9296 | -946.0026 | NO | 2.8804 | 110 |  | 2.8086 | 3357.927 | -35.616 | -4273.9231 | N | -449.1124 | -4491.1241 | -1023.1971 | -77.1946 | DFHP - SEER 16 | 110
SEER 13; 78 AFUE | DFHP - SEER 18 | 2.2462 | 1767.5039 | -12.5279 | -12.8285 | 15 | 3823.5024 | 13.181 | -0.9771 | 12.2039 | 1543.2504 | -8.6917 | 31.8625 | -40.5542 | -4866.5011 | -1042.9986 | NO | 3.1534 | 110 |  | 3.0821 | 3713.5024 | -39.3875 | -4726.4946 | N | -495.1611 | -4951.6106 | -1128.1081 | -85.1095 | DFHP - SEER 16 with 95 AFUE furnace | 200
Uninsulated ducts | Duct Insulation | 5.555 | 378.7696 | 55.3793 | 56.7084 | 20 | 720 | 2.8246 | 4.3193 | 7.1439 | 1082.4854 | -1.5873 | 12 | -13.5873 | -815.2373 | -95.2373 | YES | 0.75312 | 0 | 216 | 0.75312 | 504 | -9.5111 | -570.6661 | Y | -166.3019 | -831.5093 | -111.5093 | -16.272 | DFHP - SEER 17 | 110
Ducts outside conditioned space | Duct location | 3.7571 | 685.5189 | 86.2473 | 88.3172 | 30 | 1602.6316 | 5.1122 | 6.7268 | 11.839 | 2205.3918 | -3.6431 | 13.3553 | -16.9984 | -2039.8073 | -437.1758 | YES | 0.92492 | 0 |  | 0.92492 | 1602.6316 | -16.9984 | -2039.8073 | Y | -207.5481 | -2075.4812 | -472.8496 | -35.6739 | DFHP - SEER 17 with 95 AFUE furnace | 200
15% total | Duct sealing 15% leakage base | 8.387 | 217.4064 | 28.5722 | 29.2579 | 18 | 647.4628 | 1.6213 | 2.2285 | 3.8498 | 547.5929 | -1.4274 | 10.791 | -12.2184 | -733.1053 | -85.6425 | NO | 1.3388 | 150 | 64.7463 | 1.0649 | 432.7165 | -8.1659 | -489.9537 | Y | -149.5476 | -747.7379 | -100.2751 | -14.6326 | DFHP - SEER 18 | 110
20% total | Duct sealing 20% leakage base | 13.0166 | 338.2026 | 44.1954 | 45.256 | 18 | 647.4628 | 2.5221 | 3.447 | 5.9691 | 849.051 | -1.4274 | 10.791 | -12.2184 | -733.1053 | -85.6425 | YES | 0.86344 | 150 | 64.7463 | 0.68677 | 432.7165 | -8.1659 | -489.9537 | Y | -149.5476 | -747.7379 | -100.2751 | -14.6326 | DFHP - SEER 18 with 95 AFUE furnace | 200
25% total | Duct sealing 25% leakage base | 17.6223 | 459.6116 | 59.5041 | 60.9322 | 18 | 647.4628 | 3.4275 | 4.641 | 8.0685 | 1147.6709 | -1.4274 | 10.791 | -12.2184 | -733.1053 | -85.6425 | YES | 0.63878 | 150 | 64.7463 | 0.50808 | 432.7165 | -8.1659 | -489.9537 | Y | -149.5476 | -747.7379 | -100.2751 | -14.6326 | Duct Insulation | 0
30% total | Duct sealing 30% leakage base | 22.1662 | 578.3517 | 74.8043 | 76.5996 | 18 | 647.4628 | 4.313 | 5.8343 | 10.1473 | 1443.3645 | -1.4274 | 10.791 | -12.2184 | -733.1053 | -85.6425 | YES | 0.50791 | 150 | 64.7463 | 0.40399 | 432.7165 | -8.1659 | -489.9537 | Y | -149.5476 | -747.7379 | -100.2751 | -14.6326 | Duct sealing 15% leakage base | 150
Standard motor continuous operation | ECM blower - continuous | 5.4513 | 1659.5943 | -34.3374 | -35.1615 | 15 | 977.8561 | 12.3763 | -2.6781 | 9.6982 | 1226.3852 | -2.1557 | 16.2976 | -18.4534 | -1107.2011 | -129.345 | YES | 0.90282 | 0 | 50 | 0.90282 | 927.8561 | -17.5098 | -1050.5874 | Y | -225.8601 | -1129.3006 | -151.4445 | -22.0995 | Duct sealing 20% leakage base | 150
Standard motor intermittent operation | ECM blower - intermittent | 1.2405 | 378.1025 | -7.8957 | -8.0852 | 15 | 977.8561 | 2.8197 | -0.61582 | 2.2038 | 278.6882 | -2.1557 | 16.2976 | -18.4534 | -1107.2011 | -129.345 | NO | 3.9729 | 0 | 50 | 3.9729 | 927.8561 | -17.5098 | -1050.5874 | N | -225.8601 | -1129.3006 | -151.4445 | -22.0995 | Duct sealing 25% leakage base | 150
SEER 13 | Furnace-AC - SEER 14 | 3.5873 | 543.5892 | -5.8693 | -6.0101 | 15 | 2634.3586 | 4.0538 | -0.45777 | 3.596 | 454.7336 | -5.9885 | 21.953 | -27.9415 | -3352.9752 | -718.6166 | NO | 7.3735 | 0 | 300 | 7.3735 | 2334.3586 | -24.7595 | -2971.1394 | N | -341.1615 | -3411.6149 | -777.2563 | -58.6397 | Duct sealing 30% leakage base | 150
SEER 13 | Furnace-AC - SEER 15 | 1.7523 | 564.0443 | -12.3969 | -12.6944 | 15 | 2912.2147 | 4.2063 | -0.96689 | 3.2394 | 409.6427 | -6.6201 | 24.2685 | -30.8886 | -3706.6267 | -794.4119 | NO | 9.0484 | 0 | 300 | 9.0484 | 2612.2147 | -27.7066 | -3324.7908 | N | -377.1451 | -3771.4513 | -859.2366 | -64.8246 | ECM blower - continuous | 0
EER 13.4 GSHP | GSHP - EER 17 | 3.8717 | 1077.995 | 0 | 0 | 15 | 2912.6948 | 8.0391 | 0 | 8.0391 | 1016.5823 | -6.6212 | 24.2725 | -30.8936 | -3707.2377 | -794.5429 | NO | 3.6468 | 0 |  | 3.6468 | 2912.6948 | -30.8936 | -3707.2377 | N | -377.2073 | -3772.073 | -859.3782 | -64.8353 | ECM blower - intermittent | 0
EER 13.4 GSHP | GSHP - EER 19 | 5.223 | 1454.2271 | 0 | 0 | 15 | 2912.6948 | 10.8448 | 0 | 10.8448 | 1371.3807 | -6.6212 | 24.2725 | -30.8936 | -3707.2377 | -794.5429 | NO | 2.7033 | 0 |  | 2.7033 | 2912.6948 | -30.8936 | -3707.2377 | N | -377.2073 | -3772.073 | -859.3782 | -64.8353 | Floor Insulation | 0
AFUE 78 standard motor | High efficiency furnace with ECM | 1.3889 | 524.1426 | 162.2895 | 166.1844 | 15 | 3832.8561 | 3.9088 | 12.6577 | 16.5664 | 2094.9133 | -8.7129 | 31.9405 | -40.6534 | -4878.4063 | -1045.5502 | NO | 2.3287 | 200 | 200 | 2.2332 | 3432.8561 | -36.4108 | -4369.2919 | N | -496.3724 | -4963.7241 | -1130.8679 | -85.3177 | Furnace/AC - SEER 14 | 0
AFUE 78 standard motor | High efficiency furnace without ECM | 2.1468 | 0 | 200.052 | 204.8533 | 15 | 2855 | 0 | 15.603 | 15.603 | 1973.0756 | -6.49 | 23.7917 | -30.2817 | -3633.8046 | -778.8046 | NO | 1.8417 | 200 | 150 | 1.7403 | 2505 | -26.5694 | -3188.3294 | N | -369.7356 | -3697.3556 | -842.3556 | -63.5511 | Furnace/AC - SEER 14 with 95 AFUE furnace | 0
Varies by vintage | Infiltration reduction - 30% | 32.203 | 633.318 | 95.2462 | 97.5322 | 13 | 360 | 4.7229 | 7.4287 | 12.1516 | 1391.8413 | -0.79364 | 6 | -6.7936 | -407.6186 | -47.6186 | YES | 0.29286 | 370 | 36 | 0.027028 | -46 | 0.86808 | 52.0846 | Y | -83.1509 | -415.7546 | -55.7546 | -8.136 | Furnace/AC - SEER 15 | 0
Varies by vintage | Infiltration reduction - 30% and attic insulation | 1.5894 | 922.1726 | 135.9192 | 139.1812 | 13 | 2630.8516 | 6.877 | 10.6009 | 17.478 | 2001.9229 | -5.9805 | 21.9238 | -27.9043 | -3348.5116 | -717.66 | NO | 1.6726 | 430 | 263.0852 | 1.4579 | 1937.7665 | -20.553 | -2466.3624 | N | -340.7073 | -3407.0732 | -776.2216 | -58.5616 | Furnace/AC - SEER 15 with 95 AFUE furnace | 0
Varies by vintage | Infiltration reduction - 50% | 53.7475 | 1057.1123 | 158.9505 | 162.7653 | 13 | 360 | 7.8833 | 12.3973 | 20.2806 | 2322.934 | -0.79364 | 6 | -6.7936 | -407.6186 | -47.6186 | YES | 0.17548 | 370 | 36 | 0.016194 | -46 | 0.86808 | 52.0846 | Y | -83.1509 | -415.7546 | -55.7546 | -8.136 | Furnace/AC - SEER 16 | 0
Varies by vintage | Infiltration reduction - 50% and attic insulation | 2.3303 | 1347.6276 | 200.1218 | 204.9247 | 13 | 2630.8516 | 10.0498 | 15.6084 | 25.6582 | 2938.8861 | -5.9805 | 21.9238 | -27.9043 | -3348.5116 | -717.66 | NO | 1.1394 | 430 | 263.0852 | 0.99307 | 1937.7665 | -20.553 | -2466.3624 | Y | -340.7073 | -3407.0732 | -776.2216 | -58.5616 | Furnace/AC - SEER 16 with 95 AFUE furnace | 0
10% EER degradation; 5% furnace efficiency degradation | HVAC Maintenance and Tune-up | 18.2183 | 137.0042 | 25.115 | 25.7178 | 15 | 85.65 | 1.0217 | 1.9588 | 2.9805 | 376.904 | -0.18882 | 1.4275 | -1.6163 | -96.9793 | -11.3293 | YES | 0.2573 | 0 |  | 0.2573 | 85.65 | -1.6163 | -96.9793 | Y | -19.783 | -98.915 | -13.265 | -1.9357 | Furnace/AC - SEER 17 | 0
8.7 EER | PTAC 10.3 EER | 1.8102 | 116.1425 | 0 | 0 | 15 | 780.0244 | 0.86612 | 0 | 0.86612 | 109.5259 | -1.7196 | 13.0004 | -14.72 | -883.2014 | -103.177 | NO | 8.0639 | 0 |  | 8.0639 | 780.0244 | -14.72 | -883.2014 | N | -180.166 | -900.8299 | -120.8055 | -17.6285 | Furnace/AC - SEER 17 with 95 AFUE furnace | 0
7.1 EER | PTAC 9.3 EER | 2.5552 | 178.8511 | 0 | 0 | 15 | 845.7266 | 1.3338 | 0 | 1.3338 | 168.662 | -1.8645 | 14.0954 | -15.9599 | -957.5943 | -111.8677 | NO | 5.6776 | 0 |  | 5.6776 | 845.7266 | -15.9599 | -957.5943 | N | -195.3415 | -976.7077 | -130.9811 | -19.1134 | GSHP EER 19 | 600
8.5 EER | PTHP 10.9 EER | 2.7692 | 221.7314 | 0 | 0 | 15 | 1151.3777 | 1.6535 | 0 | 1.6535 | 209.0995 | -2.6173 | 9.5948 | -12.2121 | -1465.4577 | -314.0799 | NO | 7.0084 | 0 |  | 7.0084 | 1151.3777 | -12.2121 | -1465.4577 | N | -149.1087 | -1491.0869 | -339.7091 | -25.6292 | High efficiency furnace with ECM | 200
7.0 EER | PTHP 9.1 EER | 3.3848 | 295.6657 | 0 | 0 | 15 | 1168.2082 | 2.2049 | 0 | 2.2049 | 278.8218 | -2.6556 | 9.7351 | -12.3907 | -1486.8792 | -318.6711 | NO | 5.3327 | 0 |  | 5.3327 | 1168.2082 | -12.3907 | -1486.8792 | N | -151.2883 | -1512.8831 | -344.6749 | -26.0038 | High efficiency furnace without ECM | 200
10% EER degradation | RCA 10% improvement | 4.1478 | 169.1844 | 0 | 0 | 10 | 139 | 1.2617 | 0 | 1.2617 | 118.9529 | -0.30643 | 2.3167 | -2.6231 | -157.3861 | -18.3861 | NO | 1.3231 | 0 |  | 1.3231 | 139 | -2.6231 | -157.3861 | N | -32.1055 | -160.5275 | -21.5275 | -3.1414 | Infiltration reduction - 30% | 370
15% EER degradation | RCA 15% improvement | 4.155 | 256.3467 | 0 | 0 | 10 | 438.8064 | 1.9117 | 0 | 1.9117 | 180.2364 | -0.96738 | 7.3134 | -8.2808 | -496.8491 | -58.0427 | NO | 2.7567 | 0 |  | 2.7567 | 438.8064 | -8.2808 | -496.8491 | N | -101.3532 | -506.7661 | -67.9597 | -9.917 | Infiltration reduction - 30% and attic insulation | 430
5% EER degradation | RCA 5% improvement | 3.5871 | 84.826 | 0 | 0 | 10 | 115.075 | 0.63258 | 0 | 0.63258 | 59.6409 | -0.25369 | 1.9179 | -2.1716 | -130.2964 | -15.2214 | NO | 2.1847 | 0 |  | 2.1847 | 115.075 | -2.1716 | -130.2964 | N | -26.5794 | -132.8971 | -17.8221 | -2.6007 | Infiltration reduction - 50% | 370
Varies by building | Roof Insulation | 1.163 | 457.5457 | 63.6611 | 65.1889 | 20 | 2270.8516 | 3.4121 | 4.9652 | 8.3773 | 1269.377 | -5.1621 | 18.9238 | -24.0859 | -2890.3086 | -619.4569 | NO | 2.277 | 580 | 681.2555 | 1.82 | 1009.5961 | -10.7083 | -1285 | N | -294.0857 | -2940.8568 | -670.0051 | -50.5482 | Infiltration reduction - 50% and attic insulation | 430
No setback | Setback thermostat - full setback | 62.7951 | 944.7023 | 143.9558 | 147.4108 | 9 | 100.1327 | 7.045 | 11.2278 | 18.2728 | 1586.557 | -0.22075 | 1.6689 | -1.8896 | -113.3777 | -13.245 | YES | 0.071461 | 25 |  | 0.055704 | 75.1327 | -1.4178 | -85.0708 | Y | -23.1281 | -115.6407 | -15.508 | -2.263 | RCA 10% improvement | 0
No setback | Setback thermostat - moderate setback | 36.4833 | 581.5268 | 77.5042 | 79.3643 | 9 | 100.1327 | 4.3367 | 6.0449 | 10.3816 | 901.3932 | -0.22075 | 1.6689 | -1.8896 | -113.3777 | -13.245 | YES | 0.12578 | 25 |  | 0.098046 | 75.1327 | -1.4178 | -85.0708 | Y | -23.1281 | -115.6407 | -15.508 | -2.263 | RCA 15% improvement | 0
Varies by vintage | Wall Insulation | 5.681 | 449.9226 | 66.2646 | 67.855 | 20 | 3041.1111 | 3.3553 | 5.1683 | 8.5235 | 1291.532 | -6.9131 | 25.3426 | -32.2557 | -3870.6842 | -829.5731 | NO | 2.997 | 660 | 912.3333 | 2.486 | 1468.7778 | -15.5787 | -1869.4401 | N | -393.8378 | -3938.378 | -897.2669 | -67.6938 | RCA 5% improvement | 0
60W incand | 13W CFL (60W incand equiv) Pre-EISA | 8.4389 | 46.3185 | 0 | 0 | 9 | 3 | 0.34542 | 0 | 0.34542 | 29.9912 | -0.0066137 | 0.05 | -0.056614 | -3.3968 | -0.39682 | YES | 0.11326 | 2 |  | 0.046574 | 1 | -0.018871 | -1.1323 | Y | -0.69292 | -3.4646 | -0.46462 | -0.0678 | Roof Insulation | 580
45W EISA compliant bulb (25% improvement) | 13W CFL (60W incand equiv) POST-EISA | 17.2369 | 31.536 | 0 | 0 | 9 | 1 | 0.23518 | 0 | 0.23518 | 20.4195 | -0.0022046 | 0.016667 | -0.018871 | -1.1323 | -0.13227 | YES | 0.055451 | 2 |  | -0.042495 | -1 | 0.018871 | 1.1323 | Y | -0.23097 | -1.1549 | -0.15487 | -0.0226 | Setback thermostat - full setback | 25
75W incand | 18W CFL (75W incand equiv) Pre-EISA | 10.2344 | 56.1735 | 0 | 0 | 9 | 3 | 0.41891 | 0 | 0.41891 | 36.3723 | -0.0066137 | 0.05 | -0.056614 | -3.3968 | -0.39682 | YES | 0.09339 | 2 |  | 0.038403 | 1 | -0.018871 | -1.1323 | Y | -0.69292 | -3.4646 | -0.46462 | -0.0678 | Setback thermostat - moderate setback | 25
56W EISA compliant bulb (25% improvement) | 18W CFL (75W incand equiv) POST-EISA | 20.4688 | 37.449 | 0 | 0 | 9 | 1 | 0.27927 | 0 | 0.27927 | 24.2482 | -0.0022046 | 0.016667 | -0.018871 | -1.1323 | -0.13227 | YES | 0.046695 | 2 |  | -0.035785 | -1 | 0.018871 | 1.1323 | Y | -0.23097 | -1.1549 | -0.15487 | -0.0226 | Wall Insulation | 660
100W incand | 23W CFL (100W incand equiv) Pre-EISA | 13.8254 | 75.8835 | 0 | 0 | 9 | 3 | 0.5659 | 0 | 0.5659 | 49.1345 | -0.0066137 | 0.05 | -0.056614 | -3.3968 | -0.39682 | YES | 0.069133 | 2 |  | 0.028429 | 1 | -0.018871 | -1.1323 | Y | -0.69292 | -3.4646 | -0.46462 | -0.0678 | Whole House Fan | 0
75W EISA compliant bulb (25% improvement) | 23W CFL (100W incand equiv) POST-EISA | 28.01 | 51.246 | 0 | 0 | 9 | 1 | 0.38216 | 0 | 0.38216 | 33.1817 | -0.0022046 | 0.016667 | -0.018871 | -1.1323 | -0.13227 | YES | 0.034123 | 2 |  | -0.026151 | -1 | 0.018871 | 1.1323 | Y | -0.23097 | -1.1549 | -0.15487 | -0.0226 | Window Replacement | 0
Incandescent lamps | CFL bulbs specialty | 2.4104 | 44.1 | 0 | 0 | 9 | 10 | 0.32887 | 0 | 0.32887 | 28.5547 | -0.022046 | 0.16667 | -0.18871 | -11.3227 | -1.3227 | YES | 0.39653 | 5 |  | 0.22143 | 5 | -0.094356 | -5.6614 | Y | -2.3097 | -11.5487 | -1.5487 | -0.226 | 0 | 2
Incandescent lamps | CFL bulbs hgh wattage | 4.1176 | 113 | 0 | 0 | 9 | 15 | 0.84269 | 0 | 0.84269 | 73.1674 | -0.033069 | 0.25 | -0.28307 | -16.9841 | -1.9841 | YES | 0.23213 | 3 |  | 0.19112 | 12 | -0.22645 | -13.5873 | Y | -3.4646 | -17.3231 | -2.3231 | -0.339 | 0 | 2
Incandescent lamps with reflectors | CFL Reflector | 1.8542 | 44.1 | 0 | 0 | 9 | 13 | 0.32887 | 0 | 0.32887 | 28.5547 | -0.028659 | 0.21667 | -0.24533 | -14.7196 | -1.7196 | YES | 0.51549 | 0 |  | 0.51549 | 13 | -0.24533 | -14.7196 | Y | -3.0027 | -15.0134 | -2.0134 | -0.2938 | 0 | 2
Incandescent fixtures | CFL fixtures | 1.2685 | 78 | 0 | 0 | 12 | 80 | 0.58168 | 0 | 0.58168 | 62.8917 | -0.17637 | 1.3333 | -1.5097 | -90.5819 | -10.5819 | NO | 1.4403 | 0 |  | 1.4403 | 80 | -1.5097 | -90.5819 | N | -18.478 | -92.3899 | -12.3899 | -1.808 | 0
Incandescent night light | LED Night Light | 3.2201 | 22 | 0 | 0 | 12 | 5 | 0.16406 | 0 | 0.16406 | 17.7387 | -0.011023 | 0.083333 | -0.094356 | -5.6614 | -0.66137 | YES | 0.31915 | 0 |  | 0.31915 | 5 | -0.094356 | -5.6614 | Y | -1.1549 | -5.7744 | -0.77437 | -0.113 | 0
Incandescent task light | LED Task Light | 1.1417 | 39 | 0 | 0 | 12 | 25 | 0.29084 | 0 | 0.29084 | 31.4458 | -0.055114 | 0.41667 | -0.47178 | -28.3069 | -3.3069 | YES | 0.90018 | 0 |  | 0.90018 | 25 | -0.47178 | -28.3069 | Y | -5.7744 | -28.8718 | -3.8718 | -0.565 | 0
Incandescent Torchiere | Torchiere Floor Lamps - CFL | 2.4004 | 164 | 0 | 0 | 12 | 50 | 1.223 | 0 | 1.223 | 132.2338 | -0.11023 | 0.83333 | -0.94356 | -56.6137 | -6.6137 | YES | 0.42813 | 0 |  | 0.42813 | 50 | -0.94356 | -56.6137 | Y | -11.5487 | -57.7437 | -7.7437 | -1.13 | 0
Incandescent lighting | Metal Halide Outdoor Lighting | 1.537 | 189.8 | 0 | 0 | 15 | 112 | 1.4154 | 0 | 1.4154 | 178.9872 | -0.24691 | 1.8667 | -2.1136 | -126.8147 | -14.8147 | YES | 0.70851 | 0 |  | 0.70851 | 112 | -2.1136 | -126.8147 | Y | -25.8692 | -129.3459 | -17.3459 | -2.5312 | 0
Standard Electric water heater EF=0.9 | Electric Water Heater EF 0.93+ | 3.0624 | 157 | 0 | 0 | 15 | 229 | 1.1708 | 0 | 1.1708 | 148.0558 | -0.50485 | 3.8167 | -4.3215 | -259.2908 | -30.2908 | NO | 1.7513 | 0 | 68.7 | 1.7513 | 160.3 | -3.0251 | -181.5035 | N | -52.8932 | -264.4661 | -35.4661 | -5.1754 | 0
Standard Electric water heater EF=0.9 | Heat Pump Water Heaters | 3.9392 | 2885 | 0 | 0 | 15 | 820 | 21.5147 | 0 | 21.5147 | 2720.6434 | -1.8077 | 13.6667 | -15.4744 | -928.4647 | -108.4647 | YES | 0.34127 | 0 | 246 | 0.34127 | 574 | -10.8321 | -649.9253 | Y | -189.3993 | -946.9967 | -126.9967 | -18.532 | 0
Standard Gas Water Heater EF=0.60 | High Efficiency Gas Water Heater | 1.4787 | 0 | 9.7656 | 10 | 15 | 231 | 0 | 0.76167 | 0.76167 | 96.3165 | -0.50925 | 3.85 | -4.3593 | -261.5553 | -30.5553 | NO | 2.7156 | 0 | 69.3 | 2.7156 | 161.7 | -3.0515 | -183.0887 | N | -53.3552 | -266.7759 | -35.7759 | -5.2206 | 0
Standard Gas Water Heater EF=0.60 | Super Efficiency Gas Water Heater | 1.5177 | 0 | 35.1562 | 36 | 15 | 399 | 0 | 2.742 | 2.742 | 346.7395 | -0.87962 | 6.65 | -7.5296 | -451.7773 | -52.7773 | NO | 1.3029 | 0 | 119.7 | 1.3029 | 279.3 | -5.2707 | -316.2441 | Y | -92.1589 | -460.7947 | -61.7947 | -9.0174 | 0
Standard Gas Water Heater EF=0.60 | Instant Gas Water Heater | 1.5294 | 0 | 65.4297 | 67 | 15 | 598 | 0 | 5.1032 | 5.1032 | 645.3208 | -1.3183 | 9.9667 | -11.285 | -677.0999 | -79.0999 | NO | 1.0492 | 0 | 179.4 | 1.0492 | 418.6 | -7.8995 | -473.9699 | Y | -138.1229 | -690.6146 | -92.6146 | -13.5148 | 0
Uninsulated | Pipe Wrap - Gas water heater | 11.0245 | 0 | 10.7422 | 11 | 6 | 76 | 0 | 0.83783 | 0.83783 | 52.0233 | -0.16755 | 1.2667 | -1.4342 | -86.0528 | -10.0528 | NO | 1.6541 | 0 |  | 1.6541 | 76 | -1.4342 | -86.0528 | N | -17.5541 | -87.7704 | -11.7704 | -1.7176 | 0
Uninsulated | Pipe Wrap - Electric water heater | 24.4253 | 257 | 0 | 0 | 6 | 76 | 1.9166 | 0 | 1.9166 | 119.0044 | -0.16755 | 1.2667 | -1.4342 | -86.0528 | -10.0528 | YES | 0.72311 | 0 |  | 0.72311 | 76 | -1.4342 | -86.0528 | Y | -17.5541 | -87.7704 | -11.7704 | -1.7176 | 0
Standard Flow 2.5 gal.min | Low Flow Showerheads - Gas water heater | 11.8748 | 0 | 21.4844 | 22 | 12 | 31.6 | 0 | 1.6757 | 1.6757 | 181.1742 | -0.069664 | 0.52667 | -0.59633 | -35.7799 | -4.1799 | YES | 0.19749 | 0 |  | 0.19749 | 31.6 | -0.59633 | -35.7799 | Y | -7.2988 | -36.494 | -4.894 | -0.71416 | 0
Standard Flow 2.5 gal.min | Low Flow Showerheads - Electric water heater | 21.9701 | 424 | 0 | 0 | 12 | 31.6 | 3.1619 | 0 | 3.1619 | 341.8728 | -0.069664 | 0.52667 | -0.59633 | -35.7799 | -4.1799 | YES | 0.10466 | 0 |  | 0.10466 | 31.6 | -0.59633 | -35.7799 | Y | -7.2988 | -36.494 | -4.894 | -0.71416 | 0
2.2 gal/minute | Low Flow Faucet Aerators - Gas water heater | 20.1062 | 0 | 6.8359 | 7 | 12 | 9.5 | 0 | 0.53317 | 0.53317 | 57.6463 | -0.020943 | 0.15833 | -0.17928 | -10.7566 | -1.2566 | YES | 0.1866 | 0 |  | 0.1866 | 9.5 | -0.17928 | -10.7566 | Y | -2.1943 | -10.9713 | -1.4713 | -0.2147 | 0
2.2 gal/minute | Low Flow Faucet Aerators - Electric water heater | 37.5001 | 136 | 0 | 0 | 12 | 9.5 | 1.0142 | 0 | 1.0142 | 109.6573 | -0.020943 | 0.15833 | -0.17928 | -10.7566 | -1.2566 | YES | 0.098093 | 0 |  | 0.098093 | 9.5 | -0.17928 | -10.7566 | Y | -2.1943 | -10.9713 | -1.4713 | -0.2147 | 0
Standard shower head 2.5 gpm | Shower Start - Gas water heater | 1.3826 | 0 | 27.3438 | 28 | 3 | 56.7 | 0 | 2.1327 | 2.1327 | 71.1578 | -0.125 | 0.945 | -1.07 | -64.1999 | -7.4999 | YES | 0.90222 | 0 |  | 0.90222 | 56.7 | -1.07 | -64.1999 | Y | -13.0963 | -65.4814 | -8.7814 | -1.2814 | 0
Standard shower head 2.5 gpm | Shower Start - Electric water heater | 2.4718 | 530 | 0 | 0 | 3 | 56.7 | 3.9524 | 0 | 3.9524 | 131.8758 | -0.125 | 0.945 | -1.07 | -64.1999 | -7.4999 | YES | 0.48682 | 0 |  | 0.48682 | 56.7 | -1.07 | -64.1999 | Y | -13.0963 | -65.4814 | -8.7814 | -1.2814 | 0
Standard A/C unit, 9.8 EER | Energy Star Room AC | 1.8459 | 101 | 0 | 0 | 12 | 220 | 0.7532 | 0 | 0.7532 | 81.4367 | -0.485 | 3.6667 | -4.1517 | -249.1003 | -29.1003 | NO | 3.0588 | 0 |  | 3.0588 | 220 | -4.1517 | -249.1003 | N | -50.8145 | -254.0723 | -34.0723 | -4.972 | 0
Standard pump and motor efficiency | Pool Pump and Motor Single Speed | 5.7735 | 694 | 0 | 0 | 10 | 663.1764 | 5.1755 | 0 | 5.1755 | 487.9488 | -1.462 | 11.0529 | -12.515 | -750.8974 | -87.721 | NO | 1.5389 | 0 |  | 1.5389 | 663.1764 | -12.515 | -750.8974 | N | -153.177 | -765.8852 | -102.7088 | -14.9878 | 0
Standard pump and motor efficiency | Pool Pump and motor w auto controls - multi speed | 1.3202 | 1081 | 0 | 0 | 10 | 1404.1764 | 8.0615 | 0 | 8.0615 | 760.047 | -3.192 | 11.7015 | -14.8935 | -1787.2163 | -383.0399 | NO | 2.3515 | 0 |  | 2.3515 | 1404.1764 | -14.8935 | -1787.2163 | N | -181.8473 | -1818.4727 | -414.2963 | -31.2564 | 0
Pool pump without speed control | VFDs on Residential Swimming Pool Pumps | 3.9338 | 1543 | 0 | 0 | 15 | 787.5 | 11.5068 | 0 | 11.5068 | 1455.0963 | -1.7361 | 13.125 | -14.8611 | -891.6658 | -104.1658 | YES | 0.61279 | 0 |  | 0.61279 | 787.5 | -14.8611 | -891.6658 | Y | -181.8927 | -909.4633 | -121.9633 | -17.7975 | 0
Standard plug outlet | Smart Strip plug outlet | 1.4235 | 184 | 0 | 0 | 5 | 40 | 1.3722 | 0 | 1.3722 | 72.7121 | -0.088183 | 0.66667 | -0.75485 | -45.291 | -5.291 | YES | 0.62288 | 0 |  | 0.62288 | 40 | -0.75485 | -45.291 | Y | -9.239 | -46.195 | -6.195 | -0.904 | 0
Old refrigerator running | Refrigerator recycling | 9.6093 | 1672 | 0 | 0 | 8 | 186 | 12.4688 | 0 | 12.4688 | 984.9049 | -0.41005 | 3.1 | -3.51 | -210.603 | -24.603 | YES | 0.21383 | 35 |  | 0.17829 | 151 | -2.8496 | -170.9734 | Y | -42.9613 | -214.8066 | -28.8066 | -4.2036 | 0
Old freezer running | Freezer recycling | 9.3033 | 1551 | 0 | 0 | 8 | 186 | 11.5665 | 0 | 11.5665 | 913.6289 | -0.41005 | 3.1 | -3.51 | -210.603 | -24.603 | YES | 0.23051 | 35 |  | 0.1922 | 151 | -2.8496 | -170.9734 | Y | -42.9613 | -214.8066 | -28.8066 | -4.2036 | 0
Old unit running | Room AC recycling | 2.4215 | 113 | 0 | 0 | 8 | 98 | 0.84269 | 0 | 0.84269 | 66.5635 | -0.21605 | 1.6333 | -1.8494 | -110.9629 | -12.9629 | NO | 1.667 | 0 |  | 1.667 | 98 | -1.8494 | -110.9629 | N | -22.6355 | -113.1777 | -15.1777 | -2.2148 | 0
Old unit running | Dehumidifier recycling | 1.4217 | 139 | 0 | 0 | 8 | 98 | 1.0366 | 0 | 1.0366 | 81.8791 | -0.21605 | 1.6333 | -1.8494 | -110.9629 | -12.9629 | NO | 1.3552 | 0 |  | 1.3552 | 98 | -1.8494 | -110.9629 | N | -22.6355 | -113.1777 | -15.1777 | -2.2148 | 0
Standard Electric Clothes Dryer EF=3.01 | Clothes Dryers - Electric | 1.017 | 144 | 0 | 0 | 14 | 266 | 1.0739 | 0 | 1.0739 | 129.5581 | -0.58641 | 4.4333 | -5.0197 | -301.1849 | -35.1849 | NO | 2.3247 | 0 |  | 2.3247 | 266 | -5.0197 | -301.1849 | N | -61.4393 | -307.1965 | -41.1965 | -6.0116 | 0
Incandescent fixtures | Outdoor Ligthing - Photovoltaics | 1.1337 | 175 | 0 | 0 | 15 | 140 | 1.305 | 0 | 1.305 | 165.0304 | -0.30864 | 2.3333 | -2.642 | -158.5184 | -18.5184 | YES | 0.96054 | 0 |  | 0.96054 | 140 | -2.642 | -158.5184 | Y | -32.3365 | -161.6824 | -21.6824 | -3.164 | 0
No Radiant Barrier | Radiant Barrier | 2.962 | 171 | 13.6719 | 14 | 30 | 436 | 1.2752 | 1.0663 | 2.3416 | 436.1879 | -0.96119 | 7.2667 | -8.2279 | -493.6715 | -57.6715 | NO | 1.1318 | 0 |  | 1.1318 | 436 | -8.2279 | -493.6715 | N | -100.705 | -503.5251 | -67.5251 | -9.8536 | 0
No Desuperheater | Geothermal HP Desuperheater | 4.1436 | 1540 | 0 | 0 | 10 | 239 | 11.4844 | 0 | 11.4844 | 1082.7682 | -0.52689 | 3.9833 | -4.5102 | -270.6135 | -31.6135 | YES | 0.24993 | 0 |  | 0.24993 | 239 | -4.5102 | -270.6135 | Y | -55.203 | -276.0149 | -37.0149 | -5.4014 | 0
? | High Intensity Discharge Lamps (HID) - Exterior | 2.5526 | 603 | 0 | 0 | 6 | 84.85 | 4.4968 | 0 | 4.4968 | 279.2205 | -0.18706 | 1.4142 | -1.6012 | -96.0735 | -11.2235 | YES | 0.34408 | 0 |  | 0.34408 | 84.85 | -1.6012 | -96.0735 | Y | -19.5982 | -97.9911 | -13.1411 | -1.9176 | 0 | 35
No Occupancy Sensors | Occupancy Sensor | 2.1665 | 217 | 0 | 0 | 10 | 61 | 1.6183 | 0 | 1.6183 | 152.5719 | -0.13448 | 1.0167 | -1.1511 | -69.0687 | -8.0687 | YES | 0.4527 | 0 |  | 0.4527 | 61 | -1.1511 | -69.0687 | Y | -14.0895 | -70.4473 | -9.4473 | -1.3786 | 0
Standard refrigerator | Multiple Drawer Refrigerators | 1.0102 | 300 | 0 | 0 | 13 | 258.51 | 2.2372 | 0 | 2.2372 | 256.2514 | -0.5699 | 4.3085 | -4.8784 | -292.7042 | -34.1942 | NO | 1.1423 | 0 | 100 | 1.1423 | 158.51 | -2.9913 | -179.4768 | Y | -59.7093 | -298.5465 | -40.0365 | -5.8423 | 0
No Tank Insulation | Water Heater, Tank Blanket-Insulation - Electric | 6.4306 | 180 | 0 | 0 | 10 | 18 | 1.3423 | 0 | 1.3423 | 126.5573 | -0.039682 | 0.3 | -0.33968 | -20.3809 | -2.3809 | YES | 0.16104 | 0 |  | 0.16104 | 18 | -0.33968 | -20.3809 | Y | -4.1575 | -20.7877 | -2.7877 | -0.4068 | 0
No Tank Insulation | Water Heater, Tank Blanket-Insulation - Gas | 4.4927 | 0 | 11.7188 | 12 | 10 | 18 | 0 | 0.914 | 0.914 | 86.173 | -0.039682 | 0.3 | -0.33968 | -20.3809 | -2.3809 | YES | 0.23651 | 0 |  | 0.23651 | 18 | -0.33968 | -20.3809 | Y | -4.1575 | -20.7877 | -2.7877 | -0.4068 | 0
135 degrees | Water Heater, Thermostat Setback - Electric | 5.1119 | 163 | 0 | 0 | 4 | 8 | 1.2156 | 0 | 1.2156 | 52.7832 | -0.017637 | 0.13333 | -0.15097 | -9.0582 | -1.0582 | YES | 0.17161 | 0 |  | 0.17161 | 8 | -0.15097 | -9.0582 | Y | -1.8478 | -9.239 | -1.239 | -0.1808 | 0
135 degrees | Water Heater, Thermostat Setback - Gas | 3.6363 | 0 | 10.7422 | 11 | 4 | 8 | 0 | 0.83783 | 0.83783 | 36.3811 | -0.017637 | 0.13333 | -0.15097 | -9.0582 | -1.0582 | YES | 0.24898 | 0 |  | 0.24898 | 8 | -0.15097 | -9.0582 | Y | -1.8478 | -9.239 | -1.239 | -0.1808 | 0
No Water Heater, Timer | Water Heater, Timer - Electric | 1.1149 | 251 | 0 | 0 | 9 | 130 | 1.8718 | 0 | 1.8718 | 162.5223 | -0.28659 | 2.1667 | -2.4533 | -147.1956 | -17.1956 | YES | 0.90569 | 0 |  | 0.90569 | 130 | -2.4533 | -147.1956 | Y | -30.0267 | -150.1336 | -20.1336 | -2.938 | 0
Elec Resist / SEER 13 | GCHP replacing Elec Resist and SEER13 | 1.3736 | 11936 | 0 | 0 | 15 | 11000 | 89.0118 | 0 | 89.0118 | 11256.0139 | -25.0054 | 91.6667 | -116.6721 | -14000.648 | -3000.648 | NO | 1.2438 | 600 |  | 1.1905 | 10400 | -110.3081 | -13236.9763 | N | -1424.5503 | -14245.5032 | -3245.5032 | -244.8552 | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
[30 empty] | 0 | 25
0
0
0
0
0
0
0
0
0
0
Note on AM76: Shoff, Kyle : Assumes 30 gallon tank size
Note on AM89: Shoff, Kyle : Room AC
Note on AM116: Shoff, Kyle : Assumes 6.7 cubic feet
Note on AM117: Shoff, Kyle : Assumes 6.7 cubic feet

## WS
Measure | kWh/unit | Summer kW/unit | Winter kW/unit | Therm/unit | CCF/unit | Units | EUL | Base Equipment Cost per Unit | Measure Equipment Cost per Unit | Incremental Equipment Cost per Unit | Labor Cost per Unit | Installed Cost per Unit | Typical size
Airtight Can Lights | 11.7188 | 0.002452 | 0.0045865 | 1.8134 | 1.7709 | Light | 15 | 39.5 | 64.5 | 25 | 12.15 | 76.65 | 7.7263
ASHP - SEER 14 | 180.8226 | 0.19764 | 0.015419 | 0 | 0 | ton | 15 | 630.8445 | 728.7806 | 97.9361 | 235.95 | 964.7306 | 3
ASHP - SEER 15 | 336.9627 | 0.27697 | 0.04528 | 0 | 0 | ton | 15 | 630.8445 | 826.7167 | 195.8722 | 235.95 | 1062.6667 | 3
ASHP - SEER 16 | 425.0683 | 0.26313 | 0.26828 | 0 | 0 | ton | 15 | 630.8445 | 924.6528 | 293.8082 | 235.95 | 1160.6028 | 3
ASHP - SEER 17 | 491.0659 | 0.26277 | 0.41825 | 0 | 0 | ton | 15 | 630.8445 | 1022.5889 | 391.7443 | 235.95 | 1258.5389 | 3
ASHP - SEER 18 | 504.7262 | 0.28194 | 0.42617 | 0 | 0 | ton | 15 | 630.8445 | 1120.525 | 489.6804 | 235.95 | 1356.475 | 3
Basement Wall Insulation | 190.9322 | -0.0089211 | 0.1094 | 36.3004 | 35.4496 | 1000 sq ft basement wall area | 20 | 0 | 273.3535 | 273.3535 | 416.78 | 690.1335 | 1.6
Ceiling Fans | 60.35 | 0.034022 | 0.00012777 | 0.026606 | 0.025983 | fan | 15 | 0 | 25 | 25 | 250 | 275 | 6
Cool roof | 12.7772 | 0.019336 | 0.00021114 | -2.4888 | -2.4305 | 1000 sq ft roof area | 20 | 310 | 410 | 100 | 355 | 765 | 2.3178
Crawlspace Wall Insulation | 222.9828 | 0.086426 | 0.08881 | 18.9924 | 18.5473 | 1000 sq ft crawl wall area | 20 | 0 | 273.3535 | 273.3535 | 416.78 | 690.1335 | 0.8
DFHP - SEER 14 | 216.8039 | 0.19764 | 0.0094934 | -1.7698 | -1.7283 | ton | 15 | 549.5508 | 642.1695 | 92.6187 | 235.95 | 878.1195 | 3
DFHP - SEER 14 with 95 AFUE furnace | 216.8039 | 0.19764 | 0.0094934 | 8.7424 | 8.5375 | ton | 15 | 782.5508 | 1369.5029 | 586.952 | 786.5687 | 2155.7382 | 3
DFHP - SEER 15 | 447.4646 | 0.27697 | 0.15424 | -5.5613 | -5.431 | ton | 15 | 549.5508 | 734.7882 | 185.2374 | 235.95 | 970.7382 | 3
DFHP - SEER 15 with 95 AFUE furnace | 447.4646 | 0.27697 | 0.15424 | 5.5721 | 5.4415 | ton | 15 | 782.5508 | 1462.1216 | 679.5708 | 786.5687 | 2248.357 | 3
DFHP - SEER 16 | 491.5008 | 0.26313 | 0.11179 | -3.3989 | -3.3193 | ton | 15 | 549.5508 | 827.407 | 277.8561 | 235.95 | 1063.357 | 3
DFHP - SEER 16 with 95 AFUE furnace | 491.5008 | 0.26313 | 0.11179 | 7.4041 | 7.2306 | ton | 15 | 782.5508 | 1554.7403 | 772.1895 | 786.5687 | 2340.9757 | 3
DFHP - SEER 17 | 595.7886 | 0.26277 | 0.18425 | -5.3 | -5.1758 | ton | 15 | 549.5508 | 920.0257 | 370.4749 | 235.95 | 1155.9757 | 3
DFHP - SEER 17 with 95 AFUE furnace | 595.7886 | 0.26277 | 0.18425 | 5.8327 | 5.696 | ton | 15 | 782.5508 | 1647.359 | 864.8082 | 786.5687 | 2433.5944 | 3
DFHP - SEER 18 | 589.168 | 0.28194 | 0.16443 | -4.2762 | -4.176 | ton | 15 | 549.5508 | 1038.5508 | 489 | 235.95 | 1274.5008 | 3
DFHP - SEER 18 with 95 AFUE furnace | 589.168 | 0.28194 | 0.16443 | 6.6699 | 6.5136 | ton | 15 | 782.5508 | 1765.8841 | 983.3333 | 786.5687 | 2552.1195 | 3
Door weatherstripping | 10.9476 | 0.0040974 | 0.0039107 | 1.6843 | 1.6448 | Door | 5 | 0 | 13 | 13 | 30 | 43 | 1.8632
Duct Insulation | 126.2565 | 0.020309 | 0.083867 | 18.9028 | 18.4598 | 1000 sq ft cond floor area | 20 | 0 | 100 | 100 | 140 | 240 | 3
Duct location | 320.8094 | 0.068701 | 0.25662 | 41.3307 | 40.362 | 1000 sq ft cond floor area | 30 | 0 | 750 | 750 | 0 | 750 | 2.1368
Duct sealing 15% leakage base | 72.4688 | 0.01696 | 0.047473 | 9.7526 | 9.5241 | 1000 sq ft cond floor area | 18 | 0 | 33.3333 | 33.3333 | 182.4876 | 215.8209 | 3
Duct sealing 20% leakage base | 112.7342 | 0.027722 | 0.069519 | 15.0853 | 14.7318 | 1000 sq ft cond floor area | 18 | 0 | 33.3333 | 33.3333 | 182.4876 | 215.8209 | 3
Duct sealing 25% leakage base | 153.2039 | 0.041773 | 0.090705 | 20.3107 | 19.8347 | 1000 sq ft cond floor area | 18 | 0 | 33.3333 | 33.3333 | 182.4876 | 215.8209 | 3
Duct sealing 30% leakage base | 192.7839 | 0.055968 | 0.11115 | 25.5332 | 24.9348 | 1000 sq ft cond floor area | 18 | 0 | 33.3333 | 33.3333 | 182.4876 | 215.8209 | 3
ECM blower - continuous | 553.1981 | 0.093997 | 0.057773 | -11.7205 | -11.4458 | ton | 15 | 0 | 175 | 175 | 150.952 | 325.952 | 3
ECM blower - intermittent | 126.0342 | 0.074715 | 0.036138 | -2.6951 | -2.6319 | ton | 15 | 0 | 175 | 175 | 150.952 | 325.952 | 3
Energy Star Door | 79.1219 | 0.014785 | 0.024641 | 11.1636 | 10.902 | Door | 20 | 285 | 1400 | 1115 | 1500 | 2900 | 1.8632
Floor Insulation | 2.1782 | -0.020311 | 0.021905 | 9.939 | 9.7061 | 1000 sq ft floor area | 20 | 0 | 273.3535 | 273.3535 | 416.78 | 690.1335 | 3
Furnace-AC - SEER 14 | 181.1964 | 0.16345 | 0.039323 | -2.0034 | -1.9564 | ton | 15 | 549.5508 | 642.1695 | 92.6187 | 235.95 | 878.1195 | 3
Furnace-AC - SEER 14 with 95 AFUE furnace | 190.2086 | 0.16345 | 0.040988 | 47.8283 | 46.7073 | ton | 15 | 782.5508 | 1369.5029 | 586.952 | 786.5687 | 2155.7382 | 3
Furnace-AC - SEER 15 | 188.0148 | 0.16371 | 0.03789 | -4.2315 | -4.1323 | ton | 15 | 549.5508 | 734.7882 | 185.2374 | 235.95 | 970.7382 | 3
Furnace-AC - SEER 15 with 95 AFUE furnace | 206.8872 | 0.16371 | 0.041996 | 45.6419 | 44.5722 | ton | 15 | 782.5508 | 1462.1216 | 679.5708 | 786.5687 | 2248.357 | 3
Furnace-AC - SEER 16 | 157.0815 | 0.18096 | 0.074299 | -5.9068 | -5.7683 | ton | 15 | 549.5508 | 827.407 | 277.8561 | 235.95 | 1063.357 | 3
Furnace-AC - SEER 16 with 95 AFUE furnace | 183.5799 | 0.18096 | 0.021106 | 43.9974 | 42.9663 | ton | 15 | 782.5508 | 1554.7403 | 772.1895 | 786.5687 | 2340.9757 | 3
Furnace-AC - SEER 17 | 214.5429 | 0.22972 | 0.090894 | -7.3668 | -7.1941 | ton | 15 | 549.5508 | 920.0257 | 370.4749 | 235.95 | 1155.9757 | 3
Furnace-AC - SEER 17 with 95 AFUE furnace | 247.5947 | 0.22972 | 0.033106 | 42.553 | 41.5556 | ton | 15 | 782.5508 | 1647.359 | 864.8082 | 786.5687 | 2433.5944 | 3
GSHP - EER 17 | 359.3317 | 0.1446 | 0.12092 | 0 | 0 | ton | 15 | 561.1379 | 740.9267 | 179.7887 | 229.9716 | 970.8983 | 3
GSHP - EER 19 | 484.7424 | 0.19564 | 0.162 | 0 | 0 | ton | 15 | 561.1379 | 740.9267 | 179.7887 | 229.9716 | 970.8983 | 3
GSHP - EER 17 ASHP Base | 1581.686 | 0.29146 | 2.3976 | 0 | 0 | ton | 15 | 630 | 7500 | 6870 | 0 | 7500 | 3
GSHP - EER 19 ASHP Base | 1707.0967 | 0.3425 | 2.4387 | 0 | 0 | ton | 15 | 630 | 7500 | 6870 | 0 | 7500 | 3
High efficiency furnace with ECM | 5.2414 | 0.0026351 | 0.0017413 | 1.6618 | 1.6229 | kBtu/hr capacity | 15 | 6.99 | 21.82 | 14.83 | 16.5186 | 38.3286 | 100
High efficiency furnace without ECM | 0 | 0 | 0 | 2.0485 | 2.0005 | kBtu/hr capacity | 15 | 6.99 | 16.57 | 9.58 | 11.99 | 28.55 | 100
Infiltration reduction - 30% | 211.106 | 0.056229 | 0.095702 | 32.5107 | 31.7487 | ton | 13 | 0 | 20 | 20 | 100 | 120 | 3
Infiltration reduction - 30% and attic insulation | 307.3909 | 0.078209 | 0.13835 | 46.3937 | 45.3064 | ton | 13 | 0 | 584.8243 | 584.8243 | 292.1263 | 876.9505 | 3
Infiltration reduction - 50% | 352.3708 | 0.093744 | 0.16166 | 54.2551 | 52.9835 | ton | 13 | 0 | 20 | 20 | 100 | 120 | 3
Infiltration reduction - 50% and attic insulation | 449.2092 | 0.11712 | 0.20375 | 68.3082 | 66.7073 | ton | 13 | 0 | 584.8243 | 584.8243 | 292.1263 | 876.9505 | 3
HVAC Maintenance and Tune-up | 45.6681 | 0.06129 | 0 | 8.5726 | 8.3717 | ton | 15 | 6.99 | 16.57 | 9.58 | 11.99 | 28.55 | 3
PTAC 10.3 EER | 154.8566 | 0.12112 | 0 | 0 | 0 | ton | 15 | 741.8092 | 907.5325 | 165.7233 | 132.5 | 1040.0325 | 0.75
PTAC 9.3 EER | 238.4681 | 0.23208 | 0 | 0 | 0 | ton | 15 | 809.2464 | 990.0355 | 180.7891 | 137.6 | 1127.6355 | 0.75
PTHP 10.9 EER | 295.6419 | 0.16743 | -0.11043 | 0 | 0 | ton | 15 | 925.7522 | 1132.5691 | 206.817 | 402.6012 | 1535.1703 | 0.75
PTHP 9.1 EER | 394.2209 | 0.2317 | -0.10541 | 0 | 0 | ton | 15 | 1009.9114 | 1235.53 | 225.6185 | 322.081 | 1557.6109 | 0.75
RCA 10% improvement | 56.3948 | 0.077139 | 0 | 0 | 0 | ton | 10 | 0 | 17.8667 | 17.8667 | 28.4667 | 46.3333 | 3
RCA 15% improvement | 85.4489 | 0.11787 | 0 | 0 | 0 | ton | 10 | 0 | 27.025 | 27.025 | 119.2438 | 146.2688 | 3
RCA 5% improvement | 28.2753 | 0.040409 | 0 | 0 | 0 | ton | 10 | 0 | 10.3583 | 10.3583 | 28 | 38.3583 | 3
Roof Insulation | 152.5152 | 0.032164 | 0.059697 | 21.7296 | 21.2204 | 1000 sq ft roof area | 20 | 0 | 564.8243 | 564.8243 | 192.1263 | 756.9505 | 3
Setback thermostat - full setback | 314.9008 | -0.0094504 | -0.47684 | 49.1369 | 47.9853 | 1000 sq ft cond floor area | 9 | 14.914 | 25.6575 | 10.7436 | 7.72 | 33.3776 | 3
Setback thermostat - moderate setback | 193.8423 | -0.0091419 | -0.23543 | 26.4548 | 25.8347 | 1000 sq ft cond floor area | 9 | 14.914 | 25.6575 | 10.7436 | 7.72 | 33.3776 | 3
Wall Insulation | 195.6185 | 0.039584 | 0.079867 | 29.5022 | 28.8107 | 1000 sq ft wall area | 20 | 0 | 151.985 | 151.985 | 1170.2372 | 1322.2222 | 2.3
Whole House Fan | 38.6762 | 0.00046429 | 0 | -0.0068873 | -0.0067259 | 1000 sq ft cond floor area | 15 | 0 | 534.2535 | 534.2535 | 592.5748 | 1126.8284 | 3
Window Film | 33.7215 | 0.12152 | 0.00067205 | -25.6321 | -25.0313 | 1000 sq ft cond floor area | 10 | 0 | 89.8908 | 89.8908 | 63.924 | 153.8148 | 3.5
Window Replacement | 302.1585 | 0.15438 | 0.11037 | 21.2039 | 20.7069 | 100 sq ft window area | 20 | 1640.9722 | 2069.6021 | 428.6299 | 206.9667 | 2276.5688 | 3.5

## NWS
Proposed Technologies for Measures Library | Base Efficiency Level | Proposed Efficiency Level | Assumed hours of operation | Coincidence Factor | Actual (non-coincident) kW | Target kWh percust | Target (coincident) kW percust | Target Therms percust | Target CCF percust | Measure life | Incremental Costs YR1 | Tax Credits and Incentives | Annual Fixed Costs | Size Basis | Notes | Avg Size | Avg Size units | Installation Cost
CFL bulbs regular | Incandescent lamps | Compact fluorescent lamps | 840 | 0.08 | 0.0525 | 44.1 | 0.0042 |  | 0 | 9 | 3 |  |  | per lamp |  | 1 | lamp | 0
13W CFL (60W incand equiv) Pre-EISA | 60W incand | 13W CFL | 985.5 | 0.08 | 0.047 | 46.3185 | 0.00376 |  | 0 | 9 | 3 |  |  | per lamp |  | 1 | lamp | 0
13W CFL (60W incand equiv) POST-EISA | 45W EISA compliant bulb (25% improvement) | 13W CFL | 985.5 | 0.08 | 0.032 | 31.536 | 0.00256 |  | 0 | 9 | 1 |  |  | per lamp |  | 1 | lamp | 0
18W CFL (75W incand equiv) Pre-EISA | 75W incand | 18W CFL | 985.5 | 0.08 | 0.057 | 56.1735 | 0.00456 |  | 0 | 9 | 3 |  |  | per lamp |  | 1 | lamp | 0
18W CFL (75W incand equiv) POST-EISA | 56W EISA compliant bulb (25% improvement) | 18W CFL | 985.5 | 0.08 | 0.038 | 37.449 | 0.00304 |  | 0 | 9 | 1 |  |  | per lamp |  | 1 | lamp | 0
23W CFL (100W incand equiv) Pre-EISA | 100W incand | 23W CFL | 985.5 | 0.08 | 0.077 | 75.8835 | 0.00616 |  | 0 | 9 | 3 |  |  | per lamp |  | 1 | lamp | 0
23W CFL (100W incand equiv) POST-EISA | 75W EISA compliant bulb (25% improvement) | 23W CFL | 985.5 | 0.08 | 0.052 | 51.246 | 0.00416 |  | 0 | 9 | 1 |  |  | per lamp |  | 1 | lamp | 0
CFL bulbs specialty | Incandescent lamps | Compact fluorescent lamps | 840 | 0.08 | 0.0525 | 44.1 | 0.0042 |  | 0 | 9 | 10 |  |  | per lamp |  | 1 | lamp | 0
CFL bulbs hgh wattage | Incandescent lamps | Compact fluorescent lamps | 840 | 0.08 | 0.135 | 113 | 0.0108 |  | 0 | 9 | 15 |  |  | per lamp |  | 1 | lamp | 0
CFL Reflector | Incandescent lamps with reflectors | Compact fluorescent lamps with reflectors | 840 | 0.08 | 0.0525 | 44.1 | 0.0042 |  | 0 | 9 | 13 |  |  | per lamp |  | 1 | lamp | 0
LED Downlight | Incandescent downlight | LED downlight | 840 | 0.08 | 0.053 | 44.5 | 0.0042 |  | 0 | 15 | 90 |  |  | per fixture |  | 1 | fixture | 34
LED Lamps | Incandescent lamp ≥ 60W | LED lamp ≤ 12W | 840 | 0.08 | 0.048 | 40 | 0.0038 |  | 0 | 15 | 51 |  |  | per lamp |  | 1 | lamp | 0
CFL fixtures | Incandescent fixtures | Compact fluorescent fixtures | 840 | 0.08 | 0.093 | 78 | 0.00744 |  | 0 | 12 | 45 |  |  | per fixture |  | 1 | fixture | 35
LED Night Light | Incandescent night light | LED night light | 3650 | 0 | 0.006 | 22 | 0 |  | 0 | 12 | 5 |  |  | per fixture |  | 1 | fixture | 0
LED Task Light | Incandescent task light | LED task light | 840 | 0.08 | 0.046 | 39 | 0.00368 |  | 0 | 12 | 25 |  |  | per fixture |  | 1 | fixture | 0
Torchiere Floor Lamps - CFL | Incandescent Torchiere | CFL Torchiere | 840 | 0.08 | 0.195 | 164 | 0.0156 |  | 0 | 12 | 50 |  |  | per fixture |  | 1 | fixture | 0
LED Holiday Lights | Incandescent holiday lights | LED holiday lights | 150 | 0 | 0.07 | 10.6 | 0 |  | 0 | 10 | 12 |  |  | per string | Typical string size of 25 bulbs | 1 | string | 0
T8 4ft 1 lamp | T12 fluorescent | Standard T8 fluorescent | 840 | 0.08 | 0.013 | 10.9 | 0.00104 |  | 0 | 12 | 33 |  |  | per fixture |  | 1 | fixture | 72.35
T8 4ft 2 lamp | T12 fluorescent | Standard T8 fluorescent | 840 | 0.08 | 0.012 | 10.1 | 0.00096 |  | 0 | 12 | 36 |  |  | per fixture |  | 1 | fixture | 72.35
T8 4ft 3 lamp | T12 fluorescent | Standard T8 fluorescent | 840 | 0.08 | 0.027 | 22.7 | 0.00216 |  | 0 | 12 | 54 |  |  | per fixture |  | 1 | fixture | 76.16
T8 4ft 4 lamp | T12 fluorescent | Standard T8 fluorescent | 840 | 0.08 | 0.032 | 26.9 | 0.00256 |  | 0 | 12 | 57 |  |  | per fixture |  | 1 | fixture | 81.06
T8 8ft 1 lamp | T12 fluorescent | Standard T8 fluorescent | 840 | 0.08 | 0.017 | 14.3 | 0.00136 |  | 0 | 12 | 50 |  |  | per fixture |  | 1 | fixture | 79.4233
T8 8ft 2 lamp | T12 fluorescent | Standard T8 fluorescent | 840 | 0.08 | 0.011 | 9.2 | 0.00088 |  | 0 | 12 | 54 |  |  | per fixture |  | 1 | fixture | 79.4233
Photosensor Control - Outdoor Lighting | Manual switch | Photosensor control | 280 | 0 | 0.06 | 17 | 0 |  | 0 | 8 | 12 |  |  | sensor | stand-alone sensor | 1 | sensor | 0
Metal Halide Outdoor Lighting | Incandescent lighting | Metal Halide lighting | 2920 | 0 | 0.065 | 189.8 | 0 |  | 0 | 15 | 112 |  |  | fixture |  | 35 | Watt | 38
Electric Water Heater EF 0.93+ | Standard Electric water heater EF=0.9 | Efficient Electric water heater EF>=0.93 | 587 | 0.7 | 0.025302 | 157 | 0.017712 |  | 0 | 15 | 49 |  |  | unit |  | 1 | unit | 180
Heat Pump Water Heaters | Standard Electric water heater EF=0.9 | Heat pump water heater EF>=2.0 | 587 | 0.7 | 0.46495 | 2885 | 0.32546 |  | 0 | 15 | 700 |  |  | unit |  | 1 | unit | 120
High Efficiency Gas Water Heater | Standard Gas Water Heater EF=0.60 | High Efficiency Gas Water Heater EF>= 0.62 | 587 |  |  |  |  | 10 | 9.7656 | 15 | 67 |  |  | unit |  | 1 | unit | 164
Super Efficiency Gas Water Heater | Standard Gas Water Heater EF=0.60 | Super High Efficiency Gas Water Heater EF>= 0.67 | 587 |  |  |  |  | 36 | 35.1562 | 15 | 235 |  |  | unit |  | 1 | unit | 164
Instant Gas Water Heater | Standard Gas Water Heater EF=0.60 | Tankless Gas Water Heater EF>= 0.80 (0r .82) | 587 |  |  |  |  | 67 | 65.4297 | 15 | 434 |  |  | unit |  | 1 | unit | 164
Pipe Wrap - Gas water heater | Uninsulated | R4 5 Ln feet | 8760 |  |  |  |  | 11 | 10.7422 | 6 | 4 |  |  | 5 ln feet |  | 10 | LF | 3.6
Pipe Wrap - Electric water heater | Uninsulated | R4 5 Ln feet | 8760 | 1 | 0.029 | 257 | 0.029 |  | 0 | 6 | 4 |  |  | 5 ln feet |  | 10 | LF | 3.6
Low Flow Showerheads - Gas water heater | Standard Flow 2.5 gal.min | Low Flow 1.75 gal/minute | 100 |  |  |  |  | 22 | 21.4844 | 12 | 14.9 |  |  | unit |  | 1 | unit | 16.7
Low Flow Showerheads - Electric water heater | Standard Flow 2.5 gal.min | Low Flow 1.75 gal/minute | 100 | 0.7 | 0.068 | 424 | 0.048 |  | 0 | 12 | 14.9 |  |  | unit |  | 1 | unit | 16.7
Low Flow Faucet Aerators - Gas water heater | 2.2 gal/minute | 1.5 gal/minute | 31 |  |  |  |  | 7 | 6.8359 | 12 | 2.8 |  |  | unit |  | 1 | unit | 6.7
Low Flow Faucet Aerators - Electric water heater | 2.2 gal/minute | 1.5 gal/minute | 31 | 0.7 | 0.022 | 136 | 0.016 |  | 0 | 12 | 2.8 |  |  | unit |  | 1 | unit | 6.7
Shower Start - Gas water heater | Standard shower head 2.5 gpm | Shower start technology with low flow showerhead 1.75 gpm | 587 |  |  |  |  | 28 | 27.3438 | 3 | 40 |  |  | unit |  | 1 | unit | 16.7
Shower Start - Electric water heater | Standard shower head 2.5 gpm | Shower start technology with low flow showerhead 1.75 gpm | 587 | 0.7 | 0.085 | 530 | 0.06 |  | 0 | 3 | 40 |  |  | unit |  | 1 | unit | 16.7
Gravity Film Heat Exchanger GFX - Electric water heater | No GFX unit | 40-60 ft GFX unit installed | 587 | 0.7 | 0.136 | 842 | 0.095 |  | 0 | 10 | 565 |  |  | unit |  | 1 | unit | 280
Gravity Film Heat Exchanger GFX - Gas water heater | No GFX unit | 40-60 ft GFX unit installed | 587 |  |  |  |  | 44 | 42.9688 | 10 | 565 |  |  | unit |  | 1 | unit | 280
Energy Star Room AC | Standard A/C unit, 9.8 EER | Energy Star A/C unit, 10.8 EER | 1074 | 1 | 0.094 | 101 | 0.094 |  | 0 | 12 | 86 |  |  | unit |  | 6000 | Btu | 0
Pool Pump and Motor Single Speed | Standard pump and motor efficiency | High efficiency pump and motor, speed control | 920 | 0.5 | 0.715 | 694 | 0.357 |  | 0 | 10 | 85 |  |  | unit | Typical Pool Pump Size is 1.5 Hp | 1.5 | hp | 357.1176
Pool Pump and motor w auto controls - multi speed | Standard pump and motor efficiency | High efficiency pump and motor | 920 | 0.5 | 1.592 | 1081 | 0.796 |  | 0 | 10 | 579 |  |  | unit | Typical Pool Pump Size is 1.5 Hp | 1.5 | hp | 357.1176
VFDs on Residential Swimming Pool Pumps | Pool pump without speed control | Variable speed pump control | 2920 | 0.78 | 0.528 | 1543 | 0.41184 |  | 0 | 15 | 425 |  |  | per unit | Typical Pool Pump Size is 1.5 Hp | 1.5 | hp | 100
Clothes Washer Energy Star-CEE Tier1, Gas water heater, Gas dryer | Standard Clothes Washer MEF=1.26 | Clothes washer MEF= 1.8 | 293 | 0.1 | 0.025597 | 7.5 | 0.0025597 | 11 | 10.7422 | 14 | 347 |  |  | unit |  | 1 | unit | 116
Clothes Washer Energy Star-CEE Tier1, Gas water heater, Electric dryer | Standard Clothes Washer MEF=1.26 | Clothes washer MEF= 1.8 | 293 | 0.1 | 0.31297 | 91.7 | 0.031297 | 7.5 | 7.3242 | 14 | 347 |  |  | unit |  | 1 | unit | 116
Clothes Washer Energy Star-CEE Tier1, Electric Water heater, Gas Dryer | Standard Clothes Washer MEF=1.26 | Clothes washer MEF= 1.8 | 293 | 0.1 | 0.6041 | 177 | 0.06041 | 3.5 | 3.418 | 14 | 347 |  |  | unit |  | 1 | unit | 116
Clothes Washer Energy Star-CEE Tier1, Electric Water heater, Electric Dryer | Standard Clothes Washer MEF=1.26 | Clothes washer MEF= 1.8 | 293 | 0.1 | 0.89078 | 261 | 0.089078 |  | 0 | 14 | 347 |  |  | unit |  | 1 | unit | 116
Clothes Washer CEE Tier2, Gas water heater, Gas dryer | Standard Clothes Washer MEF=1.26 | Clothes washer MEF= 2.0 | 293 | 0.1 | 0.025597 | 7.5 | 0.0025597 | 13.7 | 13.3789 | 14 | 475 |  |  | unit |  | 1 | unit | 116
Clothes Washer CEE Tier2, Gas water heater, Electric dryer | Standard Clothes Washer MEF=1.26 | Clothes washer MEF= 2.0 | 293 | 0.1 | 0.4198 | 123 | 0.04198 | 9 | 8.7891 | 14 | 475 |  |  | unit |  | 1 | unit | 116
Clothes Washer CEE Tier2, Electric Water heater, Gas Dryer | Standard Clothes Washer MEF=1.26 | Clothes washer MEF= 2.0 | 293 | 0.1 | 0.70648 | 207 | 0.070648 | 4.7 | 4.5898 | 14 | 475 |  |  | unit |  | 1 | unit | 116
Clothes Washer CEE Tier2, Electric Water heater, Electric Dryer | Standard Clothes Washer MEF=1.26 | Clothes washer MEF= 2.0 | 293 | 0.1 | 1.099 | 322 | 0.1099 |  | 0 | 14 | 475 |  |  | unit |  | 1 | unit | 116
Clothes Washer CEE Tier3, Gas water heater, Gas dryer | Standard Clothes Washer MEF=1.26 | Clothes washer MEF= 2.2 | 293 | 0.1 | 0.025597 | 7.5 | 0.0025597 | 15.7 | 15.332 | 14 | 604 |  |  | unit |  | 1 | unit | 116
Clothes Washer CEE Tier3, Gas water heater, Electric dryer | Standard Clothes Washer MEF=1.26 | Clothes washer MEF= 2.2 | 293 | 0.1 | 0.5256 | 154 | 0.05256 | 9.8 | 9.5703 | 14 | 604 |  |  | unit |  | 1 | unit | 116
Clothes Washer CEE Tier3, Electric Water heater, Gas Dryer | Standard Clothes Washer MEF=1.26 | Clothes washer MEF= 2.2 | 293 | 0.1 | 0.76792 | 225 | 0.076792 | 5.9 | 5.7617 | 14 | 604 |  |  | unit |  | 1 | unit | 116
Clothes Washer CEE Tier3, Electric Water heater, Electric Dryer | Standard Clothes Washer MEF=1.26 | Clothes washer MEF= 2.2 | 293 | 0.1 | 1.2696 | 372 | 0.12696 |  | 0 | 14 | 604 |  |  | unit |  | 1 | unit | 116
Smart Strip plug outlet | Standard plug outlet | Smart Strip plug outlet | 7118 | 0.5 | 0.02585 | 184 | 0.012925 |  | 0 | 5 | 40 |  |  | unit | One control outlet with several dependent outlets | 1 | unit | 0
Refrigerators Energy Star - Refrig. Only - single door | Standard refrigerator | Energy Star refrigerator | 5700 | 1 | 0.015 | 85 | 0.015 |  | 0 | 12 | 92.5 |  |  | unit |  | 1 | unit | 0
Refrigerators Energy Star - Refrig-Freezer - single door | Standard refrigerator | Energy Star refrigerator | 5700 | 1 | 0.015 | 86 | 0.015 |  | 0 | 12 | 92.5 |  |  | unit |  | 1 | unit | 0
Refrigerators-Freezers Energy Star - Side by Side | Standard refrigerator | Energy Star refrigerator | 5700 | 1 | 0.019 | 109 | 0.019 |  | 0 | 12 | 92.5 |  |  | unit |  | 1 | unit | 0
Refrigerators-Freezers Energy Star - Top Freezer | Standard refrigerator | Energy Star refrigerator | 5700 | 1 | 0.013 | 79 | 0.013 |  | 0 | 12 | 92.5 |  |  | unit |  | 1 | unit | 0
Freezers Energy Star - Bottom Freezer | Standard freezer | Energy Star freezer | 5700 | 1 | 0.016 | 96 | 0.016 |  | 0 | 12 | 92.5 |  |  | unit |  | 1 | unit | 0
Freezers Energy Star - Chest Freezer | Standard freezer | Energy Star freezer | 5700 | 1 | 0.008 | 46 | 0.008 |  | 0 | 12 | 92.5 |  |  | unit |  | 1 | unit | 0
Freezers Energy Star - Upright Freezer | Standard freezer | Energy Star freezer | 5700 | 1 | 0.014 | 81 | 0.014 |  | 0 | 12 | 92.5 |  |  | unit |  | 1 | unit | 0
Refrigerator recycling | Old refrigerator running | Old refrigerator removed | 8760 | 1 | 0.191 | 1672 | 0.191 |  | 0 | 8 | 93 |  |  | unit |  | 1 | unit | 93
Freezer recycling | Old freezer running | Old freezer removed | 8760 | 1 | 0.177 | 1551 | 0.177 |  | 0 | 8 | 93 |  |  | unit |  | 1 | unit | 93
Room AC recycling | Old unit running | Old unit removed | 1056 | 1 | 0.107 | 113 | 0.107 |  | 0 | 8 | 49 |  |  | unit |  | 1 | unit | 49
Dehumidifier recycling | Old unit running | Old unit removed | 3970 | 1 | 0.035 | 139 | 0.035 |  | 0 | 8 | 49 |  |  | unit |  | 1 | unit | 49
Energy Star Dehumidifier | Standard Dehumidfier | Energy Star Dehumidifier | 1620 | 1 | 0.052 | 84.1 | 0.052 |  | 0 | 12 | 75 |  |  | unit |  | 1 | unit | 0
ES Dishwasher Tier 1 - gas water heater | Standard Dishwasher EF=0.46 | ES High Efficiency Dishwasher EF>= 0.65 | 287 | 0.1 | 0.27 | 77.4 | 0.027 | 12.69 | 12.3926 | 11 | 211 |  |  | unit |  | 1 | unit | 116
ES Dishwasher Tier 1 - elec water heater | Standard Dishwasher EF=0.46 | ES High Efficiency Dishwasher EF>= 0.65 | 287 | 0.1 | 0.473 | 135 | 0.0473 |  | 0 | 11 | 211 |  |  | unit |  | 1 | unit | 116
ES Dishwasher Tier 2 - gas water heater | Standard Dishwasher EF=0.46 | ES High Efficiency Dishwasher EF>= 0.68 | 287 | 0.1 | 0.27 | 77.4 | 0.027 | 13.12 | 12.8125 | 11 | 211 |  |  | unit |  | 1 | unit | 116
ES Dishwasher Tier 2 - elec water heater | Standard Dishwasher EF=0.46 | ES High Efficiency Dishwasher EF>= 0.68 | 287 | 0.1 | 0.523 | 150 | 0.0523 |  | 0 | 11 | 211 |  |  | unit |  | 1 | unit | 116
Clothes Dryers - Gas | Standard Gas Clothes Dryer EF=2.67 | High Efficiency Gas Clothes Dryer with Moisture Sensor. | 416 |  |  |  |  | 3.7 | 3.6133 | 14 | 150 |  |  | unit |  | 1 | unit | 116
Clothes Dryers - Electric | Standard Electric Clothes Dryer EF=3.01 | High Efficiency Electric Clothes Dryer with Moisture Sensor. | 416 | 0.1 | 0.34615 | 144 | 0.035 |  | 0 | 14 | 150 |  |  | unit |  | 1 | unit | 116
Residential PV | No Photovoltaic system | 1 kW PV system | 1281 | 0.47 | 1 | 1281 | 0.47 |  | 0 | 20 | 8000 | 4000 | 43.554 | per nominal kW | 30% Fed tax credit capped at $2,000; plus $2.00/Watt State of MO. Assume tax credits in IL are similar and available | 1 | unit | 800
Solar Domestic Hot Water - Electric Water Heater | Standard Electric water heater EF=0.9 | Solar water heater | 1281 | 1 | 0.42 | 2546 | 0.42 |  | 0 | 20 | 4500 |  |  | 40 SF collector |  | 40 | SF | 450
Solar Domestic Hot Water - Gas Water Heater | Standard Gas Water Heater EF=0.60 | Solar Water Heater | 1281 |  |  |  |  | 111 | 108.3984 | 20 | 4500 |  |  | 40 SF collector |  | 40 | SF | 450
Outdoor Ligthing - Photovoltaics | Incandescent fixtures | Photovoltaic Lighting Fixture | 2920 | 0 | 0.06 | 175 | 0 |  | 0 | 15 | 140 |  |  | fixture |  | 1 | fixture | 0
Solar Attic Fan | Electric Attic Fan | Solar Attic Fan | 720 | 0.95 | 0.02 | 14.4 | 0.019 |  | 0 | 19 | 550 |  |  | unit |  | 20 | Watt | 300
Radiant Barrier | No Radiant Barrier | Radiant Barrier |  |  |  | 171 | 0.05 | 14 | 13.6719 | 30 | 436 |  |  |  |  | 1 | unit
Geothermal HP Desuperheater | No Desuperheater | Desuperheater |  |  |  | 1540 | 0.17 |  | 0 | 10 | 239 |  |  |  |  | 1 | unit
High Intensity Discharge Lamps (HID) - Exterior | ? | High Intensity Discharge Lamps (HID) - Exterior |  |  |  | 603 | 0 |  | 0 | 6 | 84.85 |  |  |  |  | 1 | unit
Occupancy Sensor | No Occupancy Sensors | Wall-Switch Occupancy Sensors |  |  |  | 217 | 0.04 |  | 0 | 10 | 61 |  |  |  |  | 1 | unit
Lighting Timeclock | No timeclock | Timeclock - Controling 4 - 70W (95W w/ballast) HPS fixtures |  |  |  | 474 | 0 |  | 0 | 8 | 240 |  |  |  |  | 1 | unit
Multiple Drawer Refrigerators | Standard refrigerator | Multiple Drawer Refrigerators |  |  |  | 300 | 0.044 |  | 0 | 13 | 258.51 |  |  |  |  | 1 | unit
Home Electronics - Copier, Printer, Energy Star | Energy Star | Non Energy Star |  |  |  | 12 | 0 |  | 0 | 5 | 10 |  |  |  |  | 1 | unit
Home Electronics - DVD-VCR-Audio-Set-top box, Energy Star | Energy Star | Non Energy Star |  |  |  | 65 | 0.01 |  | 0 | 6 | 35 |  |  |  |  | 1 | unit
Home Electronics - Monitor, Energy Star | Energy Star | Non Energy Star |  |  |  | 44 | 0 |  | 0 | 4 | 10 |  |  |  |  | 1 | unit
Home Electronics - Personal Computer, Energy Star | Energy Star | Non Energy Star |  |  |  | 143 | 0.014 |  | 0 | 5 | 1.2 |  |  |  |  | 1 | unit
Home Electronics - Television, Energy Star | Energy Star | Non Energy Star |  |  |  | 32 | 0 |  | 0 | 9 | 5 |  |  |  |  | 1 | unit
1-Watt Standby Power | Standard plug load appliance. | 1W or less standby power use for small appliances |  |  |  | 35 | 0 |  | 0 | 7 | 30 |  |  |  |  | 1 | unit
EnergyStar Battery Charger | Energy Star | Non Energy Star |  |  |  | 4 | 0 |  | 0 | 7 | 4 |  |  |  |  | 1 | unit
Water Heater, Tank Blanket-Insulation - Electric | No Tank Insulation | Install Insulation (R-5) |  |  |  | 180 | 0.02 |  | 0 | 10 | 18 |  |  |  |  | 1 | unit
Water Heater, Tank Blanket-Insulation - Gas | No Tank Insulation | Install Insulation (R-5) | [5 empty] | 12 | 11.7188 | 10 | 18 |  |  |  |  | 1 | unit
Water Heater, Thermostat Setback - Electric | 135 degrees | 120 degrees |  |  |  | 163 | 0.02 |  | 0 | 4 | 8 |  |  |  |  | 1 | unit
Water Heater, Thermostat Setback - Gas | 135 degrees | 120 degrees | [5 empty] | 11 | 10.7422 | 4 | 8 |  |  |  |  | 1 | unit
Water Heater, Timer - Electric | No Water Heater, Timer | Water Heater, Timer |  |  |  | 251 | 0.03 |  | 0 | 9 | 130 |  |  |  |  | 1 | unit
Water Heater, Timer - Gas | No Water Heater, Timer | Water Heater, Timer | [5 empty] | 16 | 15.625 | 9 | 130 |  |  |  |  | 1 | unit
Heat Pump Clothes Dryer | Standard Electric Dryer | Heat Pump Clothes Dryer |  |  |  | 358 |  |  | 0 | 14 | 603 |  |  |  |  | 1 | unit
Small Windmills - Residential | No windmill | 2.5 kW wind system, 16% capacity factor on customer site | 1401.6 |  | 2.5 | 3504 | 2.5 |  | 0 | 25 | 11000 | 3300 | 105.12 |  | 30% Fed tax credit for <100 kW, capped at $4,000 | 2.5 | kW
Battery Storage - Residential | No Storage | Ni-Cad battery |  |  | 3.1 |  | 3.1 |  | 0 | 10 | 6820 |  | 0 |  |  | 3.1 | kW
GCHP replacing Elec Resist and SEER13 | Elec Resist / SEER 13 | GCHP (COP 4.0, EER 20) |  |  |  | 11936 | 0.71 |  | 0 | 15 | 11000 | 3300 |  |  | 30% Fed tax credit | 1 | unit
GCHP replacing Gas Furnace and SEER13 | Gas Furnace AFUE 0.95 / SEER 13 | GCHP (COP 4.0, EER 20) |  |  |  | -2006 | 0.62 | 550 | 537.1094 | 15 | 8000 | 2400 |  |  | 30% Fed tax credit | 1 | unit
PHEV Energy Storage - Residential | [8 empty] | 0
Microwave Dryer | [8 empty] | 0
Passive Solar Heating | [8 empty] | 0

## Sanity checks
592.2221
Sanity check | IPMT | PPMT | PMT
1 | -0.59164 | -2.088 | -2.6796 | 1.7424 | 92.3284 | 141.9939
2 | -0.58294 | -2.0967 | -2.6796 | 1.7424
3 | -0.57421 | -2.1054 | -2.6796 | 1.7424
4 | -0.56543 | -2.1142 | -2.6796 | 1.7424
5 | -0.55662 | -2.123 | -2.6796 | 1.7424
6 | -0.54778 | -2.1318 | -2.6796 | 1.7424
7 | -0.5389 | -2.1407 | -2.6796 | 1.7424
8 | -0.52998 | -2.1496 | -2.6796 | 1.7424
9 | -0.52102 | -2.1586 | -2.6796 | 1.7424
10 | -0.51202 | -2.1676 | -2.6796 | 1.7424
11 | -0.50299 | -2.1766 | -2.6796 | 1.7424
12 | -0.49392 | -2.1857 | -2.6796 | 1.7424
13 | -0.48482 | -2.1948 | -2.6796 | 1.7424
14 | -0.47567 | -2.2039 | -2.6796 | 1.7424
15 | -0.46649 | -2.2131 | -2.6796 | 1.7424
16 | -0.45727 | -2.2223 | -2.6796 | 1.7424
17 | -0.44801 | -2.2316 | -2.6796 | 1.7424
18 | -0.43871 | -2.2409 | -2.6796 | 1.7424
19 | -0.42937 | -2.2502 | -2.6796 | 1.7424
20 | -0.42 | -2.2596 | -2.6796 | 1.7424
21 | -0.41058 | -2.269 | -2.6796 | 1.7424
22 | -0.40113 | -2.2785 | -2.6796 | 1.7424
23 | -0.39163 | -2.288 | -2.6796 | 1.7424
24 | -0.3821 | -2.2975 | -2.6796 | 1.7424
25 | -0.37253 | -2.3071 | -2.6796 | 1.7424
26 | -0.36292 | -2.3167 | -2.6796 | 1.7424
27 | -0.35326 | -2.3263 | -2.6796 | 1.7424
28 | -0.34357 | -2.336 | -2.6796 | 1.7424
29 | -0.33384 | -2.3458 | -2.6796 | 1.7424
30 | -0.32406 | -2.3555 | -2.6796 | 1.7424
31 | -0.31425 | -2.3654 | -2.6796 | 1.7424
32 | -0.30439 | -2.3752 | -2.6796 | 1.7424
33 | -0.29449 | -2.3851 | -2.6796 | 1.7424
34 | -0.28456 | -2.395 | -2.6796 | 1.7424
35 | -0.27458 | -2.405 | -2.6796 | 1.7424
36 | -0.26456 | -2.415 | -2.6796 | 1.7424
37 | -0.25449 | -2.4251 | -2.6796 | 1.7424
38 | -0.24439 | -2.4352 | -2.6796 | 1.7424
39 | -0.23424 | -2.4454 | -2.6796 | 1.7424
40 | -0.22405 | -2.4555 | -2.6796 | 1.7424
41 | -0.21382 | -2.4658 | -2.6796 | 1.7424
42 | -0.20355 | -2.4761 | -2.6796 | 1.7424
43 | -0.19323 | -2.4864 | -2.6796 | 1.7424
44 | -0.18287 | -2.4967 | -2.6796 | 1.7424
45 | -0.17247 | -2.5071 | -2.6796 | 1.7424
46 | -0.16202 | -2.5176 | -2.6796 | 1.7424
47 | -0.15153 | -2.5281 | -2.6796 | 1.7424
48 | -0.141 | -2.5386 | -2.6796 | 1.7424
49 | -0.13042 | -2.5492 | -2.6796 | 1.7424
50 | -0.1198 | -2.5598 | -2.6796 | 1.7424
51 | -0.10913 | -2.5705 | -2.6796 | 1.7424
52 | -0.098423 | -2.5812 | -2.6796 | 1.7424
53 | -0.087668 | -2.5919 | -2.6796 | 1.7424
54 | -0.076869 | -2.6027 | -2.6796 | 1.7424
55 | -0.066024 | -2.6136 | -2.6796 | 1.7424
56 | -0.055134 | -2.6245 | -2.6796 | 1.7424
57 | -0.044199 | -2.6354 | -2.6796 | 1.7424
58 | -0.033218 | -2.6464 | -2.6796 | 1.7424
59 | -0.022191 | -2.6574 | -2.6796 | 1.7424
60 | -0.011119 | -2.6685 | -2.6796 | 1.7424 | 141.9939
| -18.7821 | -141.9939 | -160.776
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120