## owssvr
Request Summary | Request Type | Measure Code (existing measure) | Measure Section (for new measures only) | Requester Name | Work Paper Completed | Status | Priority | Assigned To | Created | Change Type | Revision Completed | Item Type | Path
Clarification of Boiler Tune-Up Combustion Efficiency | Question/Clarification | 4.4.2 C&I Space Heating Boiler Tune-up |  | Brian Katamay | FALSE | Open | (1) High |  | 2015-06-15 15:30 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Clarification of First Year Savings and In-Service Rate in the case of Business Closures | Question/Clarification |  |  | Kevin Grabner | FALSE | Open | (1) High |  | 2015-01-26 11:34 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Default Fixture Wattage Reference Table | Question/Clarification | 4.5 C&I Lighting End Use |  | Doug Rossin | FALSE | Open | (2) Medium |  | 2015-06-22 16:12 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
T-12 Baseline | Question/Clarification |  |  | Jim Fay | FALSE | Open | (2) Medium |  | 2015-06-22 16:02 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Compressed Air | Question/Clarification | 4.7.1 C&I VSD Air Compressor |  | Jim Fay | FALSE | Open | (2) Medium |  | 2015-06-22 16:04 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Footnote Formatting | Question/Clarification |  |  | Jim Fay | FALSE | Open | (2) Medium |  | 2015-06-22 16:22 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
New Measure - Cycling Refrigerated Compressed Air Dryers | New measure request |  | 4.7 C&I Miscellaneous End Use | Chelsea Lamar | FALSE | Open | (1) High |  | 2015-06-22 12:53 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Modulating Dryers | New measure request |  | 4.7 C&I Miscellaneous End Use | Hammad Chaudhry | FALSE | Open | (1) High |  | 2015-06-22 11:03 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Advanced Power Strip - Tier 2 | New measure request |  | 5.2 Residential Consumer Electronics End Use | Rick Bain | FALSE | Open | (1) High |  | 2015-06-22 16:18 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Advanced Power Strip - Tier 2 | New measure request |  | 4.7 C&I Miscellaneous End Use | Rick Bain | FALSE | Open | (1) High |  | 2015-06-23 10:42 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
New measure request for radiant heater bands | New measure request | 1.2 Development Process |  | Travis Hinck | TRUE | Open | (1) High | Alison Hollingsworth | 2013-01-11 17:21 |  | TRUE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Energy Management System | New measure request |  |  | Bridgid Lutz | FALSE | Open | (2) Medium |  | 2014-06-09 10:06 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Averaging Controls for Steam Pipe Systems without Thermostat Radiator Valves | New measure request |  | 5.3 Residential HVAC End Use | George Roemer | FALSE | Open | (2) Medium |  | 2015-06-19 15:10 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
High Efficiency Condensing RTUs | New measure request |  | 4.4 C&I HVAC End Use | Hammad Chaudhry | FALSE | Open | (2) Medium |  | 2015-06-22 11:27 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Thermal Equalizer Destratification Fans | New measure request |  | 4.4 C&I HVAC End Use | Hammad Chaudhry | FALSE | Open | (2) Medium |  | 2015-06-22 11:34 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Industrial Air Curtains | New measure request |  | 4.4 C&I HVAC End Use | Hammad Chaudhry | FALSE | Open | (2) Medium |  | 2015-06-22 11:41 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Commerical Clothes dryer moisture sensor | New measure request |  |  | Hammad Chaudhry | FALSE | Open | (2) Medium |  | 2015-06-22 11:57 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
New measure request for commercial Advanced Power Strip | New measure request |  | 4.7 C&I Miscellaneous End Use | Thad Carlson | FALSE | Open | (2) Medium |  | 2015-06-15 09:54 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
New measure request for RES Advanced Power Strip - Tier 2 | New measure request |  | 5.2 Residential Consumer Electronics End Use | Thad Carlson | FALSE | Open | (2) Medium |  | 2015-06-15 10:18 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
New measure request for stack dampers | New measure request | 4.7 C&I Miscellaneous End Use |  | Travis Hinck | TRUE | Open | (2) Medium | Alison Hollingsworth | 2013-01-11 17:32 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
New measure request for Compressor Waste Heat Recovery | New measure request | 4.7 C&I Miscellaneous End Use |  | Travis Hinck | TRUE | Open | (2) Medium | Alison Hollingsworth | 2013-01-11 17:55 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
New measure request for Insulated Pellet Dryers | New measure request | 4.7 C&I Miscellaneous End Use |  | Travis Hinck | TRUE | Open | (2) Medium | Alison Hollingsworth | 2013-01-11 17:59 |  | TRUE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Low pressure HEPA filters | New measure request |  |  | Bridgid Lutz | FALSE | Open | (3) Low |  | 2014-06-09 10:05 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Laboratory/fume hood sash controls | New measure request |  |  | Bridgid Lutz | FALSE | Open | (3) Low |  | 2014-06-09 10:07 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Grease trap filter | New measure request |  |  | Bridgid Lutz | FALSE | Open | (3) Low |  | 2014-06-09 10:07 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Refrigerated Compressed Air Dryer | New measure request |  | 4.7 C&I Miscellaneous End Use | Doug Rossin | FALSE | Open | (3) Low |  | 2015-06-22 16:13 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Ground Source Heat Pump | New measure request | 4.7 C&I Miscellaneous End Use |  | Roger Baker | TRUE | Open | (3) Low | Alison Hollingsworth | 2013-01-11 13:54 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Add Large mass Cold Cathode Lighting technology | New measure request |  |  | Shraddha Raikar | FALSE | Open | (3) Low |  | 2014-06-17 13:25 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Error in Lighting IFkWh interaction factors | Correction of TRM mistake | 4.5 C&I Lighting End Use |  | Ben Reinhart | FALSE | Open | (1) High |  | 2015-06-12 15:59 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Dehumidifier calculation hours | Correction of TRM mistake | 5.1.3 RES ENERGY STAR Dehumidifier |  | James Fay | FALSE | Open | (1) High |  | 2015-04-08 05:38 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Ductless Heat Pump - kW units error | Correction of TRM mistake |  |  | Logan Van Ert | FALSE | Open | (1) High |  | 2015-04-08 05:44 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Error in Griddle Algorithm | Correction of TRM mistake | 4.2.8 C&I ENERGY STAR Griddle |  | Sam Dent | FALSE | Open | (1) High | Sam Dent | 2015-03-27 09:14 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Missing and Broken Links in TRM Sections | Correction of TRM mistake |  |  | David Diebel | FALSE | Open | (2) Medium |  | 2015-06-15 12:12 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
HP and RW T8 Fixtures | Correction of TRM mistake | 4.5.3 C&I High Performance and Reduced Wattage T8 |  | Shraddha Mutyal | FALSE | Open | (2) Medium |  | 2015-06-16 16:40 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Commercial Steam Cooker | Correction of TRM mistake |  |  | Shraddha Mutyal | FALSE | Open | (2) Medium |  | 2015-06-19 15:38 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Error in EPG_elec and EPG_gas values for Low Flow faucet aerators | Correction of TRM mistake | 4.3.2 C&I Low Flow Faucet Aerators |  | Shraddha Mutyal | FALSE | Open | (2) Medium |  | 2015-06-19 16:07 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Optimize measure name to industry-standard term | Correction of TRM mistake | 5.2.1 RES Smart Strip |  | Thad Carlson | FALSE | Open | (3) Low |  | 2015-06-15 09:41 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Adding non-energy benefits to residential "whole house" measures and multi-family measures | Change to existing measure |  |  | Chris Neme | FALSE | Open | (1) High |  | 2015-06-19 14:26 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Revise minimum R-value of residential insulation measures | Change to existing measure | 5.6 RES Shell End Use |  | Gabe Klooster | FALSE | Open | (1) High |  | 2015-06-21 16:22 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Learning / Smart Thermostat Savings | Change to existing measure |  | 5.3 Residential HVAC End Use | Hammad Chaudhry | FALSE | Open | (1) High |  | 2015-06-22 11:12 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Update ISR for Efficiency Kits | Change to existing measure |  |  | Hammad Chaudhry | FALSE | Open | (1) High |  | 2015-06-22 17:32 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
5.1.1 Air Purifier - update ESTAR calculation | Change to existing measure | 5.1.1 RES ENERGY STAR Air Purifier/Cleaner |  | James Fay | FALSE | Open | (1) High |  | 2015-05-25 04:49 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Update Deemed Measure Cost Descriptions | Change to existing measure | 5.1.8 RES Refrigerator and Freezer Recycling |  | Jennifer Morris | FALSE | Open | (1) High |  | 2015-06-22 10:19 | Errata;#Revision | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Air Sealing and Insulation Measures Adjustment Factor Update. Review TRM v metering / billing study results | Change to existing measure | 5.6 RES Shell End Use |  | Jennifer Morris | FALSE | Open | (1) High |  | 2015-06-22 12:36 | Revision | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Update Building Types and Definitions in Glossary to be consistent with Building Types used in the IL-TRM Measures | Change to existing measure | 3.4 Glossary |  | Jennifer Morris | FALSE | Open | (1) High |  | 2015-06-22 13:31 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
C&I Central AC Tune Up | Change to existing measure | 4.4.1 C&I Air Conditioner Tune-up |  | Josh Goffin, Benjamin Lipscomb | FALSE | Open | (1) High |  | 2015-04-22 05:51 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Differentiate the Residential Programmable Thermostat Measure based on Thermostat Capabilities | Change to existing measure | 5.3.11 RES Programmable Thermostats |  | Kevin Grabner | FALSE | Open | (1) High |  | 2015-03-22 11:58 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Adding non-energy benefits to C&I custom. | Change to existing measure |  |  | Phil Mosenthal | FALSE | Open | (1) High |  | 2015-06-23 10:49 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Adding non-energy benefits for lighting. | Change to existing measure |  |  | Phil Mosenthal | FALSE | Open | (1) High |  | 2015-06-23 10:51 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
WHFd - fix EQuest modeling autosizing issue | Change to existing measure | 4.5 C&I Lighting End Use |  | Sam Dent | FALSE | Open | (1) High |  | 2015-06-08 06:49 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Review T12 baseline | Change to existing measure | 4.5.3 C&I High Performance and Reduced Wattage T8 |  | Sam Dent | FALSE | Open | (1) High |  | 2015-06-08 06:51 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Update LED Savings Parameters for non-standard, non-direction LED projects | Change to existing measure | 5.5.6 RES LED Downlights | 5.5 Residential Lighting End Use | Amy Buege | FALSE | Open | (2) Medium |  | 2015-06-15 20:16 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
4.4.19 DCV Heating and Cooling Equipment Types | Change to existing measure |  | 4.4 C&I HVAC End Use | David Diebel | FALSE | Open | (2) Medium |  | 2015-06-15 12:36 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
4.3.1 Storage Water Heater Tank Sizes | Change to existing measure | 4.3.1 C&I Storage Water Heater | 4.3 C&I Hot Water | David Diebel | FALSE | Open | (2) Medium |  | 2015-06-15 13:55 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Occupancy Sensor Lighting Controls - addl Energy Savings Factor | Change to existing measure | 4.5.10 C&I Occupancy Sensor Lighting Controls |  | Doug Rossin | FALSE | Open | (2) Medium |  | 2015-06-22 16:10 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
LED Bulbs and Fixtures | Change to existing measure | 4.5 C&I Lighting End Use |  | Doug Rossin | FALSE | Open | (2) Medium |  | 2015-06-22 16:18 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
5.3.4. Duct Insulation and Sealing | Change to existing measure | 5.3.4 RES Duct Insulation and Sealing | 5.3 Residential HVAC End Use | George Roemer | FALSE | Open | (2) Medium |  | 2015-06-19 15:07 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Controls for central domestic hot water | Change to existing measure |  | 4.3 C&I Hot Water | Hammad Chaudhry | FALSE | Open | (2) Medium |  | 2015-06-22 11:00 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Standardization of Algorithm Terms | Change to existing measure |  |  | Hammad Chaudhry | FALSE | Open | (2) Medium |  | 2015-06-22 12:36 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Update incremental measure costs - ASHP, CAC, ductless mini-splits | Change to existing measure | 5.3 RES HVAC End Use | 5.3 Residential HVAC End Use | Jane Colby | FALSE | Open | (2) Medium |  | 2015-06-22 09:18 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Metered data for ASHP, Mini-split algorithm | Change to existing measure | 5.3 RES HVAC End Use | 5.3 Residential HVAC End Use | Jane Colby | FALSE | Open | (2) Medium |  | 2015-06-22 09:20 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Few edits to RES CLothes Washer | Change to existing measure | 5.1.2 RES ENERGY STAR and CEE Tier 2 and 3 Clothe |  | Jim Fay | FALSE | Open | (2) Medium |  | 2015-06-09 05:17 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Occupancy Sensors - expand to allow for other relevant control strategies observed in the market | Change to existing measure | 4.5.10 C&I Occupancy Sensor Lighting Controls | 4.5 C&I Lighting End Use | Jim Fay | FALSE | Open | (2) Medium |  | 2015-06-22 16:00 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Res Thermostats - add furnace fan savings for homes with heat pumps | Change to existing measure | 5.3.11 RES Programmable Thermostats | 5.3 Residential HVAC End Use | Jim Fay | FALSE | Open | (2) Medium |  | 2015-06-22 16:06 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Include prescriptive residential air sealing measures | Change to existing measure | 5.6.1 RES Air Sealing |  | Karen Kaminsky | FALSE | Open | (2) Medium |  | 2015-06-22 11:54 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Remove reference to DeOreo Aquacraft evaluation that was not final | Change to existing measure |  |  | Maureen Hodgins | FALSE | Open | (2) Medium |  | 2014-09-08 07:05 | Errata | TRUE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Discuss if eQuest models should be used to develop C&I Lighting CFs | Change to existing measure | 4.5 C&I Lighting End Use |  | Sam Dent | FALSE | Open | (2) Medium |  | 2015-06-08 06:50 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Update Pump and Fan Hours assumption | Change to existing measure |  |  | Sam Dent | FALSE | Open | (2) Medium |  | 2015-06-08 07:04 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Standard update for commercial dishwashers | Change to existing measure | 4.2.6 C&I ENERGY STAR Dishwasher |  | Sam Dent | FALSE | Open | (2) Medium |  | 2015-06-08 07:08 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Update Deemed values from Nicor 2011-2014 plan | Change to existing measure | 4 C&I Commercial and Industrial Measures |  | Shraddha Mutyal | FALSE | Open | (2) Medium |  | 2015-06-16 10:59 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker
Update ISR for aerators, showerheads, CFLs | Change to existing measure | 5.4 RES Hot Water End Use | 5.4 Residential Hot Water End Use | Jane Colby | FALSE | Open | (3) Low |  | 2015-06-22 09:22 |  | FALSE | Item | projects/illinoistrm/Lists/TRM Request Tracker