## Laminar Measure Follow-up
SAG Portfolio Planning Process
Small Group Follow-up Call: Laminar Measure
Discussion Tracking Meeting Notes - Updated 12/2/15
Teleconference Attendees:
Celia Johnson, SAG Facilitation
Hammad Chaudhry, Nicor Gas
Deirdre Coughlin, Department of Commerce and Economic Opportunity
Jim Fay, ComEd
Stefano Galiasso, Energy Resources Center, UIC
Keith Goerss, Ameren IL
Kevin Grabner, Navigant Consulting
Randy Gunn, Navigant Consulting
Jim Hauser, Franklin Energy
John Paul Jewell, Environmental Law & Policy Center
Pat Michalkiewicz, Peoples Gas-North Shore Gas
Cheryl Miller, Ameren IL
Shraddha Mutyal, Energy Resources Center, UIC
Sue Nathan, Applied Energy Group
Rob Neumann, Navigant Consulting
George Roemer, Franklin Energy
Chris Vaughn, Nicor Gas
Ted Weaver, First Tracks Consulting, on behalf of Nicor Gas
Angela Ziech-Malek, CLEAResult
Brittany Zwicker, CLEAResult
Paul Smith, Franklin Energy
Laminar Measure + Hospital Audit Program Proposal
SAG Small Group Questions
Question | Answer | Additional Comments | Questions / Follow-up?
1. Who is the proponent? (What organization made the suggestion?) | John Paul Jewell, Environmental Law & Policy Center
2. Which Program Administrator(s) does this initiative apply to? | Proposal: Gas utilities (Ameren IL, Nicor Gas, Peoples Gas - North Shore Gas). | This measure may be applicable for both gas and electric.
3. Should the offering be joint (gas-electric, recognizing budget constraints)? | Proposal: This will require collaboration with business lighting and HVAC programs.
4. What measures? | Proposal: The laminar measure can be delivered as part of a hospital audit and direct install, which will require collaboration with business lighting and HVAC programs.
5. What customer segment / sub-segment? | Hospitals and other healthcare facilities.
6. What delivery strategy? | Proposal: Hospital audit / direct install.
7. Apx. how much budget / savings / participation goals? | Proposal: Budget - $1,048,845 per year (PY7 - PY9; Incentive cost plus 5% administrative cost). Savings - PY7 - 2,997,561 therms; PY8 - 5,995,122 therms; PY9 - 8,992,683 therms. Participation - 70 hospitals per year.
8. Is there any information from other jurisdictions that planners / proponents should be looking at? | Southern California Gas Company workpaper on Laminar Flow Restrictors - available for download on the SAG November 2015 meeting materials page.
9. Are there any other important details that should be memorialized?
Specific Discussion Questions
Question | Answer | Additional Comments | Questions / Follow-up?
1. Which Program Administrator(s) offer this measure? For those offering this measure, what is the uptake? | ComEd: We already have a vendor that works work hospitals; this is included in our strategy for business programs. The Laminar Measure may be moved into small business. Most hospitals use gas for central heating; smaller healthcare facilities may benefit from this measure because they use electric water heating more often. Ameren IL: This should be considered a measure offering instead of a separate program. Nicor Gas: The measure was introduced in PY5 in business DI offerings. Currently assuming savings based on TRM aerator. We will review the So Cal Gas workpaper to determine if savings assumptions should be changed. Nicor Gas is planning to roll out a Hospital-centric SEM in PY6 that probably will run into next program cycle. | Nicor Gas offers this measure. To date, Nicor Gas has visited 6 hospitals and installed 1,900 laminar flow measures. There are 9 hospitals in the pipeline. On average, Nicor is seeing apx. 200 laminar flow measures per hospital. We are using the regular commercial assumption; currently 6 therms under the current algorithm. It could be as high as 20 therms with a separate algorithm. TRM V4, Section 4.3, includes a table under low-flow faucet aerators. Cost per unit = $14 per laminar aerator, including materials and labor. PG-NSG has supported this measure on a custom basis. Remove the word "aerator" and call this a "laminar flow" instead. Most hospitals have removed any type of flow device (open pipe). There is a great savings opportunity with this measure. What is currently in the TRM is not the laminar flow measure. This could be done as part of an audit. | Has Nicor Gas installed this measure in other healthcare facilities? Hammad Chaudhry, Nicor Gas, will follow-up. Did any hospital already have the measures installed? Hammad Chaudhry, Nicor Gas, will follow-up.
2. What is the current delivery mechanism? Should direct install be used? | Nicor Gas offers this as a direct install measure. | This measure is a very easy transition to offer via direct install. There are additional opportunities that still could be run as custom alongside this measure. PG-NSG received feedback from Presence Health that if this were offered in direct install, the hospital would participate in PG territory.
3. Can this measure be a way to increase uptake on other measures? | Proposal: Program Administrators should consider a direct install / audit offering to hospitals, including the laminar measure.
4. Is there a similar aerator issue for healthcare facilities like nursing homes? | Yes - nursing homes, doctor's offices, etc. all fall under the same health concern on using "regular" aerators. | There is no specific law or restriction on regular aerator use in IL healthcare facilities, however the Joint Commission and IDPH recommends removal of any type of aerator in those facilities. For that reason there is great opportunity with the laminar flow restrictor.
5. Does this proposal change any EE Plans? Consider balance and not focusing too much on a particular sector. | Offering this measure won't create an imbalance. Healthcare is a sensitive market, especially for water use. This measure offering is in the common good - saving water and energy savings. The same thing should be offered for small business as well, for healthcare facilities. | This could be expanded for public sector healthcare facilities. The Department will explore adding this to the public sector direct install program. Program Administrators are reviewing this measure for offering in the next EE Plans.
6. Deemed savings - this measure is not in the IL-TRM, and there is a greater opportunity for savings for healthcare installation. | Nicor Gas is saving 6 therms under the current algorithm. Savings could be as high as 20 therms with a separate, healthcare-specific algorithm. | An updated algorithm is needed that is specific to the laminar measure. There are hospitals that have regular aerators. The algorithm should be fairly easy to determine. There are many case studies on this. The key is re-visiting the baseline assumptions for this measure. | Hammad Chaudhry, Nicor Gas, is reviewing the California workpaper. John Paul Jewell will review the CA algorithm used for this measure to propose an option for IL. John Paul and Hammad will follow-up to discuss the workpaper and next steps for an updated algorithm. Jim Hauser, Franklin Energy, will help with case studies / additional information. Kevin Grabner, Navigant, is also available for review / comment.
7. What are the costs of the laminar flow restrictors? Are the savings the same for any flow restrictor? | Proposal: Laminar Flow Restrictor - $14.27 per LFR ($7.27 per LFR and $7 per installation) Savings may differ based on the application of this measure - an in-patient room sink uses less water, for example. | Would hospitals be willing to pay for part of the cost? There is concern over budget. --Direct install for this measure could still be free since it is low cost, but there is an opportunity to follow-up with additional opportunities in the custom program.
8. Have any NTG studies been done in other states? Since hospitals cannot use regular flow restrictors, is it fair to say they would not have done it anyway so there are no free riders or is that a question for evaluators? | ELPC: CA workpaper uses a NTG ratio of 0.7. | In general the NTG should be high for this measure. Hospitals are not aware of this measure. Evaluators should weigh in on this. | Celia Johnson will follow-up on the rationale for the 0.7 NTG in CA. Kevin Grabner, Navigant, will review the market for this measure - what is the best estimate of NTG? Kevin will also check on whether there are evaluation studies on this measure.
9. What are examples of hospital programs in other jurisdictions? | As a follow-up to the Nov. SAG meeting, Phil Mosenthal provided information on the Mass Save RCx offering for hospitals – Retro-Commissioning (RCx) for Hospitals - Mass Save (Massachusetts). This is available for download on the Nov. 2015 SAG meeting materials page. Ohio: Energy Star certification for hospitals. | Nicor Gas is considering SEM for hospitals.