## Sheet1
Signal Type | Hours | Type | Efficient wattage | Baseline wattage | Saved Wattage | Saved Kwh/yr.
Red balls, always changing or flashing | 4818 | 8" Red ball signal | 7 | 90 | 83 | 399.894
Red balls, always changing or flashing | 4818 | 12" Red ball signal | 10 | 116 | 106 | 510.708
Red balls, changing day, off night (typically changing 6 am - 9 pm, off 9 pm - 6 am) | 3011 | 8" Red ball signal | 7 | 90 | 83 | 249.913
Red balls, changing day, off night (typically changing 6 am - 9 pm, off 9 pm - 6 am) | 3011 | 12" Red ball signal | 10 | 116 | 106 | 319.166
Green Balls, always changing | 3679 | 8" Green ball signal | 8 | 90 | 82 | 301.678
Green Balls, always changing | 3679 | 12" Green ball signal | 12 | 116 | 104 | 382.616
Green Balls, changing day, off night (typically changing 6 am - 9 pm, off 9 pm - 6 am) | 2300 | 8" Green ball signal | 8 | 90 | 82 | 188.6
Green Balls, changing day, off night (typically changing 6 am - 9 pm, off 9 pm - 6 am) | 2300 | 12" Green ball signal | 12 | 116 | 104 | 239.2
Red Arrows 90% time | 7884 | 12" Red Arrow | 5 | 116 | 111 | 875.124
Flashing yellows | 4380 | 12" Yellow | 22 | 116 | 94 | 411.72
Hand" Don't walk signal | 6570 |  | 6 | 116 | 110 | 722.7
"Man" Walk signal | 1840 |  | 6 | 116 | 110 | 202.4
Bi-modal Walk/Don't Walk signal | 8760 |  | 7 | 116 | 109 | 954.84