## Sheet1
Calculation of O&M Impact for Baseline Adjustment
| Hours | 4576 | Misc value |  |  |  |  | Bulb Assumptions
| Measure Life | 15 | [5 empty] | T12 | T8 | HPT8
| Real Discount Rate (RDR) | 5.23% |  | Lamp Life (hours) |  |  |  | 20000 | 20000 | 24000
|  |  |  | Lamp Replacement Cost |  |  |  | 5.37 | 5.37 | 7.67
|  |  |  | Annual Lamp Replacement Cost |  |  |  | 1.2287 | 1.2287 | 1.4624
|  |  |  | Ballast Life (hours) |  |  |  | 40000 | 70000 | 70000
|  |  |  | Ballast Replacement Cost |  |  |  | 35 | 35 | 37
|  |  |  | Annual Ballast Replacement Cost |  |  |  | 4.004 | 2.288 | 2.4187
|  |  |  | Total Annual Replacement Cost |  |  |  | 5.2327 | 3.5167 | 3.8812
2012 | (June 2012 - May 2013) |  | Year | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
NPV
|  | Baseline Replacement Costs | 44.1895 | 5.2327 | 5.2327 | 5.2327 | 5.2327 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167
|  | Levelized Cost | 4.3238
|  | Life | 1
|  | Efficient Replacement Costs | 41.7406 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812
|  | Levelized Cost | 4.0841
|  | Life | 1
2013 | (June 2012 - May 2013) |  | Year | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
NPV
|  | Baseline Replacement Costs | 42.7169 | 5.2327 | 5.2327 | 5.2327 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167
|  | Levelized Cost | 4.1797
|  | Life | 1
|  | Efficient Replacement Costs | 41.7406 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812
|  | Levelized Cost | 4.0841
|  | Life | 1
2014 | (June 2012 - May 2013) |  | Year | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
NPV
|  | Baseline Replacement Costs | 41.1672 | 5.2327 | 5.2327 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167 | 3.5167
|  | Levelized Cost | 4.028
|  | Life | 1
|  | Efficient Replacement Costs | 41.7406 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812 | 3.8812
|  | Levelized Cost | 4.0841
|  | Life | 1
|  |  | Levelized annual replacement cost savings | 2018: NPV replacement costs
|  |  | June 2012 - May 2013 | 2014: June 2013 - May 2014; 2015: June 2014 - May 2015; 2018: June 2012 - May 2013; 2019: June 2013 - May 2014; 2020: June 2014 - May 2015
|  | Baseline | 4.3238 | 2014: 4.1797; 2015: 4.028; 2017: Baseline; 2018: 44.1895; 2019: 42.7169; 2020: 41.1672
|  | Efficient | 4.0841 | 2014: 4.0841; 2015: 4.0841; 2017: Efficient; 2018: 41.7406; 2019: 41.7406; 2020: 41.7406
Multiply by 0.9 ISR |  |  | Levelized annual replacement cost savings | 2018: NPV replacement costs
|  |  | June 2012 - May 2013 | 2014: June 2013 - May 2014; 2015: June 2014 - May 2015; 2018: June 2012 - May 2013; 2019: June 2013 - May 2014; 2020: June 2014 - May 2015
|  | Baseline | 3.8914 | 2014: 3.7617; 2015: 3.6252; 2017: Baseline; 2018: 39.7706; 2019: 38.4452; 2020: 37.0505
|  | Efficient | 3.6757 | 2014: 3.6757; 2015: 3.6757; 2017: Efficient; 2018: 37.5665; 2019: 37.5665; 2020: 37.5665
Note on D15: Discounted to beginning of 2010.
Note on D19: Discounted to beginning of 2010.
Note on D25: Discounted to beginning of 2010.
Note on D29: Discounted to beginning of 2010.
Note on D35: Discounted to beginning of 2010.
Note on D39: Discounted to beginning of 2010.